|  |  | RATES OF LABOUR AND MATERIALS |  |  |
| --- | --- | --- | --- | --- |
|  |  | (BASIS AND CONSIDERATION) |  |  |
| (a) |  | MARK-UPS |  |  |
|  | 1 | Contractor's Profit | 10.0% |  |
|  | 2 | Contractor's Overhead Expenses | 3.5% |  |
|  | 3 | VAT | 4.5% |  |
|  | 4 | Additional Incidental Expenses for Gas Line Installation WorkS | 10.0% |  |
| (b) |  | LABOUR & MAN-POWER: EACH PER DAY |  |  |
|  | 1 | Ordinary labour | Tk. 100.00 |  |
|  | 2 | Skilled labour | Tk. 120.00 |  |
|  | 3 | Field engineer | Tk. 700.00 |  |
|  | 4 | Skilled technician | Tk. 250.00 |  |
|  | 5 | Semi skilled technician | Tk. 160.00 |  |
|  | 6 | Foreman/Supervisor | Tk. 250.00 |  |
|  | 7 | Electrician | Tk. 180.00 |  |
|  | 8 | Asstt. electrician | Tk. 150.00 |  |
|  | 9 | Head mason | Tk. 180.00 |  |
|  | 10 | Mason | Tk. 150.00 |  |
|  | 11 | Rod binder | Tk. 160.00 |  |
|  | 12 | Mosaic mistry | Tk. 150.00 |  |
|  | 13 | Plumber | Tk. 160.00 |  |
|  | 14 | Painter | Tk. 160.00 |  |
|  | 15 | Carpenter | Tk. 160.00 |  |
|  | 16 | Welder | Tk. 160.00 |  |
|  | 17 | Polish mistry | Tk. 250.00 |  |
|  | 18 | Helper to carpenter/painter/plumber/rod binder/electrician/polish mistry/rig operators | Tk. 120.00 |  |
|  | 19 | Machine operator | Tk. 160.00 |  |
|  | 20 | Pile rig operator | Tk. 180.00 |  |
|  | 21 | Diesel hammer mounted rig operator | Tk. 300.00 |  |
|  | 22 | Helper to diesel hammer mounted rig operator | Tk. 150.00 |  |
|  | 23 | Rig operator in/c site allowances for soil exploration | Tk. 200.00 |  |
|  | 24 | Asstt. laboratory technician | Tk. 200.00 |  |
|  | 25 | Laboratory technician | Tk. 300.00 |  |
|  | 26 | Laboratory engineer | Tk. 400.00 |  |
|  | 27 | Ghorami | Tk. 160.00 |  |
| (c) |  | EQUIPMENT, TOOLS & PLANT, VEHICLE, SCAFFOLDING ETC. |  |  |
|  | 1 | Scaffolding | Tk. 3.00 | Per sft. |
|  | 2 | Carrying earth by 5-ton capacity truck in Dhaka city | Tk. 475.00 | Per trip |
|  | 3 | do in Narayanganj | Tk. 450.00 | Per trip |
|  | 4 | do in Chittagong metropolitan area | Tk. 400.00 | Per trip |
|  | 5 | do in all district except Dhaka, Ctg, and N'ganj. | Tk. 375.00 | Per trip |
|  | 6 | 5-ton capacity truck-fare in Dhaka city in/c loading, unloading | Tk. 800.00 | Per trip |
|  | 7 | Concrete mixer machine | Tk. 500.00 | Per day |
|  | 8 | Concrete vibrator | Tk. 385.00 | Per day |
|  | 9 | Hire charge of water pump for concreting or similar purposes | Tk. 150.00 | Per day |
|  | 10 | Hire charge of water pump for de-watering in/c fuel, lubricant, spare, maintenance, driver etc complete. | Tk. 1,000.00 | Per day |
|  | 11 | Fuel, lubricant for mixer machine, vibrator and pump etc. | Tk. 350.00 | Per day |
|  | 12 | Mosaic cutting machine | Tk. 70.00 | Per day |
|  | 13 | Marble cutting and shaping in/c cutting disc. | Tk. 1,025.00 | Per day |
|  | 14 | Marble polishing machine in/c polishing stone | Tk. 290.00 | Per day |
|  | 15 | Hire charge of cast in situ pile boring complete rig set in/c fuel, lubricant, bentonite covering the cost of mobilization, demobilization, maintenance, spares, stand-byes and insurance coverage etc. | Tk. 4,500.00 | Per day |
|  | 16 | Hire charge of pre-cast pile driving complete rig set in/c -do-do- etc. | Tk. 6,000.00 | Per day |
|  | 17 | Hire charge of pre-cast micro pile driving complete rig set in/c -do-do- etc. | Tk. 3,000.00 | Per day |
|  | 18 | Hire charge of load testing devices in/c hydraulic fluid: up to 125 ton capacity | Tk. 4,500.00 | Per test |
|  | 19 | -do -do-: up to 275 ton capacity | Tk. 5,500.00 | Per test |
|  | 20 | Hire charge of diesel hammer mounted completed rig set. | Tk. 10,000.00 | Per day |
|  | 21 | Lifting and movement of crane for diesel mounted hammer up to site | Tk. 25,000.00 | Per set per site |
|  | 22 | Truck fare for carrying diesel hammer mounted rig for driving pre-cast pile (excluding crane) in/c loading-unloading | Tk. 4,000.00 | Per trip |
|  | 23 | Hire charge for 8 - 12 ton road roller | Tk. 2,000.00 | Per day |
|  | 24 | Hire charge of paint spray machine | Tk. 1.00 | Per sft. |
|  | 25 | Small boat | Tk. 250.00 | Per day |
|  | 26 | Drum (defects free) | Tk. 700.00 | each |
|  | 27 | Hire charge of boring rig for soil exploration | Tk. 2,000.00 | Per day |
|  | 28 | Machine charge for cutting terrazzo tiles | Tk. 100.00 | Per % sft. |
| (d) |  | WORK RATE EXCLUDING COST OF MATERIALS |  |  |
|  | 1 | Breaking 20 mm/12 mm down brick chips | Tk. 550.00 | Per % cft. |
|  | 2 | Breaking 20 mm/12 mm down stone chips | Tk. 990.00 | Per % cft. |
|  | 3 | Placing and removing shutter for form-work | Tk. 6.00 | Per sft. |
|  | 4 | Making steel shutter for form-work | Tk. 30.00 | Per sft. |
|  | 5 | Making steel door-window frame and shutter | Tk. 24.00 | Per sft. |
|  | 6 | Making fixed steel glazed frame | Tk. 14.00 | Per sft. |
|  | 7 | Making steel grill | Tk. 20.00 | Per sft. |
|  | 8 | Filling and stitching gunny bags | Tk. 4.00 | Per bag |
|  | 9 | Load testing result sheet preparation | Tk. 1,000.00 | Per test |
|  | 10 | Carrying cost of timber | Tk. 10.00 | Per cft. |
|  | 11 | Seasoning timber in plant | Tk. 110.00 | Per cft. |
|  | 12 | Carrying cost of steel door and window | Tk. 20.00 | each |
|  | 13 | Fabrication and erection of mild steel truss | Tk. 800.00 | Per cwt. |
|  | 14 | Fabrication of light section steel | Tk. 100.00 | Per cwt. |
| (e) |  | WORK RATE INCLUDING COST OF MATERIALS |  |  |
|  | 1 | Point welding | Tk. 1.50 | Per point |
|  | 2 | Line welding | Tk. 2.00 | Per inch |
|  | 3 | Bitumenous coating for damp proof course (D.P.C) | Tk. 150.00 | Per % sft. |
|  | 4 | Coal-tar over timber surface | Tk. 2.50 | Per sft. |
|  | 5 | Glass pan fitting in/c putty | Tk. 6.00 | Per sft. |
|  | 6 | Making form work water-tight | Tk. 1.00 | Per sft. |
| (f) |  | BRICKS AND SCREEN BLOCKS |  |  |
|  | 1 | 1st class/Picked jhama bricks | Tk. 3,100.00 | Per % 0 Nos. |
|  | 2 | 10 holes machine made ceramic brick | Tk. 7,000.00 | Per % 0 Nos. |
|  | 3 | 9.5" x 4.5" x 2.75" size machine made solid klinker facing bricks | Tk. 6,380.00 | Per % 0 Nos. |
|  | 4 | 9.5" x 4.5" x 2.75" size 10 hole machine made Rock-face/textured klinker facing bricks | Tk. 7,670.00 | Per % 0 Nos. |
|  | 5 | 9.5" x 4.5" x 2.75" size 3 hole machine made reinforced klinker facing bricks | Tk. 7,100.00 | Per % 0 Nos. |
|  | 6 | 200 x 100 x 50 mm/8" x 4" x 2" machine made hard pressed klinker facing bricks | Tk. 7,630.00 | Per % 0 Nos. |
|  | 7 | 200 x 50 x 50 mm/8" x 2" x 2" machine made klinker facing strips | Tk. 4,973.00 | Per % 0 Nos. |
|  | 8 | 200 x 62 x 50 mm/8" x 2.5" x 2" machine made klinker red strips | Tk. 12,783.00 | Per % 0 Nos. |
|  | 9 | 4'' x 4'' x 4'' fancy screen block | Tk. 9,520.00 | Per % 0 Nos. |
|  | 10 | 6.5'' x 4.75'' x 4'' fancy screen block | Tk. 11,970.00 | Per % 0 Nos. |
|  | 11 | 6.5" x 6" x 4" fancy screen block | Tk. 15,530.00 | Per % 0 Nos. |
| (g) |  | CEMENT |  |  |
|  | 1 | Ordinary Portland cement type-I, C-150: 50 kg bag | Tk. 250.00 | Per bag |
|  | 2 | White cement | Tk. 16.75 | Per kg |
| (h) |  | STONE/BOULDER/MOSAIC CHIPS, BITUMEN /ADMIXTURE/MEMBRANE ETC. |  |  |
|  | 1 | Uncrushed boulder | Tk. 5,600.00 | Per % cft. |
|  | 2 | 19 mm (3/4") down crushed stone chips | Tk. 6,500.00 | Per % cft. |
|  | 3 | Stone shingles | Tk. 4,400.00 | Per % cft. |
|  | 4 | Pea-gravel | Tk. 2,500.00 | Per % cft. |
|  | 5 | Slaked lime | Tk. 5.00 | Per kg |
|  | 6 | Surki from 1st class brick | Tk. 24.00 | Per cft. |
|  | 7 | Pakistan origin (onix) mosaic chips | Tk. 9.33 | Per kg |
|  | 8 | Indian origin (deradun) mosaic chips | Tk. 9.00 | Per kg |
|  | 9 | Marble dust | Tk. 12.00 | Per kg |
|  | 10 | Pumice stone for finishing mosaic work | Tk. 140.00 | each |
|  | 11 | Minar stone for finishing mosaic work | Tk. 200.00 | each |
|  | 12 | Color pigment | Tk. 30.00 | Per lbs |
|  | 13 | 20 mm x 50 mm glass strip | Tk. 3.00 | Per rft. |
|  | 14 | 80/20 Bitumen for road work | Tk. 16,000.00 | Per ton |
|  | 15 | Water-proofing PVC membrane | Tk. 500.00 | Per sqm. |
|  | 16 | Primer for laying PVC membrane on wall | Tk. 420.00 | Per litre |
|  | 17 | Water reducing admixture in concrete: Type - A | Tk. 140.00 | Per litre |
|  | 18 | Retarding admixture in concrete: Type - B | Tk. 120.00 | Per litre |
|  | 19 | Accelerating admixture in concrete: Type - C | Tk. 150.00 | Per litre |
|  | 20 | Water-reducing and retarding admixture in concrete: Type - D | Tk. 130.00 | Per litre |
|  | 21 | Water-reducing and accelerating admixture in concrete: Type - E | Tk. 140.00 | Per litre |
|  | 22 | Water-reducing high range admixture in concrete: Type - F | Tk. 145.00 | Per litre |
|  | 23 | Water-reducing high range retarding admixture in concrete: Type - G | Tk. 135.00 | Per litre |
| (i) |  | EARTH/SAND |  |  |
|  | 1 | Royalty of earth | Tk. 250.00 | Per % 0 cft. |
|  | 2 | Royalty of turf | Tk. 3.00 | Per % sft. |
|  | 3 | Sand (F.M. 0.8) | Tk. 625.00 | Per % cft. |
|  | 4 | Sand (F.M. 1.2) | Tk. 990.00 | Per % cft. |
|  | 5 | Sand (F.M. 2.2) | Tk. 1,330.00 | Per % cft. |
| (j) |  | TIMBER/BOARD/TIMBER PRODUCT |  |  |
|  | 1 | Garjan/Jam/local Sal | Tk. 710.00 | Per cft. |
|  | 2 | Jarul | Tk. 810.00 | Per cft. |
|  | 3 | Silkarai/Chikrashi | Tk. 850.00 | Per cft. |
|  | 4 | Teak-Chambal | Tk. 1,010.00 | Per cft. |
|  | 5 | Chittagong teak | Tk. 1,400.00 | Per cft. |
|  | 6 | Kathal | Tk. 910.00 | Per cft. |
|  | 7 | Gamari | Tk. 840.00 | Per cft. |
|  | 8 | Chapalish | Tk. 760.00 | Per cft. |
|  | 9 | Loha/Pyiankado | Tk. 1,020.00 | Per cft. |
|  | 10 | Timber for form-work | Tk. 360.00 | Per cft. |
|  | 11 | Bamboo | Tk. 4.00 | Per rft. |
|  | 12 | Shal ballah for driving | Tk. 30.00 | Per rft. |
|  | 13 | Burma teak veneered flush door shutter | Tk. 180.60 | Per sft. |
|  | 14 | Champ veneered flush door shutter | Tk. 141.75 | Per sft. |
|  | 15 | Chapalish veneered flush door shutter | Tk. 138.60 | Per sft. |
|  | 16 | Garjan veneered flush door shutter | Tk. 123.90 | Per sft. |
|  | 17 | 12 mm thick Plain Particle board | Tk. 22.97 | Per sft. |
|  | 18 | Melamine board (8 mm thick): 8' -0" x 4'-0" size | Tk. 1,150.00 | Per pc. |
|  | 19 | 12 mm thick gypsum board | Tk. 48.00 | Per sft. |
|  | 20 | 12 mm thick laminated vinyl board | Tk. 45.85 | Per sft. |
|  | 21 | 12 mm thick B.T. veneered board | Tk. 75.00 | Per sft. |
| (k) |  | STEEL |  |  |
|  |  | I. Structural steel |  |  |
|  | 1 | 40 grade M.S. rod | Tk. 22,660.00 | Per ton |
|  | 2 | 60 grade M.S. rod | Tk. 24,120.00 | Per ton |
|  | 3 | M.S sheet/plate | Tk. 23,920.00 | Per ton |
|  | 4 | M.S. angle, T and Z-section, Channel etc. | Tk. 19,195.00 | Per ton |
|  | 5 | M.S. plain bar and F.I. bar (non-structural) | Tk. 17,010.00 | Per ton |
|  |  | II. Others |  |  |
|  | 1 | 0.45 mm thick C.I. sheet: | Tk. 35,500.00 | Per ton |
|  | 2 | 0.45 mm thick colored C.I. sheet: | Tk. 50,000.00 | Per ton |
|  | 3 | 0.27 mm thick 6'-0" x 18" ridging: | Tk. 90.00 | Per pc. |
|  | 4 | 0.27 mm thick 6'-0" x 18" colored ridging: | Tk. 115.00 | Per pc. |
| (l) |  | GLAZED/MARBLE/TERAZZO TILES |  |  |
|  | 1 | Machine made pre-polished double layer terrazzo tiles: 10" x 10" size silver mixed | Tk. 42.79 | Per sft. |
|  | 2 | Machine made pre-polished double layer terrazzo tiles: 10" x 10" size white special | Tk. 53.24 | Per sft. |
|  | 3 | Machine made pre-polished re-constituted homogeneous natural marble slab: 13" x 13" size Italian Travertino. | Tk. 101.00 | Per sft. |
|  | 4 | 20 mm thick marble stone | Tk. 440.00 | Per sft. |
|  | 5 | 18 mm thick marble stone | Tk. 400.00 | Per sft. |
|  | 6 | 16 mm thick marble stone | Tk. 360.00 | Per sft. |
|  | 7 | 12 mm thick marble stone | Tk. 310.00 | Per sft. |
|  | 8 | 20 mm thick colored/ grey marble stone | Tk. 300.00 | Per sft. |
|  | 9 | White wall tiles of different sizes | Tk. 38.00 | Per sft. |
|  | 10 | Colored wall tiles of different sizes | Tk. 40.00 | Per sft. |
|  | 11 | Special design colored wall tiles of different sizes | Tk. 42.00 | Per sft. |
|  | 12 | White floor tiles of different sizes | Tk. 38.00 | Per sft. |
|  | 13 | Colored floor tiles of different sizes | Tk. 42.00 | Per sft. |
|  | 14 | Special design colored floor tiles of different sizes | Tk. 45.00 | Per sft. |
|  | 15 | GP (Homogeneous) 305 x 305 mm floor tiles | Tk. 48.00 | Per sft. |
|  | 16 | GP (Homogeneous) 400 x 400 mm floor tiles | Tk. 54.00 | Per sft. |
|  | 17 | GP (Mirror polished) 300 x 300 mm floor tiles | Tk. 88.00 | Per sft. |
|  | 18 | GP (Mirror polished) 396 x 396 mm floor tiles | Tk. 103.00 | Per sft. |
|  | 19 | GP (Mirror polished) 300 x 600 mm floor tiles | Tk. 115.00 | Per sft. |
|  | 20 | GP 305 x 305 mm stair tiles | Tk. 60.00 | Per sft. |
|  | 21 | 140 x 140 x 8.5 mm acid proof floor tiles | Tk. 90.00 | Per sft. |
|  | 22 | 100 x 100 x 8.5 mm acid proof floor tiles | Tk. 96.00 | Per sft. |
|  | 23 | Quartz Homogeneous tiles | Tk. 50.00 | Per sft. |
|  | 24 | Embossed Homogeneous tiles | Tk. 60.00 | Per sft. |
|  | 25 | Special Quality Fibrous floor tiles | Tk. 75.00 | Per sft. |
| (m) |  | PROPS/PIPES/I-SECTION/BOX CHANNEL FOR CONCRETING WORK |  |  |
|  | 1 | Bamboo prop in/c top supports | Tk. 60.00 | each |
|  | 2 | Salballah prop in/c top supports | Tk. 350.00 | each |
|  | 3 | 50 mm/2" dia M.S. pipe | Tk. 80.00 | Per rft. |
|  | 4 | 38 mm/1.5" dia M.S. pipe | Tk. 60.00 | Per rft. |
|  | 5 | 50 mm/2" dia G.I. pipe | Tk. 80.00 | Per rft. |
|  | 6 | 38 mm/1.5" dia G.I. pipe | Tk. 72.00 | Per rft. |
|  | 7 | 19 mm/3/4" dia G.I. pipe | Tk. 33.00 | Per rft. |
|  | 8 | 13 mm/1/2" dia G.I. pipe | Tk. 25.00 | Per rft. |
|  | 9 | Adjustable mechanism in/c top and bottom plate | Tk. 1,280.00 | Per set |
|  | 10 | I-section joist to support inclined prop | Tk. 100.00 | Per rft. |
|  | 11 | 4" x 2" M.S. box channel with 1/8" thick M.S. sheet | Tk. 74.00 | Per rft. |
|  | 12 | Steel prop with adjustable mechanism in/c top and bottom plate | Tk. 1,300.00 | Per set |
|  | 13 | Turn-buckle in/c tie rod | Tk. 250.00 | Per set |
| (n) |  | PAINT/POLISHING |  |  |
|  | 1 | Cement paint | Tk. 52.00 | Per kg. |
|  | 2 | S.E paint | Tk. 151.00 | Per liter |
|  | 3 | S.E. Under-coat | Tk. 126.00 | Per liter |
|  | 4 | Thinner for oil-based paint | Tk. 45.00 | Per liter |
|  | 5 | S.P. Distemper | Tk. 80.00 | Per liter |
|  | 6 | S.P. Distemper Primer /sealer | Tk. 148.00 | Per liter |
|  | 7 | Acrylic Plastic Paint | Tk. 150.00 | Per liter |
|  | 8 | Acrylic Plastic Paint sealer | Tk. 150.00 | Per liter |
|  | 9 | Acrylic Emulsion Paint | Tk. 160.00 | Per liter |
|  | 10 | Acrylic Emulsion Paint Primer/under-coat | Tk. 153.00 | Per liter |
|  | 11 | Chlorinated Rubber Paint | Tk. 260.00 | Per liter |
|  | 12 | Chlorinated Rubber sealer | Tk. 240.00 | Per liter |
|  | 13 | Chlorinated Rubber Paint Thinner | Tk. 106.00 | Per liter |
|  | 14 | Textured Paint (Bonntile) | Tk. 155.00 | Per liter |
|  | 15 | Wood varnishing: Yacht | Tk. 170.00 | Per liter |
|  | 16 | Wood varnishing: Egg-shell | Tk. 170.00 | Per liter |
|  | 17 | Wood varnishing: Matt | Tk. 130.00 | Per liter |
|  | 18 | Thinner | Tk. 42.00 | Per liter |
|  |  | French-polishing work |  |  |
|  | 1 | French powder | Tk. 120.00 | Per kg |
|  | 2 | Spirit | Tk. 30.00 | Per Ib. |
|  | 3 | Gala | Tk. 350.00 | Per kg |
|  | 4 | Mostaki | Tk. 75.00 | Per kg |
|  | 5 | Karpa | Tk. 110.00 | Per kg |
|  | 6 | Sand paper | Tk. 6.00 | each |
|  | 7 | Putty | Tk. 40.00 | Per kg |
|  | 8 | Markin cloth | Tk. 20.00 | Per yard |
|  | 9 | Cotton | Tk. 35.00 | Per lbs. |

|  |  | Aluminium Channel/Sections: Rate per rft. | Bronze | Silver |
| --- | --- | --- | --- | --- |
|  | 1 | 101.60 mm, 44.45 mm wall frame of 1.5 mm thick (0.86 kg/m) | Tk. 79.48 | Tk. 70.81 |
|  | 2 | 54 mm, 46 mm wall frame of 1.8 mm shutter side 2.3 mm thick (1.2 kg/m) | Tk. 62.90 | Tk. 56.86 |
|  | 3 | 16.54 mm, 15.49 mm Door glass bit of 0.99 mm thick (0.115 kg/m) | Tk. 7.05 | Tk. 6.14 |
|  | 4 | 101.54 mm, 42.93 mm closure system of 1.8 mm thick (1.260 kg/m) | Tk. 60.81 | Tk. 56.05 |
|  | 5 | 101.60 mm closure cover of 1.5 mm thick (0.45 kg/m) | Tk. 29.43 | Tk. 25.61 |
|  | 6 | 101.60 mm, 12.70 mm floor bottom of 4 mm thick (1 kg/m) | Tk. 63.29 | Tk. 58.33 |
|  | 7 | 82.60 mm, 43.99 mm shutter bottom of 1.8 mm thick (0.60 kg/m) | Tk. 93.91 | Tk. 83.24 |
|  | 8 | 51 mm, 43.99 mm shutter top of 1.8 mm thick (1.88 kg/m) | Tk. 74.38 | Tk. 66.05 |
|  | 9 | 101.60 mm, 38.10 mm, 25.4 mm handle (short) of 2.3 mm, 2.3 mm, 4.01 mm thick (1.350 kg/m) | Tk. 81.57 | Tk. 75.19 |
|  | 10 | 101.60 mm, 44.45 mm top & side 1.8 mm thick (1.3 kg/m) | Tk. 97.29 | Tk. 86.71 |
|  | 11 | 101.35 mm, 44.45 mm bottom of 1.5 mm thick (1.10 kg/m) | Tk. 76.33 | Tk. 67.95 |
|  | 12 | 44.32 mm, 19.61 mm bottom cover of 1.5 mm thick (0.392 kg/m) | Tk. 31.10 | Tk. 28.10 |
|  | 13 | 83.21mm, 16.00 mm grouve cover of 1.5 mm thick (0.57 kg/m) | Tk. 45.19 | Tk. 40.86 |
|  | 14 | 39.09mm, 14.81mm fixed glass protector of 1.0 mm thick (0.188 kg/m) | Tk. 11.14 | Tk. 10.10 |
|  | 15 | 15.75 mm, 14.81mm fixed glass protector bit of 0.99 mm thick (0.13 kg/m) | Tk. 8.67 | Tk. 7.00 |
|  | 16 | 75.50 mm, 17.79 mm outer bottom 0f 1.5 mm thick (0.528 kg/m) | Tk. 46.45 | Tk. 41.57 |
|  | 17 | 75.5 mm, 26.8 mm outer top of 1.5 mm thick (0.78 km/m) | Tk. 61.86 | Tk. 55.90 |
|  | 18 | 33 mm, 26.80 mm, 22 mm shutter top of 1.5 mm thick (0.536 kg/m) | Tk. 42.52 | Tk. 38.43 |
|  | 19 | 60 mm, 24 mm shutter bottom of 1.5 mm thick (0.736 kg/m) | Tk. 58.38 | Tk. 52.76 |
|  | 20 | 75.50 mm, 19.90 mm outer side of 1.5 mm thick (0.616 kg/m) | Tk. 51.45 | Tk. 45.84 |
|  | 21 | 49.20 mm, 26.20 mm shutter lock of 1.5 mm thick (0.661 kg/m) | Tk. 53.84 | Tk. 48.97 |
|  | 22 | 34.40 mm, 32.10 mm, 25.40 inter lock of 1.5 mm thick (0.665 kg/m) | Tk. 61.03 | Tk. 54.54 |
|  | 23 | 31.75 mm shutter divider of 1.5 mm thick (0.535 kg/m) | Tk. 44.71 | Tk. 40.71 |
|  | 24 | 31.00 mm, 26.00 mm sliding fixed side of 1.5 mm thick (0.422 kg/m) | Tk. 34.00 | Tk. 30.27 |
|  | 25 | 7.14 mm spandrel of 1.4mm to 1.5mm thick ( 0.70 kg/m) | Tk. 35.38 | Tk. 32.61 |
|  | 26 | 75.50 mm, 32 mm outer bottom (high) of 1.5 mm thick (0.695 kg/m) | Tk. 64.86 | Tk. 57.86 |
|  | 27 | 75.5 mm, 26.80 mm outer top of 1.5 mm thick (0.78 kg/m) | Tk. 61.86 | Tk. 55.90 |
|  | 28 | 37.78 mm, 31.78 mm bottom cover of 1.5 mm thick (0.313 kg/m) | Tk. 24.81 | Tk. 22.43 |
|  | 29 | 76.20 mm, 38.10 mm grouve cover of 1.5 mm thick (0.912 kg/m) | Tk. 62.33 | Tk. 55.62 |
|  | 30 | 57.15 mm, 15.80 mm grouve cover of 1.5 mm thick (0.425 kg/m) | Tk. 36.14 | Tk. 32.38 |
|  | 31 | 76.20 mm, 38.10 mm, 57.15 mm top & side of 1.5 mm thick (0.153 kg/m) | Tk. 73.14 | Tk. 65.14 |
|  | 32 | 38.88 mm, 36.63 mm casement outer 1.5 mm thick (0.395 kg/m) | Tk. 25.48 | Tk. 24.16 |
|  | 33 | 47.62 mm, 28.57 mm, 40.82 mm casement shutter of 1.9 mm thick (0.692 kg/m) | Tk. 44.86 | Tk. 42.70 |
|  | 34 | 15.87 mm, 27.00 mm shutter glass clip of 1.245 mm thick (0.188 kg/m) | Tk. 12.67 | Tk. 12.00 |
|  | 35 | 57.15 mm, 15.80 mm grouve cover of 1.5 mm thick (0.452 kg/m) | Tk. 36.14 | Tk. 32.38 |
|  | 36 | 17.40 mm, 31.78 mm bottom cover of 1.5 mm thick (0.313 kg/m) | Tk. 24.81 | Tk. 22.43 |
|  | 37 | 76.20 mm, 38.10 mm bottom cover of 1.5 mm thick (0.760 kg/m) | Tk. 62.33 | Tk. 55.62 |
|  | 38 | 76.20 mm, 16 mm, 38.10 mm top & side of 1.5 mm thick (0.961 kg/m) | Tk. 73.14 | Tk. 65.14 |
|  | 39 | 76.00 mm, 38.10 mm wall frame of 1.5 mm thick (0.707 kg/m) | Tk. 55.90 | Tk. 50.52 |
|  | 40 | 55.02 mm, 37.39 mm louver section of 1.5 mm thick (0.225 kg/m) | Tk. 13.10 | Tk. 11.81 |
|  | 41 | 39.67 mm, 15.06 mm louver outer section of 1.5 mm thick (0.265 kg/m) | Tk. 14.90 | Tk. 13.71 |
|  | 42 | 95.00 mm, 38.00 mm outer bottom of 1.5 mm thick (0.870 kg/m) | Tk. 73.67 | Tk. 66.57 |
|  | 43 | 95.00 mm, 28.50 mm outer top of 1.5 mm thick (0.970 kg/m) | Tk. 76.90 | Tk. 69.52 |
|  | 44 | 95.00 mm, 19.50 mm outer side of 1.5 mm thick (0.738 kg/m) | Tk. 58.54 | Tk. 52.92 |
|  | 45 | 42.2 mm, 13.2 mm net section of 1.5 mm thickness (0.460 kg/m) | Tk. 36.47 | Tk. 32.95 |
|  | 46 | 1" x 1" square pipe | Tk. 21.67 | Tk. 21.67 |
|  | 47 | 7.14 mm span drel of 1.5 mm thick (0.70 kg/m) | Tk. 36.38 | Tk. 32.61 |
|  | 48 | Mosquito net (fiber net) | Tk. 12.62 | Per sft. |
|  | 49 | T-section (main T) for false ceiling | Tk. 11.00 | Per rft. |
|  | 50 | T-section (cross T) for false ceiling | Tk. 9.00 | Per rft. |
|  | 51 | L-section for false ceiling | Tk. 8.00 | Per rft. |
|  | 52 | Aluminium curtain rail in/c hard-wares and fittings | Tk. 10.00 | Per rft. |

|  |  | Accessories for aluminium door-window works |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | Swing door clouser | Tk. 1,900.00 | set |
|  | 2 | Swing door lock | Tk. 400.00 | set |
|  | 3 | Swing door Mohiar | Tk. 2.00 | rft. |
|  | 4 | Fixed Neoprene | Tk. 1.50 | rft. |
|  | 5 | Flush bolt | Tk. 150.00 | set |
|  | 6 | Bolts and Screws in/c sealants |  | L.S. |
|  | 7 | Sliding door /window key lock | Tk. 125.00 | set |
|  | 8 | Sliding door /window wheel | Tk. 30.00 | No. |
|  | 9 | Sliding door /window Mohiar | Tk. 1.70 | rft. |
|  | 10 | Sliding Neoprene | Tk. 1.50 | rft. |
|  | 11 | Sealant | Tk. 0.50 | gm. |
|  | 12 | Sliding door key lock (for window) | Tk. 50.00 | set |
|  | 13 | Bolts and Screws in/c sealants | L.S. |  |
|  | 14 | 4-bar hinge | Tk. 180.00 | No. |
|  | 15 | Casement handle | Tk. 150.00 | No. |
|  | 16 | Rivet | Tk. 0.50 | No. |
|  | 17 | Screws | Tk. 1.00 | No. |
|  | 18 | 5 mm tinted glass | Tk. 55.00 | sft. |
|  | 19 | 5 mm clear glass | Tk. 37.00 | sft. |
|  | 20 | Rubber gasket | Tk. 1.50 | sft. |
|  |  | III. Vertical Venetian Blinds |  |  |
|  | 1 | Head rail, Aluminium | Tk. 21.34 | Per rft. |
|  | 2 | Rod tilt / Hexagon Aluminium Rod | Tk. 20.00 | Per rft. |
|  | 3 | End cap set / End closure set | Tk. 100.00 | Per set |
|  | 4 | Weight plate / Weight bar | Tk. 25.00 | each |
|  | 5 | Link Chain / Weight Chain | Tk. 7.62 | Per rft. |
|  | 6 | Ball Chain / Plastic Chain | Tk. 6.10 | Per rft. |
|  | 7 | Plastic Washer / Fabric upper clip | Tk. 10.00 | each |
|  | 8 | Spacer (Link) / Plastic Runner Spring | Tk. 10.00 | each |
|  | 9 | Handling Cord /Nylon Cord | Tk. 1.52 | Per rft. |
|  | 10 | Thread bar | Tk. 100.00 | each |
|  | 11 | Angle Clip | Tk. 15.00 | each |
|  | 12 | Plastic Runner | Tk. 10.00 | each |
|  | 13 | Glass fiber Fabrics (special quality, foreign made) | Tk. 17.68 | Per rft. |
|  | 14 | Angle | Tk. 15.00 | each |
|  | 15 | Fitting-fixing charge | Tk. 10.00 | Per sft. |
|  |  | IV. Horizontal Venetian Blind |  |  |
|  | 1 | Head rail | Tk. 20.00 | Per rft. |
|  | 2 | Bottom rail | Tk. 20.00 | Per rft. |
|  | 3 | Aluminium Strips (special quality, foreign made) | Tk. 7.62 | Per rft. |
|  | 4 | Rod till / Hexagon Aluminium Rod | Tk. 5.00 | Per rft. |
|  | 5 | Gear Box /Tilter | Tk. 10.00 | each |
|  | 6 | Support and Cord Drum | Tk. 5.00 | each |
|  | 7 | Cord Lock | Tk. 5.00 | each |
|  | 8 | Stop ring | Tk. 2.00 | each |
|  | 9 | Tassel | Tk. 2.00 | each |
|  | 10 | Ladder Cord | Tk. 1.52 | Per rft. |
|  | 11 | Stick / Tilt Wand | Tk. 25.00 | each |
|  | 12 | Bracket/Metal Intermediate Bracket | Tk. 15.00 | each |
|  | 13 | Bottom cap / End Cap for head rail | Tk. 5.00 | each |
|  | 14 | Tape holder | Tk. 2.00 | each |
|  | 15 | Steel Washer | Tk. 2.00 | each |
|  | 16 | Head Cap set | Tk. 5.00 | each |
|  | 17 | Handling cord | Tk. 0.61 | Per rft. |
|  | 18 | Labour cost | Tk. 5.00 | Per sft. |
| (p) |  | PVC |  |  |
|  |  | I. uPVC Pipe for Electric Conduit |  |  |
|  | 1 | Wall grade 3/4" dia pipe | Tk. 1.90 | Per rft. |
|  | 2 | Wall grade 1" dia pipe | Tk. 2.95 | Per rft. |
|  | 3 | Roof grade 3/4" dia pipe | Tk. 2.65 | Per rft. |
|  | 4 | Roof grade 1" dia pipe | Tk. 3.65 | Per rft. |
|  | 5 | Roof grade 1.25" dia pipe | Tk. 4.75 | Per rft. |
|  |  | II. Fittings for uPVC Pipe for Electric Conduit |  |  |
|  | 1 | 3/4" Socket | Tk. 21.00 | Per dzn. |
|  | 2 | 1" Socket | Tk. 27.50 | Per dzn. |
|  | 3 | 1.25" Socket | Tk. 35.00 | Per dzn. |
|  | 4 | 3/4" Plain bend | Tk. 33.50 | Per dzn. |
|  | 5 | 1" Plain bend | Tk. 52.50 | Per dzn. |
|  | 6 | 1.25" Plain bend | Tk. 70.00 | Per dzn. |
|  | 7 | 3/4" Circular box single | Tk. 46.50 | Per dzn. |
|  | 8 | 3/4" Circular box double | Tk. 52.20 | Per dzn. |
|  | 9 | 1" Circular box single | Tk. 52.50 | Per dzn. |
|  | 10 | 1" Circular box double | Tk. 65.00 | Per dzn. |
|  | 11 | Solvent cement for jointing | Tk. 0.82 | Per grm |
|  |  | III. Plastic Door, Windows & Partition |  |  |
|  | 1 | uPVC door frame thickness min 2.5 mm | Tk. 254.00 | Per meter |
|  | 2 | G.I inner joint (76.2 mm x 38.1 mm) clamp | Tk. 8.00 | each |
|  | 3 | G.I inner joint (72.2 mm x 76.2 mm) clamp | Tk. 7.00 | each |
|  | 4 | G.I outer clamp | Tk. 8.00 | each |
|  | 5 | G.I. wall clamp (216 x 19 mm) | Tk. 6.00 | each |
|  | 6 | Rivet ø 3.17 ø 3 x ↔12..17 mm | Tk. 0.50 | each |
|  | 7 | Garjan wood 25.4 x 22.22 mm | Tk. 16.43 | Per rm. |
|  | 8 | uPVC hollow section wall thickness 2.5 mm | Tk. 992.00 | Per meter |
|  | 9 | uPVC side clip 2.5mm | Tk. 84.00 | Per meter |
|  | 10 | Screw 25.5 mm | Tk. 0.50 | each |
|  | 11 | Tower bolt Ø 9.38 x 152.4mm | Tk. 25.00 | each |
|  | 12 | Plastic handle 146mm long | Tk. 10.00 | each |
|  | 13 | Hinges 76.2 x 57.15 mm | Tk. 32.00 | each |
|  | 14 | Hasp bolt Ø 25 x ↔ 254 mm | Tk. 60.00 | each |
|  | 15 | Round lock normal (China/Korea/Taiwan) | Tk. 300.00 | each |
|  | 16 | Rod Ø 9.52 mm x 3 Pcs. | Tk. 15.00 | each |
|  | 17 | Nut with washer 6 Pcs. | Tk. 5.00 | each |
|  | 18 | Rowel plug | Tk. 0.25 | each |
|  | 19 | T-frame | Tk. 132.00 | Per rm. |
|  | 20 | L-frame | Tk. 132.00 | Per rm. |
|  | 21 | Hollow bit | Tk. 60.00 | Per rm. |
|  | 22 | Screw for hollow partition | Tk. 1.00 | each |
|  | 23 | T-inner joint clamp | Tk. 5.00 | each |
|  | 24 | L-inner joint clamp | Tk. 8.00 | each |
|  | 25 | Glass bit | Tk. 66.00 | Per rm. |
|  | 26 | Round rubber bit | Tk. 8.00 | Per rm. |
|  | 27 | Rubber bit | Tk. 4.00 | Per rm. |
|  | 28 | Adhesive | Tk. 120.00 | Per kg. |
|  | 29 | 5 mm glass for partition wall | Tk. 484.00 | Per sqm. |
|  |  | IV. Plastic Door, Windows & Partition |  |  |
|  | 1 | 8mm thick PVC sheet | Tk. 1,485.00 | Per pc. |
|  | 2 | Partition frame (Profile) | Tk. 25.00 | Per rft. |
|  | 3 | 4" New sash (Profile) | Tk. 55.00 | Per rft. |
|  | 4 | Sliding glass bead (Profile) | Tk. 4.00 | Per rft. |
|  | 5 | Partition frame (Reinforcement) | Tk. 16.80 | Per rft. |
|  | 6 | Rubber | Tk. 4.00 | Per rft. |
|  | 7 | Screw |  |  |
|  | 8 | Hinge | Tk. 50.00 | Per Pc. |
|  | 9 | Sitkani | Tk. 30.00 | each |
|  | 10 | Handle | Tk. 60.00 | each |
|  | 11 | Steel clamp (8") | Tk. 5.00 | each |
|  | 12 | Partition glass bit | Tk. 6.00 | Per rft. |
|  | 13 | Sliding frame | Tk. 29.00 | Per rft. |
|  | 14 | Sliding sash | Tk. 23.00 | Per rft. |
|  | 15 | Sliding interlock | Tk. 5.00 | Per rft. |
|  | 16 | Brush | Tk. 6.00 | Per rft. |
|  | 17 | Lock (2") | Tk. 20.00 | each |
|  | 18 | Sliding frame: reinforcement | Tk. 16.80 | Per rft. |
|  | 19 | Sliding sash: reinforcement | Tk. 18.00 | Per rft. |
|  | 20 | 5 mm clear glass | Tk. 42.00 | Per sft. |
|  | 21 | 3 mm thick plastic wood | Tk. 660.00 | Per pc. |
|  | 22 | 2" Screw | Tk. 85.00 | Per pack |
|  | 23 | Wall bit (9/64) | Tk. 25.00 | Per Pc. |
|  | 24 | Super bit | Tk. 140.00 | Per Pc. |
|  | 25 | Sun-star Glue | Tk. 80.00 | Per liter |
|  | 26 | Tarpin | Tk. 90.00 | Per gallon |
|  | 27 | Super Glue | Tk. 20.00 | Per Pc. |
|  | 28 | 6 mm thick plastic wood | Tk. 1,320.00 | Per Pc. |
|  | 29 | 12 mm thick plastic wood | Tk. 2,640.00 | Per Pc. |
|  | 30 | 2" Magnet | Tk. 20.00 | each |
|  | 31 | Chain Hinge (kabja) | Tk. 75.00 | each |
|  | 32 | Metal Handle | Tk. 150.00 | each |
|  | 33 | Cloth | Tk. 8.00 | Per yrds. |
|  | 34 | Rowl plug (10 Nos. per pack) | Tk. 10.00 | Per pack |
| (q) |  | GAS CONNECTION WORK |  |  |
|  |  | I. 50 PSI API 5L, Grade-B ERW M.S. Pipe |  |  |
|  | 1 | 75 mm ND (88.90 mm OD) | Tk. 231.70 | Per rft. |
|  | 2 | 50 mm ND (60.30 mm OD) | Tk. 152.44 | Per rft. |
|  | 3 | 25 mm ND (33.40 mm OD) | Tk. 77.44 | Per rft. |
|  | 4 | 20 mm ND (26.70 mm OD) | Tk. 53.66 | Per rft. |
|  |  | II. Consumable |  |  |
|  | 1 | 4" x 400' Black tape | Tk. 2,000.00 | Per roll |
|  | 2 | 2" x 200' Black tape | Tk. 560.00 | Per roll |
|  | 3 | Primer | Tk. 235.00 | Per liter |
|  |  | III. Butt welded joints |  |  |
|  | 1 | 75 mm ND (88.90 mm OD) | Tk. 104.00 | each |
|  | 2 | 50 mm ND (60.30 mm OD) | Tk. 86.58 | each |
|  | 3 | 25 mm ND (33.40 mm OD) | Tk. 65.60 | each |
|  | 4 | 20 mm ND (26.70 mm OD) | Tk. 57.10 | each |
|  |  | IV. Fittings & accessories |  |  |
|  | 1 | 50 x 50 x 50 mm N.D. Tee CD40 | Tk. 2,450.00 | each |
|  | 2 | 50 x 50 x 25 mm N.D. Tee CD40 | Tk. 385.00 | each |
|  | 3 | 25 x 25 x 25 mm N.D. Tee CD40 | Tk. 234.82 | each |
|  | 4 | 50 mm x 90o Elbow | Tk. 449.82 | each |
|  | 5 | 25 mm x 90o Elbow | Tk. 136.00 | each |
|  | 6 | 50 mm x 45o Elbow | Tk. 170.00 | each |
|  | 7 | 50 x 25 mm Reducer | Tk. 174.00 | each |
|  | 8 | 20 mm Plug/Socket | Tk. 179.96 | each |
|  | 9 | 50 x 20 mm Saddle | Tk. 313.00 | each |
|  | 10 | 50 mm dia End Cap | Tk. 160.00 | each |
|  | 11 | 25 mm dia End Cap | Tk. 124.44 | each |
|  | 12 | 50 x 50 mm Equal Tee | Tk. 2,450.00 | each |
|  | 13 | 50 x 50 x 25 mm N.D. Tee CD40 | Tk. 384.00 | each |
|  | 14 | 25 x 25 x 25 mm Service Tee | Tk. 270.96 | each |
|  | 15 | 50 x 20 mm Service Tee | Tk. 313.00 | each |
|  | 16 | 50 mm insulating kits | Tk. 320.00 | each |
|  | 17 | 50 mm flange W/N 150 R/F | Tk. 1,022.00 | each |
|  | 18 | 5/8" x 3" long nut bolt in/c washer | Tk. 92.18 | each |
|  | 19 | Valve Pit (Titas Gas T&D Co. Ltd. design & plan.) | Tk. 12,032.08 | each |
|  | 20 | M.S. sheet cover supplied by Titas Gas T & D Co. Ltd. | Tk. 8,600.00 | each |
|  | 21 | Testing & purging | Tk. 8.72 | Per meter |
|  | 22 | 8 Ibs Magnesium Anode | Tk. 3,498.00 | each |
|  | 23 | G.I. test point | Tk. 1,647.00 | each |
|  | 24 | Insulation charge | Tk. 1,730.00 | each |
|  | 25 | PVC cable | Tk. 37.00 | Per rm |
|  | 26 | CAD welding charge | Tk. 90.00 | each |
|  | 27 | 50 mm ND dia plug valve class 150 R.F. | Tk. 10,250.00 | each |
|  | 28 | 25 mm ND dia plug valve class 150 R.F. | Tk. 9,166.86 | each |
|  | 29 | 25 mm dia flange W/N 150 R.F. | Tk. 299.28 | each |
|  | 30 | 50 mm dia gasket | Tk. 320.00 | each |
|  | 31 | 25 mm dia gasket (asbestos) | Tk. 128.29 | each |
|  | 32 | 1/2" x 2.5" nut-bolt | Tk. 77.43 | each |
|  | 33 | 3/4" dia G.I. pipe (NTL or eqv.) | Tk. 29.50 | Per rft. |
|  | 34 | 1/2" dia G.I. pipe (NTL or eqv.) | Tk. 23.50 | Per rft. |
|  | 35 | 12 x 6 mm gas stop cock | Tk. 65.00 | each |
|  | 36 | 20 x 20 mm gas stop cock | Tk. 110.00 | each |
| ( r) |  | TERMITE TREATMENT |  |  |
|  | 1 | DURS BAN 20 EC | Tk. 527.50 | Per liter |
|  | 2 | NEOCIDOL-60 | Tk. 75.00 | Per % ml |
|  | 3 | Kerosene | Tk. 23.00 | Per liter |
| (s) |  | CONCRETE HOLLOW BLOCKS & PAVING STONE WORKS |  |  |
|  | 1 | 70 mm non load bearing concrete hollow block | Tk. 15.00 | each |
|  | 2 | Transportation 70 mm block | Tk. 3.29 | each |
|  | 3 | Mortar mix | Tk. 310.00 | Per liter |
|  | 4 | 90 mm non load bearing concrete hollow block | Tk. 17.50 | each |
|  | 5 | Transportation 90 mm block | Tk. 3.92 | each |
|  | 6 | 140 mm non load bearing concrete hollow block | Tk. 27.00 | each |
|  | 7 | Transportation 140/190 mm block | Tk. 5.00 | each |
|  | 8 | 140 mm load bearing concrete hollow block | Tk. 38.00 | each |
|  | 9 | 190 mm load bearing concrete hollow block | Tk. 48.00 | each |
|  | 10 | 150 mm concrete ceiling block | Tk. 53.00 | each |
|  | 11 | Transportation 150/200 mm ceiling block | Tk. 5.71 | each |
|  | 12 | 200 mm concrete ceiling block | Tk. 73.00 | each |
|  | 13 | External plaster mix | Tk. 360.00 | Per liter |
|  | 14 | 60 mm grey Uniblock: 15 N/mm2 | Tk. 8.50 | each |
|  | 15 | 60 mm colored Uniblock: 15 N/mm2 | Tk. 11.00 | each |
|  | 16 | Transportation 60/80 mm Uniblock/Rec-block | Tk. 0.80 | each |
|  | 17 | 60 mm grey Uniblock: 49 N/mm2 | Tk. 12.00 | each |
|  | 18 | 60 mm colored Uniblock: 49 N/mm2 | Tk. 17.00 | each |
|  | 19 | 80 mm grey Uniblock: 49 N/mm2 | Tk. 16.00 | each |
|  | 20 | 80 mm colored Uniblock: 49 N/mm2 | Tk. 27.00 | each |
|  | 21 | Rectangular grey block | Tk. 7.00 | each |
|  | 22 | Rectangular colored block | Tk. 10.00 | each |
|  | 23 | 70 mm CC block for wall | Tk. 28.32 | Per sft. |
|  | 24 | 90 mm CC block for wall | Tk. 32.53 | Per sft. |
|  | 25 | Grade-beam | Tk. 118.50 | Per cft. |
|  | 26 | Column (C.C. block) | Tk. 75.00 | Per cft. |
|  | 27 | Topping | Tk. 148.00 | Per cft. |
|  | 28 | Reinforcement | Tk. 23.00 | Per kg. |
|  | 29 | 250 x 250 mm Grey Engraved CC tiles | Tk. 30.25 | Per sft. |
|  | 30 | 250 x 250 mm colored Engraved CC tiles | Tk. 37.45 | Per sft. |
|  | 31 | Transportation of 250 x 250 mm tiles | Tk. 0.70 | Per sft. |
|  | 32 | Roof Engraved Tile | Tk. 18.75 | Per sft. |
|  | 33 | Aqua-proof | Tk. 145.00 | Per kg. |
|  | 34 | Transportation Aqua-proof tiles | Tk. 0.30 | Per sft. |
|  | 35 | Solid block (215 x 100 x 65) mm | Tk. 4.85 | each |
|  | 36 | Transportation Solid block (215 x 100 x 65) mm | Tk. 0.67 | each |
|  | 37 | 200 x 92 x 37.5 mm grey solid cladding block | Tk. 5.50 | each |
|  | 38 | Transportation solid cladding block | Tk. 0.50 | each |
|  | 39 | 200 x 92 x 37.5 mm colored solid cladding block | Tk. 6.75 | each |
|  | 40 | 400 x 92 x 50 mm grey split cladding | Tk. 10.00 | each |
|  | 41 | Transportation split cladding | Tk. 1.00 | each |
|  | 42 | 400 x 92 x 50 mm colored split cladding | Tk. 13.50 | each |
|  | 43 | 420 x 330 x 15 mm grey facial cladding | Tk. 25.00 | each |
|  | 44 | Transportation facial cladding | Tk. 1.00 | each |
|  | 45 | 420 x 330 x 15 mm colored facial cladding | Tk. 26.00 | each |
|  | 46 | 418 x 330 x 17 mm red color roof tiles | Tk. 27.50 | each |
|  | 47 | Transportation roof tiles | Tk. 1.43 | each |
|  | 48 | J-hook with nut and washer | Tk. 4.50 | each |
|  | 49 | 418 x 330 x 17 mm oriental color roof tiles | Tk. 29.00 | each |
|  | 50 | 418 x 330 x 17 mm antique red color roof tiles | Tk. 33.00 | each |
|  | 51 | 418 x 330 x 17 mm green color roof tiles | Tk. 35.00 | each |
|  | 52 | 600 x 300 x 100 mm kerb stone | Tk. 95.00 | each |
|  | 53 | Transportation kerb stone | Tk. 10.00 | each |
|  | 54 | Cost for grouting (1:2:2) | Tk. 110.00 | Per cft. |
|  | 55 | 100 mm non-load bearing concrete hollow block | Tk. 18.80 | each |
|  | 56 | Transportation 100 mm hollow block | Tk. 3.29 | each |
|  | 57 | 250 mm concrete ceiling block | Tk. 78.00 | each |
|  | 58 | Transportation 250 mm ceiling block | Tk. 6.14 | each |
|  | 59 | 300 mm concrete ceiling block | Tk. 83.00 | each |
|  | 60 | Transportation 300 mm ceiling block | Tk. 7.17 | each |
|  | 61 | 100 mm concrete ceiling block | Tk. 25.00 | each |
|  | 62 | Transportation 100 mm ceiling block | Tk. 3.29 | each |
|  | 63 | 418 x 330 x 17 mm brown color roof tiles | Tk. 27.50 | each |
|  | 64 | 418 x 330 x 17 mm Navy blue roof tiles | Tk. 30.00 | each |
|  | 65 | 418 x 330 x 17 mm Mahogany color roof tiles | Tk. 33.00 | each |
|  | 66 | 418 x 330 x 17 mm Rust Gold color roof tiles | Tk. 33.00 | each |
|  | 67 | All type Concrete Ridge: red color | Tk. 120.00 | each |
|  | 68 | 60 mm gray Trihex | Tk. 9.00 | each |
|  | 69 | 60 mm color Trihex | Tk. 11.75 | each |
|  | 70 | 60 mm gray top finish Trihex | Tk. 18.25 | each |
|  | 71 | 60 mm color top finish Trihex | Tk. 19.00 | each |
|  | 72 | Transportation of Trihex | Tk. 0.90 | each |
| (t) |  | SANITARY AND WATER SUPPLY WORK |  |  |
|  |  | I. Misc. items |  |  |
|  | 1 | Water sealed heavy type 18" dia C.I. M.H. cover having locking arrangement | Tk. 300.00 | each |
|  | 2 | RCC Tees | Tk. 150.00 | each |
|  | 3 | CI brackets | Tk. 40.00 | Per pair |
|  | 4 | Heavy type CI brackets | Tk. 50.00 | Per pair |
|  | 6 | Nuts with Washer | Tk. 5.00 | each |
|  | 7 | Clamp | Tk. 12.50 | each |
|  | 8 | 50 mm Screw & Rowel plug | Tk. 3.00 | each |
|  | 9 | 75 mm Screw, Rowel plug & Washer | Tk. 5.00 | each |
|  | 10 | Plastic Clip | Tk. 5.00 | each |
|  | 11 | Solvent Cement | Tk. 0.74 | Per grm. |
|  | 12 | Hem | Tk. 0.04 | Per grm. |
|  | 13 | Hem | Tk. 16.00 | Per sqm. |
|  | 14 | Scaffolding | Tk. 1.00 | Per rft. |
|  | 15 | Teflon | Tk. 0.30 | Per rft. |
|  | 16 | Nipples with jum-nuts | Tk. 25.00 | each |
|  |  | II. Fixtures & Accessories |  |  |
|  | 1 | White 465 x 340 x 415 mm Commode | Tk. 1,086.75 | each |
|  | 2 | Colored Commode: -do- | Tk. 1,141.08 | each |
|  | 3 | Special colored Commode: -do- | Tk. 1,199.04 | each |
|  | 4 | Seat Cover: -do- | Tk. 680.00 | each |
|  | 5 | White 490 x 190 x 350 mm low-down | Tk. 1,182.14 | each |
|  | 6 | Colored Low-down: -do- | Tk. 1,476.77 | each |
|  | 7 | Special colored Low-down: -do- | Tk. 1,772.61 | each |
|  | 8 | 32 mm dia plastic pipe for low-down connection | Tk. 40.00 | each |
|  | 9 | White Combicloset, Size (mm) 700 x 410 x 795. | Tk. 5,433.75 | each |
|  | 10 | Colored Combicloset: -do- | Tk. 5,705.43 | each |
|  | 11 | Special Colored Combicloset: -do- | Tk. 5,991.61 | each |
|  | 12 | White Combicloset, Size (mm) 700 x 410 x 795. | Tk. 6,433.56 | each |
|  | 13 | Colored Combicloset: -do- | Tk. 8,041.95 | each |
|  | 14 | Special colored Combicloset: -do- | Tk. 9,650.34 | each |
|  | 15 | Flushing equipment: | Tk. 750.00 | each |
|  | 16 | Flushing equipment: | Tk. 575.00 | each |
|  | 17 | White long pan, Size (mm) 570 x 445 x 290. | Tk. 1,016.71 | each |
|  | 18 | Colored long pan: -do- | Tk. 1,067.43 | each |
|  | 19 | Special colored long pan: -do- | Tk. 1,120.56 | each |
|  | 20 | White long pan, Size (mm) 500 x 290 x 270. | Tk. 449.19 | each |
|  | 21 | Colored long pan: -do- | Tk. 571.14 | each |
|  | 22 | Special colored long pan: -do- | Tk. 661.71 | each |
|  | 23 | White/colored foot-rest, Size (mm) 260 x 227 x 25. | Tk. 55.00 | Per pair |
|  | 24 | White W-basin, Size (mm) 580 x 445 x 235. | Tk. 857.31 | each |
|  | 25 | Colored W-basin: -do- | Tk. 1,071.05 | each |
|  | 26 | Special colored W-basin: -do- | Tk. 1,264.25 | each |
|  | 27 | White W-basin, Size (mm) 570 x 420 x 190. | Tk. 735.36 | each |
|  | 28 | Colored W-basin: -do- | Tk. 918.90 | each |
|  | 29 | Special colored W-basin: -do- | Tk. 1,102.44 | each |
|  | 30 | White W-basin, Size (mm) 500 x 440 x 210 | Tk. 1,127.50 | each |
|  | 31 | Colored W-basin: -do- | Tk. 1,267.87 | each |
|  | 32 | Special colored W-basin: -do- | Tk. 1,331.87 | each |
|  | 33 | Grating with brass coupling | Tk. 90.00 | each |
|  | 34 | 32 mm dia PVC waste pipe for W-Basin connection | Tk. 25.00 | each |
|  | 35 | CP chain with rubber plug | Tk. 15.00 | each |
|  | 36 | White Pedestal, Size (mm) 652 x 200 x 205. | Tk. 685.86 | each |
|  | 37 | Colored Pedestal: -do- | Tk. 857.32 | each |
|  | 38 | Special colored Pedestal: -do- | Tk. 1,015.50 | each |
|  | 39 | White Bowl Urinal, Size (mm) 490 x 385 x 290 | Tk. 767.97 | each |
|  | 40 | Colored Bowl Urinal: -do- | Tk. 961.17 | each |
|  | 41 | Special colored Bowl Urinal: -do- | Tk. 1,133.84 | each |
|  | 42 | White Flat/Squat. Urinal, Size (mm) 610 x 375 x 85 | Tk. 603.75 | each |
|  | 43 | Colored Flat/Squatting Bowl Urinal: -do- | Tk. 754.68 | each |
|  | 44 | Special colored Flat/Squatting Bowl Urinal: -do- | Tk. 905.62 | each |
|  | 41 | White porcelain Sink, Size (mm) 625 x 490 x 224 | Tk. 1,535.94 | each |
|  | 42 | Colored Porcelain Sink: -do- | Tk. 1,919.92 | each |
|  | 43 | Stainless steel, Single Bowl Sink: Singapore/M'Asia, Size (mm) 450 x 1050 | Tk. 1,550.00 | each |
|  | 44 | Stainless steel, double Bowl Sink: Singapore/M'Asia, | Tk. 2,500.00 | each |
|  | 45 | 450 x 600 x 5 mm mirror | Tk. 200.00 | each |
|  | 46 | 450 x 350 x 4 mm mirror | Tk. 200.00 | each |
|  | 47 | Super quality steel frame with brackets for 600 x 125 x 5 mm size Glass Shelf | Tk. 185.00 | each |
|  | 48 | Super quality colored Glass for -do- | Tk. 40.00 | each |
|  | 49 | Medium quality CP iron frame with brackets for 600 x 125 x 5 mm size Glass Shelf. | Tk. 150.00 | each |
|  | 50 | Medium quality Glass for -do- | Tk. 30.00 | each |
|  | 51 | Super Quality 600 x 20 mm dia size CP Towel Rail. | Tk. 225.00 | each |
|  | 52 | Medium Quality CP Towel Rail -do- | Tk. 150.00 | each |
|  | 53 | White Porcelain Toilet Paper Holder, Size (mm) 150 x 150 x 126 | Tk. 118.35 | each |
|  | 54 | Special Colored Porcelain Toilet Paper Holder: -do- | Tk. 147.31 | each |
|  | 55 | Standard size Stainless Steel Toilet Paper Holder with Cover | Tk. 145.00 | each |
|  | 56 | Standard size CP Toilet Paper Holder with Plastic Holder rod | Tk. 60.00 | each |
|  | 57 | 125mm dia Stainless-steel Floor-Grating | Tk. 40.00 | each |
|  | 58 | 62mm dia Stainless-steel Floor-Grating | Tk. 30.00 | each |
|  | 59 | 150 x 150mm size Plastic-Grating with hinged Cover | Tk. 115.00 | each |
|  |  | III. Pipes & Accessories |  |  |
|  |  | (a) HCI |  |  |
|  | 1 | 50 mm dia HCI pipe: 1.83 m long | Tk. 340.00 | Per pc. |
|  | 2 | 50 mm dia HCI bend/offset/cowl | Tk. 100.00 | each |
|  | 3 | 50 mm dia HCI Tee/T-Y/Y (50 x 50 mm) | Tk. 125.00 | each |
|  | 4 | 100 mm dia HCI pipe: 1.83 m long: | Tk. 600.00 | Per pc. |
|  | 5 | 101 mm dia HCI pipe: 1.83 m long: | Tk. 515.00 | Per pc. |
|  | 6 | 100 mm dia HCI bend/offset/cowl | Tk. 200.00 | each |
|  | 7 | 100 mm dia HCI Tee/T-Y/Y (100 x 100/50 mm) | Tk. 275.00 | each |
|  | 8 | 150 mm dia HCI pipe: 1.83 m long | Tk. 1,080.00 | Per pc. |
|  | 9 | 150 mm dia HCI bend/offset/cowl | Tk. 390.00 | each |
|  |  | 150 mm dia HCI Tee/T-Y/Y (50 x 50 mm) | Tk. 600.00 | each |
|  |  | (b) uPVC |  |  |
|  | 10 | 12 mm dia uPVC pipe | Tk. 9.00 | Per rft. |
|  | 11 | 12 mm dia uPVC plain Tee | Tk. 11.50 | each |
|  | 12 | 12 mm dia uPVC Plain Elbow | Tk. 8.40 | each |
|  | 13 | 12 mm dia uPVC Faucet Elbow | Tk. 12.00 | each |
|  | 14 | 12 mm dia uPVC Plain Socket | Tk. 6.00 | each |
|  | 15 | 12 mm dia uPVC thread Plug | Tk. 6.00 | each |
|  | 16 | 19 mm dia uPVC pipe | Tk. 10.50 | Per rft. |
|  | 17 | 19 mm dia uPVC plain Tee | Tk. 15.00 | each |
|  | 18 | 19 mm dia uPVC Plain Elbow | Tk. 12.00 | each |
|  | 19 | 19 mm dia uPVC Plain Socket | Tk. 8.00 | each |
|  | 20 | 19mm x 12 mm dia uPVC Rd. Tee | Tk. 20.00 | each |
|  | 21 | 19mm x 12 mm dia uPVC Rd. Elbow | Tk. 21.50 | each |
|  | 22 | 25 mm dia uPVC pipe | Tk. 13.65 | Per rft. |
|  | 23 | 25 mm x 19 mm dia Rd. Tee | Tk. 30.00 | each |
|  | 24 | 32 mm dia uPVC pipe | Tk. 16.80 | Per rft. |
|  | 25 | 32 mm dia uPVC Tee | Tk. 54.60 | each |
|  | 26 | 32 mm dia uPVC Socket | Tk. 27.80 | each |
|  | 27 | 32 mm dia Elbow | Tk. 37.80 | each |
|  | 28 | 32 mm plain bend 900 | Tk. 42.00 | each |
|  | 29 | 37 mm dia uPVC pipe | Tk. 22.00 | Per rft. |
|  | 30 | 37 mm dia uPVC Tee | Tk. 75.60 | each |
|  | 31 | 37 mm dia uPVC Socket | Tk. 35.79 | each |
|  | 32 | 37 mm dia uPVC Elbow | Tk. 63.00 | each |
|  | 33 | 50 mm dia uPVC Pipe: 20 rft (6m) long | Tk. 480.00 | Per pc. |
|  | 34 | 50 mm dia uPVC bend/offset/cowl | Tk. 100.00 | each |
|  | 35 | 50 mm dia uPVC Tee/T-Y/Y (50 x 50 mm) | Tk. 150.00 | each |
|  | 36 | 60 mm dia uPVC pipe | Tk. 26.00 | Per rft. |
|  | 37 | 60 mm Tee | Tk. 120.00 | each |
|  | 38 | 60 mm Socket | Tk. 70.00 | each |
|  | 39 | 60 mm Elbow | Tk. 100.00 | each |
|  | 40 | 75 mm dia uPVC pipe | Tk. 28.00 | Per rft. |
|  | 41 | 75 mm dia Tee | Tk. 120.00 | each |
|  | 42 | 75 mm dia Socket | Tk. 70.00 | each |
|  | 43 | 75 mm dia Elbow | Tk. 100.00 | each |
|  | 44 | 88 mm dia uPVC pipe | Tk. 36.80 | Per rft. |
|  | 45 | 88 mm dia Tee | Tk. 250.00 | each |
|  | 46 | 88 mm dia Socket | Tk. 120.00 | each |
|  | 47 | 88 mm dia Elbow | Tk. 200.00 | each |
|  | 48 | 114 mm dia uPVC pipe | Tk. 60.95 | Per rft. |
|  | 49 | 114 mm dia Tee | Tk. 400.00 | each |
|  | 50 | 114 mm dia Socket | Tk. 200.00 | each |
|  | 51 | 114 mm dia Elbow | Tk. 350.00 | each |
|  | 52 | 100 mm dia uPVC Pipe: 20 rft (6m) long | Tk. 900.00 | Per pc. |
|  | 53 | 100 mm dia uPVC bend/offset/cowl | Tk. 190.00 | each |
|  | 54 | 100 mm dia uPVC Tee/T-Y/Y (50 x 50 mm) | Tk. 325.00 | each |
|  | 55 | 110 mm dia uPVC pipe | Tk. 45.15 | Per rft. |
|  | 56 | 110 mm dia door Tee (Back) | Tk. 315.00 | each |
|  | 57 | 110 mm dia uPVC plain bend 900 | Tk. 189.50 | each |
|  | 58 | 110 mm dia uPVC long Trap | Tk. 330.75 | each |
|  | 59 | 110 mm dia round Grating | Tk. 73.50 | each |
|  | 60 | 110 mm dia uPVC vent Cowl | Tk. 63.00 | each |
|  | 61 | 150 mm dia uPVC Pipe: 20 rft (6m) long | Tk. 1,700.00 | Per pc. |
|  | 62 | 150 mm dia uPVC bend/offset/cowl | Tk. 300.00 | each |
|  | 63 | 150 mm dia uPVC Tee/T-Y/Y (50 x 50 mm) | Tk. 550.00 | each |
|  | 64 | 150 mm dia uPVC for under-ground | Tk. 90.00 | Per rft. |
|  | 65 | 200 mm dia uPVC pipe for under-ground | Tk. 124.00 | Per rft. |
|  | 66 | 250 mm dia uPVC pipe for under-ground | Tk. 275.00 | Per rft. |
|  | 67 | 280 mm dia uPVC pipe for under-ground | Tk. 330.00 | Per rft. |
|  | 68 | 315 mm dia uPVC pipe for under-ground | Tk. 440.00 | Per rft. |
|  |  | (c) G.I. Pipe & fittings |  |  |
|  | 69 | 12 mm dia GI pipe | Tk. 15.00 | Per rft. |
|  | 70 | 12 mm dia Elbow | Tk. 7.00 | each |
|  | 71 | 12 mm dia Tee | Tk. 7.00 | each |
|  | 72 | 12 mm dia Nipple | Tk. 5.00 | each |
|  | 73 | 12 mm dia Plug | Tk. 5.00 | each |
|  | 74 | 12 mm dia Socket | Tk. 6.00 | each |
|  | 75 | 20 mm dia GI pipe | Tk. 23.00 | Per rft. |
|  | 76 | 20 mm dia Elbow | Tk. 8.00 | each |
|  | 77 | 20 mm dia Tee | Tk. 12.00 | each |
|  | 78 | 20 mm dia Nipple | Tk. 7.00 | each |
|  | 79 | 20 mm dia Plug | Tk. 6.00 | each |
|  | 80 | 20 mm dia Reducer | Tk. 12.00 | each |
|  | 81 | 20 mm dia Socket | Tk. 8.00 | each |
|  | 82 | 25 mm dia GI pipe | Tk. 30.00 | Per rft. |
|  | 83 | 25 mm dia Elbow | Tk. 15.00 | each |
|  | 84 | 25 mm dia Tee | Tk. 17.00 | each |
|  | 85 | 25 mm dia Nipple | Tk. 12.00 | each |
|  | 86 | 25 mm dia Plug | Tk. 8.00 | each |
|  | 87 | 25 mm dia Reducer | Tk. 12.00 | each |
|  | 88 | 25 mm dia Socket | Tk. 15.00 | each |
|  | 89 | 32 mm dia GI pipe | Tk. 40.00 | Per rft. |
|  | 90 | 32 mm dia Elbow | Tk. 22.00 | each |
|  | 81 | 32 mm dia Tee | Tk. 40.00 | each |
|  | 92 | 32 mm dia Nipple | Tk. 16.00 | each |
|  | 93 | 32 mm dia Plug | Tk. 10.00 | each |
|  | 94 | 32 mm dia Reducer | Tk. 21.00 | each |
|  | 95 | 32 mm dia Socket | Tk. 27.80 | each |
|  | 96 | 40 mm dia GI pipe | Tk. 50.00 | Per rft. |
|  | 97 | 40 mm dia Elbow | Tk. 25.00 | each |
|  | 98 | 40 mm dia Tee | Tk. 30.00 | each |
|  | 99 | 40 mm dia Nipple | Tk. 17.00 | each |
|  | 100 | 40 mm dia Plug | Tk. 10.00 | each |
|  | 101 | 40 mm dia reducer | Tk. 20.00 | each |
|  | 102 | 40 mm dia Socket | Tk. 35.79 | each |
|  | 103 | 50 mm dia GI pipe | Tk. 65.00 | Per rft. |
|  | 104 | 50 mm dia Elbow | Tk. 40.00 | each |
|  | 105 | 50 mm dia Tee | Tk. 55.00 | each |
|  | 106 | 50 mm dia Nipple | Tk. 25.00 | each |
|  | 107 | 50 mm dia Plug | Tk. 22.00 | each |
|  | 108 | 50 mm dia reducer | Tk. 30.00 | each |
|  | 109 | 50 mm dia Socket | Tk. 70.00 | each |
|  | 110 | 62 mm dia GI pipe | Tk. 105.00 | Per rft. |
|  | 111 | 62 mm dia Elbow | Tk. 76.00 | each |
|  | 112 | 62 mm dia Tee | Tk. 105.00 | each |
|  | 113 | 62 mm dia Nipple | Tk. 65.00 | each |
|  | 114 | 62 mm dia Plug | Tk. 60.00 | each |
|  | 115 | 62 mm dia reducer | Tk. 85.00 | each |
|  | 116 | 62 mm dia socket | Tk. 70.00 | each |
|  | 117 | 75 mm dia GI pipe | Tk. 115.00 | Per rft. |
|  | 118 | 75 mm dia Elbow | Tk. 130.00 | each |
|  | 119 | 75 mm dia Tee | Tk. 165.00 | each |
|  | 120 | 75 mm dia Nipple | Tk. 82.00 | each |
|  | 121 | 75 mm dia Plug | Tk. 72.00 | each |
|  | 122 | 75 mm dia reducer | Tk. 115.00 | each |
|  | 123 | 75 mm dia socket | Tk. 70.00 | each |
|  | 124 | 100 mm dia G.I. pipe | Tk. 140.00 | Per rft. |
|  | 125 | 100 mm dia Elbow | Tk. 240.00 | each |
|  | 126 | 100 mm dia Tee | Tk. 290.00 | each |
|  | 127 | 100 mm dia Nipple | Tk. 120.00 | each |
|  | 128 | 100 mm dia Plug | Tk. 90.00 | each |
|  | 129 | 100 mm dia reducer | Tk. 125.00 | each |
|  | 130 | 100 mm dia socket | Tk. 200.00 | each |
|  |  | (d) RCC Pipes |  |  |
|  | 131 | 150 mm dia RCC pipe (stone-chips, 40 mm thickness. 6'-0" long) | Tk. 290.00 | each (6'-0") |
|  | 132 | 225 mm dia RCC pipe: -do- | Tk. 325.00 | each (6'-0") |
|  | 133 | 300 mm dia RCC pipe (stone-chips, 50 mm thickness. 6'-0" long) | Tk. 425.00 | each (6'-0") |
|  | 134 | 375 mm dia RCC pipe (stone-chips, 50 mm thickness. 6'-0" long) | Tk. 490.00 | each (6'-0") |
|  |  | IV. G.I. Union |  |  |
|  | 1 | 12 mm dia Union | Tk. 20.00 | each |
|  | 2 | 20 mm dia Union | Tk. 28.00 | each |
|  | 3 | 25 mm dia Union | Tk. 32.00 | each |
|  | 4 | 32 mm dia Union | Tk. 50.00 | each |
|  | 5 | 40 mm dia Union | Tk. 60.00 | each |
|  | 6 | 50 mm dia Union | Tk. 90.00 | each |
|  | 7 | 62 mm dia Union | Tk. 160.00 | each |
|  | 8 | 75 mm dia Union | Tk. 240.00 | each |
|  | 9 | 100 mm dia Union | Tk. 400.00 | each |
|  |  | V. G.I. Gate-Valve |  |  |
|  | 1 | 12 mm dia Gate-Valve | Tk. 60.00 | each |
|  | 2 | 20 mm dia Gate-Valve | Tk. 70.00 | each |
|  | 3 | 25 mm dia Gate-Valve | Tk. 100.00 | each |
|  | 4 | 32 mm dia Gate-Valve | Tk. 140.00 | each |
|  | 5 | 40 mm dia Gate-Valve | Tk. 155.00 | each |
|  | 6 | 50 mm dia Gate-Valve | Tk. 260.00 | each |
|  | 7 | 62 mm dia Gate-Valve | Tk. 560.00 | each |
|  | 8 | 75 mm dia Gate-Valve | Tk. 650.00 | each |
|  | 9 | 100 mm dia Gate-Valve | Tk. 1,050.00 | each |
|  |  | VI. G.I. Glove-Valve |  |  |
|  | 1 | 12 mm dia Glove-Valve | Tk. 50.00 | each |
|  | 2 | 20 mm dia Glove-Valve | Tk. 100.00 | each |
|  | 3 | 25 mm dia Glove-Valve | Tk. 175.00 | each |
|  | 4 | 32 mm dia Glove-Valve | Tk. 250.00 | each |
|  | 5 | 40 mm dia Glove-Valve | Tk. 300.00 | each |
|  | 6 | 50 mm dia Glove-Valve | Tk. 500.00 | each |
|  | 7 | 62 mm dia Glove-Valve | Tk. 800.00 | each |
|  | 8 | 75 mm dia Glove-Valve | Tk. 1,200.00 | each |
|  | 9 | 100 mm dia Glove-Valve | Tk. 1,500.00 | each |
|  |  | VII. G.I. Check-Valve |  |  |
|  | 1 | 12 mm dia Check-Valve | Tk. 60.00 | each |
|  | 2 | 20 mm dia Check-Valve | Tk. 70.00 | each |
|  | 3 | 25 mm dia Check-Valve | Tk. 75.00 | each |
|  | 4 | 32 mm dia Check-Valve | Tk. 135.00 | each |
|  | 5 | 40 mm dia Check-Valve | Tk. 145.00 | each |
|  | 6 | 50 mm dia Check-Valve | Tk. 250.00 | each |
|  | 7 | 62 mm dia Check-Valve | Tk. 500.00 | each |
|  | 8 | 75 mm dia Check-Valve | Tk. 690.00 | each |
|  | 9 | 100 mm dia Check-Valve | Tk. 850.00 | each |
|  |  | VIII. Float-Valve |  |  |
|  | 1 | 12 mm dia Float-Valve | Tk. 65.00 | each |
|  | 2 | 20 mm dia Float-Valve | Tk. 75.00 | each |
|  | 3 | 25 mm dia Float-Valve | Tk. 80.00 | each |
|  | 4 | 32 mm dia Float-Valve | Tk. 140.00 | each |
|  | 5 | 40 mm dia Float-Valve | Tk. 235.00 | each |
|  |  | IX. Drainage Pipe Fittings: |  |  |
|  | 1 | 100 mm dia HCI P-trap | Tk. 275.00 | each |
|  | 2 | HCI 100 x 100 or 100 x 50 mm or T-Y cleanout | Tk. 300.00 | each |
|  | 3 | HCI 150 x 150 or 150 x 100 mm T-Y or Y cleanout | Tk. 400.00 | each |
|  | 4 | 50 mm HCI trap | Tk. 200.00 | each |
|  | 5 | 50 mm Plastic Y or T-Y cleanout | Tk. 200.00 | each |
|  | 6 | 100 mm Plastic "P" or "S" trap | Tk. 390.00 | each |
|  | 7 | 100 mm "Y" or "T-Y" plastic cleanout | Tk. 500.00 | each |
|  | 8 | 50 mm Plastic P or S trap | Tk. 225.00 | each |
|  |  | X. Faucets |  |  |
|  | 1 | 12 mm CP bib cock | Tk. 150.00 | each |
|  | 2 | 12 mm special quality CP bip cock | Tk. 250.00 | each |
|  | 3 | 12 mm plastic bip cock with internal brass thread | Tk. 100.00 | each |
|  | 4 | 12 mm CP medium quality Pillar cock | Tk. 200.00 | each |
|  | 5 | 12 mm CP special heavy duty Pillar cock | Tk. 175.00 | each |
|  | 6 | 12 mm CP concealed fixed Sink cock | Tk. 300.00 | each |
|  | 7 | 12 mm CP concealed moving sink cock | Tk. 350.00 | each |
|  | 8 | CP basin mixture | Tk. 750.00 | each |
|  | 9 | CP single handle basin mixture | Tk. 800.00 | each |
|  | 10 | CP shower mixture in/c shower head | Tk. 1,500.00 | each |
|  | 11 | CP shower mixture in/c shower head & faucet | Tk. 2,000.00 | each |
|  | 12 | CP bath-tub mixture with shower head | Tk. 2,000.00 | each |
|  | 13 | CP self closing pillar cock | Tk. 450.00 | each |
|  | 14 | 12 mm ordinary type (brass) for surface mount CP stop cock | Tk. 70.00 | each |
|  | 15 | 12 mm medium quality CP stop cock | Tk. 100.00 | each |
|  | 16 | 12 mm special quality CP stop cock | Tk. 150.00 | each |
|  | 17 | Stop cock: concealed | Tk. 100.00 | each |
|  | 18 | Stop cock: concealed (medium) | Tk. 150.00 | each |
|  | 19 | Stop cock: concealed (heavy) | Tk. 200.00 | each |
|  | 21 | Surface mounted angle stop cock | Tk. 100.00 | each |
|  | 23 | 12 mm CP concealed angle stop cock | Tk. 150.00 | each |
|  | 24 | 12 mm medium quality concealed angle stop cock | Tk. 200.00 | each |
|  | 25 | Special stop cock | Tk. 300.00 | each |
|  | 26 | Special concealed type heavy stop cock | Tk. 250.00 | each |
|  | 27 | 12 mm CP medium quality surface & heavy type angle stop cock | Tk. 150.00 | each |
|  | 28 | 12 mm CP surface special heavy type stop cock | Tk. 200.00 | each |
|  | 29 | 100 mm dia CP fixed type cleansing shower rose | Tk. 250.00 | each |
|  | 30 | 100 mm dia CP moving type cleansing shower rose | Tk. 350.00 | each |
|  | 31 | 100 mm dia CP fixed type shower rose | Tk. 200.00 | each |
|  | 32 | 100 mm dia CP moving type Shower rose | Tk. 250.00 | each |
|  |  | XI. Water Tank, Water Purifier |  |  |
|  | 1 | 16 BWG GI 1200 x 1200 x 1200 mm size over-head water-tank | Tk. 5,500.00 | each |
|  | 2 | 18 BWG GI 1200 x 1200 x 1200 mm size over-head water-tank | Tk. 5,000.00 | each |
|  | 3 | 1000 liter food-grade Plastic over-head water-tank | Tk. 6,000.00 | each |
|  | 4 | 1500 liter food-grade Plastic over-head water-tank | Tk. 9,000.00 | each |
|  | 5 | 2000 liter food-grade Plastic over-head water-tank | Tk. 12,000.00 | each |
|  | 6 | 150 liter capacity plastic mini tank (loft tank) | Tk. 1,050.00 | each |
|  | 7 | 300 liter capacity plastic mini tank (loft tank) | Tk. 2,100.00 | each |
|  | 8 | 500 liter capacity plastic mini tank (loft tank) | Tk. 3,000.00 | each |
|  | 9 | 500 liter capacity stainless steel water tank | Tk. 5,000.00 | each |
|  | 10 | 1000 liter food-grade stainless steel water tank | Tk. 9,000.00 | each |
|  | 11 | 2000 liter food-grade stainless steel water-tank | Tk. 18,000.00 | each |
|  | 12 | 4000 liter food-grade stainless steel water tank | Tk. 36,000.00 | each |
|  | 13 | 6000 liter food-grade stainless steel water tank | Tk. 36,000.00 | each |
|  | 14 | 400 Gallon capacity Ferro-cement water tank | Tk. 5,643.00 | each |
|  | 15 | 450 mm long metal cover connection pipe | Tk. 30.00 | each |
|  | 16 | 600 mm long metal cover connection pipe | Tk. 50.00 | each |
|  | 17 | 1/2"or 3/4" dia ball cock for water tank | Tk. 90.00 | each |
|  | 18 | 3/4" dia overflow pipe with jam-nut for plastic water tank | Tk. 100.00 | each |
|  | 19 | 12 mm dia & 450 mm long plastic flexible connection pipe | Tk. 12.00 | each |
|  | 21 | 12 mm dia & 600 mm long plastic flexible connection pipe | Tk. 18.00 | each |
|  | 23 | 11 liter capacity/50 GPD Reverse Osmosis water Purifier: Model TW –1250 | Tk. 18,500.00 | each |
|  | 24 | 10 liter capacity/50 GPD Reverse Osmosis water Purifier: Model TY-B99-528 | Tk. 27,500.00 | each |
|  | 25 | 10 liter capacity/50 GPD Reverse Osmosis water Purifier: Model THC-1500 | Tk. 28,000.00 | each |
|  | 26 | 17 liter capacity/100 GPD Reverse Osmosis water Purifier: Model CW-929 CAR (hot, cold, warm options) | Tk. 57,500.00 | each |
| (u) |  | ARBORICULTURE WORK |  |  |
|  | 1 | Alluvial Loamy silty Soil | Tk. 700.00 | Per % cft. |
|  | 2 | Well decomposed cow dung | Tk. 1,100.00 | Per % cft. |
|  | 3 | Possible Cost/Royalty of lawn grass | Tk. 15.00 | Per % sft. |
|  | 4 | Urea fertilizer | Tk. 10.00 | Per kg. |
|  | 5 | 16'-0" long muli bamboo (For split) | Tk. 50.00 | each |
|  | 6 | 25'-0" long muli bamboo (Full size) | Tk. 65.00 | each |
|  | 7 | Borrak bamboo (for post) | Tk. 4.00 | Per rft. |
|  | 8 | Borrak bamboo (full size) | Tk. 140.00 | each |
| (v) |  | DEEP TUBE-WELL |  |  |
|  |  | I. For Test boring & design |  |  |
|  | 1 | Mobilization of equipment for drilling 38 mm dia test and observation well | Tk. 2,500.00 | L.S. |
|  | 2 | Boring by using 100 mm dia cutter (0 m to 50 m) | Tk. 49.00 | meter |
|  | 3 | Best quality heavy type hand type pump No. 6 | Tk. 715.00 | each |
|  | 4 | 2.91 mm wall thick 38 mm dia G.I. pipe | Tk. 236.00 | meter |
|  | 5 | 38 mm dia water grade PVC pipe (D-Class or eqv.) in/c carriage | Tk. 46.00 | meter |
|  | 6 | 36 mm dia water grade PVC Strainer (D-Class or eqv.) in/c carriage | Tk. 46.00 | Meter |
|  | 7 | 38 mm dia socket adopter | Tk. 21.86 | each |
|  | 8 | Best quality 38 mm dia PVC Cap. | Tk. 54.00 | each |
|  | 9 | Complete development of the tube-well (test boring) up to 200 m depth. |  |  |
|  | 10 | Design of production well | Tk. 843.88 | L.S. |
|  | 11 | Disinfections of tube-well using bleaching powder | Tk. 168.77 | L.S. |
|  | 12 | Maintaining and filling and sealing test bore | Tk. 2,000.00 | Each bore |
|  |  | II. For Production well |  |  |
|  | 1 | Mobilization of drilling rig for shrouded production wells of depth up to 100 m | Tk. 15,000.00 | L.S. |
|  | 2 | 325 mm dia boring: up to 50 m depth. | Tk. 313.00 | meter |
|  | 3 | 350 mm dia boring: up to 50 m depth. | Tk. 370.00 | meter |
|  | 4 | 400 mm dia boring: up to 50 m depth. | Tk. 400.00 | meter |
|  | 5 | 600 mm dia boring: up to 50 m depth. | Tk. 432.00 | meter |
|  | 6 | 50 mm dia C-Grade | Tk. 56.00 | meter |
|  | 7 | 75 mm dia C-Grade | Tk. 120.00 | meter |
|  | 8 | 100 mm dia C-Grade | Tk. 200.00 | meter |
|  | 9 | 150 mm dia C-Grade | Tk. 420.00 | meter |
|  | 10 | 50 mm dia PVC cap | Tk. 50.00 | each |
|  | 11 | 100 mm dia PVC cap | Tk. 110.00 | each |
|  | 12 | 150 mm dia PVC cap | Tk. 230.00 | each |
|  | 13 | 125 mm x 50 mm PVC reducer | Tk. 285.00 | each |
|  | 14 | 150 mm x 75 mm PVC reducer | Tk. 510.00 | each |
|  | 15 | 200 mm x 100 mm PVC reducer | Tk. 800.00 | each |
|  | 16 | 200 mm x 150 mm PVC reducer | Tk. 525.00 | each |
|  | 17 | 125 mm dia PVC housing pipe | Tk. 290.00 | meter |
|  | 18 | 150 mm dia PVC housing pipe | Tk. 420.00 | meter |
|  | 19 | 200 mm dia PVC housing pipe | Tk. 650.00 | meter |
|  | 20 | PVC Tape | Tk. 75.00 | each |
|  | 21 | PVC Solution / gum | Tk. 200.00 | No. |
|  | 22 | Fuel | Tk. 28.00 | liter |
|  | 23 | Bamboo split centralizer | Tk. 17.00 | meter |
|  | 24 | Complete development of the tube-well up to 200 m depth (50 x 150 mm tube-well). | Tk. 10,000.00 | LS. |
|  | 25 | Complete development of the tube-well up to 200 m depth. (75 x 150 mm tube-well) | Tk. 12,000.00 | L.S. |
|  | 26 | Complete development of the tube-well up to 200 m depth. (100 x 200 mm tube-well) | Tk. 14,000.00 | L.S. |
|  | 27 | Complete development of the tube-well up to 200 m depth. (150 x 200 mm tube-well) | Tk. 18,000.00 | L.S. |
|  | 28 | Complete development of the tube-well up to 200 m depth. (300 x 200 mm tube-well) | Tk. 14,346.00 | L.S. |
|  | 29 | Hire charge of pump in/c spare and maintenance | Tk. 96.00 | Hour |
|  | 30 | Disinfections of tube-well using bleaching powder (for 50 mm x 125 mm tube-well) | Tk. 350.00 | L.S. |
|  | 31 | 150 mm dia and 4 mm thick M.S. pipe | Tk. 1,000.00 | meter |
|  | 32 | 200 mm dia and 6 mm thick M.S. pipe | Tk. 1,300.00 | meter |
|  | 33 | 4 mm thick 200 mm dia plate | Tk. 300.00 | each |
|  | 34 | 5 mm thick 250 mm dia plate | Tk. 360.00 | each |
|  | 35 | 6 mm thick 150 mm dia M.S. Cap | Tk. 320.00 | each |
|  | 36 | 6 mm thick 200 mm dia M.S. Cap | Tk. 400.00 | each |
|  | 37 | 150 mm dia 4.85 mm thick G.I. pipe | Tk. 951.00 | meter |
|  | 38 | 200 mm dia 6 mm thick G.I. pipe | Tk. 1,805.00 | meter |
|  | 39 | 150 mm dia stainless steel strainer of continuous slot | Tk. 6,068.00 | meter |
|  | 40 | 150 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 6,395.00 | meter |
|  | 41 | 200 mm dia stainless steel strainer of continuous slot | Tk. 7,872.00 | meter |
|  | 42 | 200 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 6,635.00 | meter |
|  | 43 | 75 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 2,200.00 | meter |
|  | 44 | 100 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 3,200.00 | meter |
|  | 45 | 50 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 3,000.00 | meter |
|  | 46 | 75 mm dia 2.5 mm thick stainless steel bridge type strainer | Tk. 3,608.00 | meter |
|  | 47 | 150 mm x 300 mm dia 6 mm thick M.S. reducer | Tk. 2,800.00 | each |
|  | 48 | 200 x 300 mm dia M.S. reducer | Tk. 2,900.00 | each |
|  | 49 | 50 x 150 mm dia M.S. reducer | Tk. 2,500.00 | each |
|  | 50 | 75 x 150 mm dia M.S. reducer | Tk. 2,600.00 | each |
|  | 51 | 100 x 200 mm dia M.S. reducer | Tk. 2,700.00 | each |
|  | 52 | 300 mm dia 6 mm thick M.S. Housing pipe | Tk. 1,720.00 | meter |
|  | 53 | 150 mm dia 6 mm thick M.S. Housing pipe | Tk. 1,000.00 | meter |
|  | 54 | 350 mm dia 6 mm thick M.S. Cap | Tk. 400.00 | each |
|  | 55 | 40 mm dia "D" grade pipe | Tk. 14.00 | rft. |
|  | 56 | 50 mm dia C-Class water- grade pipe | Tk. 17.00 | rft. |
|  | 57 | 3 m long 40 mm dia PVC strainer | Tk. 160.00 | each |
|  | 58 | EPI / RFL (medium) brand No. 6 Pump with necessary fittings etc. | Tk. 675.00 | each |
|  | 59 | 50 mm x 40 mm socket (reducer) | Tk. 45.00 | each |
|  | 60 | 40 mm dia pipe nipple | Tk. 25.00 | each |
|  | 61 | 4'-0" long cylinder | Tk. 200.00 | each |
|  | 62 | Tie foot ball | Tk. 30.00 | Pair |
|  | 63 | Tie plunger | Tk. 25.00 | each |
|  | 64 | 3/8" dia socket | Tk. 8.00 | each |
|  | 65 | 3/8" dia nut | Tk. 3.00 | each |
|  | 66 | Solution big size | Tk. 30.00 | each |
|  | 67 | Tape | Tk. 10.00 | each |
|  | 68 | 60 Grade M.S. rod | Tk. 24,120.00 | Per ton |
|  |  | III. Testing of water in/c arsenic, collected from the test bore |  |  |
|  | 1 | pH/Hydrogen Ion density | Tk. 125.00 | Per test |
|  | 2 | Color (filtered) | Tk. 125.00 | Per test |
|  | 3 | Carbon dioxide (CO2) | Tk. 125.00 | Per test |
|  | 4 | Chlorine (Cl) | Tk. 325.00 | Per test |
|  | 5 | Fluorine (Fl) | Tk. 225.00 | Per test |
|  | 6 | Iron (Fe) | Tk. 325.00 | Per test |
|  | 7 | Manganese (Mn) | Tk. 325.00 | Per test |
|  | 8 | Nitrate-Nitrogen (NO3-N) | Tk. 325.00 | Per test |
|  | 9 | Total Alkalinity | Tk. 125.00 | Per test |
|  | 10 | Total hardness | Tk. 225.00 | Per test |
|  | 11 | Total dissolved solids (TDS) | Tk. 225.00 | Per test |
|  | 12 | Arsenic (As) | Tk. 1,025.00 | Per test |
|  | 13 | Turbidity | Tk. 125.00 | Per test |
|  | 14 | Sieve analysis for sand from different layer | Tk. 715.00 | Per test |
| (w) |  | SUB-SOIL INVESTIGATION WORK |  |  |
|  |  | I. Operational cost |  |  |
|  | 1 | Truck fare within 25 km in/c loading & un-loading | Tk. 800.00 | Per trip |
|  | 2 | Temporary camp at site for soil investigation work | Tk. 800.00 | Per site |
|  | 3 | Field Engineer in/c site allowances | Tk. 700.00 | Per day |
|  | 4 | Foreman in/c site allowances | Tk. 250.00 | Per day |
|  | 5 | Rig operators in/c site allowances | Tk. 200.00 | Per day |
|  | 6 | Helper to rig operator/c site allowances | Tk. 120.00 | Per day |
|  | 7 | Unskilled labour in/c site allowances | Tk. 100.00 | Per day |
|  | 8 | Asstt laboratory technician | Tk. 200.00 | Per day |
|  | 9 | Laboratory technician | Tk. 300.00 | Per day |
|  | 10 | Laboratory Engineer | Tk. 400.00 | Per day |
|  | 11 | Conveyance within 25 km | Tk. 30.00 | Per day |
|  | 12 | Wooden plank (mango) | Tk. 360.00 | Per cft. |
|  | 13 | Rope | Tk. 25.00 | Per kg. |
|  | 14 | Small boat | Tk. 250.00 | Per day |
|  | 15 | Drum (defects free) | Tk. 700.00 | each |
|  | 16 | Hire charge of boring rig | Tk. 2,000.00 | Per day |
|  |  | II. Laboratory Charge: BUET:- |  |  |
|  | 1 | Sp. gr. test | Tk. 1,200.00 | Per test |
|  | 2 | Hydrometer, sieve analysis & sp. gr. | Tk. 2,600.00 | Per test |
|  | 3 | Linear shrinkage | Tk. 1,000.00 | Per test |
|  | 4 | Shrinkage limit | Tk. 1,000.00 | Per test |
|  | 5 | Liquid limit | Tk. 800.00 | Per test |
|  | 6 | Plastic limit | Tk. 600.00 | Per test |
|  | 7 | Standard proctor | Tk. 2,500.00 | Per test |
|  | 8 | Modified proctor | Tk. 2,700.00 | Per test |
|  | 9 | Unit weight (wet & dry) | Tk. 600.00 | Per test |
|  | 10 | Void ratio | Tk. 1,000.00 | Per test |
|  | 11 | Moisture content | Tk. 100.00 | Per test |
|  | 12 | Organic matter content | Tk. 2,000.00 | Per test |
|  | 13 | Loss on ignition | Tk. 1,500.00 | Per test |
|  | 14 | Sand equivalent test | Tk. 2,200.00 | Per test |
|  | 15 | Permeability (cohesive) | Tk. 3,200.00 | Per test |
|  | 16 | Permeability (non-cohesive sample) | Tk. 1,500.00 | Per test |
|  | 17 | Consolidation | Tk. 4,000.00 | Per test |
|  | 18 | Consolidated drain test (direct shear test) | Tk. 4,500.00 | Per test |
|  | 19 | Consolidated drained tri-axial test | Tk. 5,500.00 | Per test |
|  | 20 | Consolidated quick test (direct shear test) | Tk. 2,200.00 | Per test |
|  | 21 | Consolidated un-drained tri-axial test with pore pressure | Tk. 6,000.00 | Per test |
|  | 22 | Consolidated un-drained tri-axial test without pore pressure | Tk. 3,500.00 | Per test |
|  | 23 | Unconfined compression | Tk. 1,500.00 | Per test |
|  | 24 | Unconsolidated quick test (direct shear test) | Tk. 2,000.00 | Per test |
|  | 25 | Unconsolidated un-drained tri-axial test (without pore pressure) | Tk. 2,000.00 | Per test |
|  | 26 | Field density in/c field visit (for non-cohesive soil) | Tk. 4,000.00 | Per test |
| (x) |  | FITTINGS |  |  |
|  |  | I. Fittings for Wooden Door-windows/Hard wares/Glass/CI sheet |  |  |
|  | 1 | 12" long iron tower bolt | Tk. 23.00 | each |
|  | 2 | 8"' socket bolt | Tk. 15.00 | each |
|  | 3 | Hatch bolt | Tk. 50.00 | each |
|  | 4 | 4" long hinges | Tk. 8.00 | each |
|  | 5 | Nickel plated handle | Tk. 10.00 | each |
|  | 6 | Iron screws | Tk. 6.00 | Per doz. |
|  | 7 | Hinged cleats. | Tk. 5.00 | each |
|  | 8 | Hinged cleats and buffer block | Tk. 30.00 | set |
|  | 9 | Best quality round lock | Tk. 500.00 | each |
|  | 10 | 2.5" dia iron rings | Tk. 5.00 | each |
|  | 11 | 10" long & 1/2 dia tower bolt | Tk. 17.00 | each |
|  | 12 | 6" Socket bolt | Tk. 10.00 | each |
|  | 13 | 3" long Iron hinges | Tk. 6.00 | each |
|  | 14 | 9" long catch hook | Tk. 9.00 | each |
|  | 15 | 6" long brass tower & socket bolt | Tk. 25.00 | each |
|  | 16 | 3" long brass hinges | Tk. 20.00 | each |
|  | 17 | 6" long catch hooks | Tk. 3.50 | each |
|  | 18 | Heavy type nickel plated handle | Tk. 16.00 | each |
|  | 19 | Brass screw | Tk. 8.00 | Per doz. |
|  | 20 | 5 mm thick clear glass | Tk. 37.00 | Per sft. |
|  | 21 | 3 mm thick clear glass | Tk. 20.00 | Per sft. |
|  | 22 | 1.5 mm thick corrugated fiber glass | Tk. 36.00 | Per sft. |
|  | 23 | 1.5 mm thick fiber glass sheet ridging | Tk. 56.00 | Per rft. |
|  |  | II. Hardware for steel door-window |  |  |
|  | 1 | Stopper handle | Tk. 5.00 | each |
|  | 2 | 12" long iron cleats | Tk. 10.00 | each |
|  | 3 | 2" long pin hinges | Tk. 8.00 | each |
|  | 4 | 4" long iron hinges | Tk. 7.50 | each |
|  | 5 | Plate handle | Tk. 10.00 | each |
|  | 6 | Hand lock | Tk. 10.00 | each |
|  | 7 | 6" long clamp | Tk. 10.00 | each |
| (y) |  | MISCELLENEOUS ITEMS |  |  |
|  | 1 | Nails and wires | Tk. 40.00 | Per kg. |
|  | 2 | G.I. wire | Tk. 50.00 | Per kg. |
|  | 3 | Chalk powder | Tk. 20.00 | Per kg. |
|  | 4 | Polythene sheet | Tk. 117.00 | Per % sft. |
|  | 5 | Nut-bolts, J-hooks etc. | Tk. 60.00 | Per kg. |
|  | 6 | Empty gunny bags | Tk. 20.00 | each |
|  | 7 | Salballah for driving | Tk. 30.00 | Per rft. |
|  | 8 | Copper sheet for expansion joint | Tk. 70.00 | Per sft. |
|  | 9 | Aluminum sheet for expansion joint | Tk. 40.00 | Per sft. |
|  | 10 | Counter-sunk rivets for shoe-plate | Tk. 20.00 | each |
|  | 11 | 100 mm dia HCI rain pipe | Tk. 600.00 | Per pc. of 6 rft. |
|  | 12 | 100 mm dia HCI rain pipe | Tk. 515.00 | Per pc. of 6 rft. |
|  | 13 | 20 mesh 24 BWG wire mesh | Tk. 10.00 | Per sft. |
|  | 14 | 9" dia RCC pipe | Tk. 89.94 | Per rft. |
|  | 15 | 12" dia RCC pipe | Tk. 120.12 | Per rft. |
|  | 16 | 12 BWG barbed wire | Tk. 1,450.00 | Per cwt. |
|  | 17 | Rivet, washer, wire nails etc. | Tk. 40.00 | Per kg |
|  | 18 | 1.5" dia M.S. wheel for collapsible gate | Tk. 10.00 | each |
|  | 19 | 3" - 6" M.S. clamp | Tk. 10.00 | each |
|  | 20 | Electrodes in/c electricity | Tk. 4.00 | each |
|  | 21 | Grease/lubricant etc. | Tk. 40.00 | Per Ib. |
|  | 22 | 1.5 inch dia heavy type gate wheel | Tk. 80.00 | each |
|  | 23 | Clamp with huskel dumney | Tk. 70.00 | each |
|  | 24 | Heavy duty gate locking arrangement | Tk. 125.00 | each |
|  | 25 | 5" M.S. hinges | Tk. 15.00 | each |
|  | 26 | 5/8" socket bolt | Tk. 100.00 | each |
|  | 27 | China made spring for rolling shutter | Tk. 10.00 | Per rft. |
|  | 28 | Spring box for rolling shutter | Tk. 60.00 | each |
|  | 29 | 1/2 dia nut-bolt | Tk. 5.00 | each |
|  | 30 | Coal-tar | Tk. 12.00 | Per kg. |
|  | 31 | 6" long brass tower & socket bolt | Tk. 25.00 | each |
|  | 32 | 3" long brass hinges | Tk. 20.00 | each |
|  | 33 | 6" long catch hooks | Tk. 3.50 | each |
|  | 34 | Heavy type nickel plated handle | Tk. 16.00 | each |
|  | 35 | Screws | Tk. 8.00 | Per doz. |
|  | 36 | 24 BWG wire-net | Tk. 10.00 | Per sft. |
|  | 37 | Gum | Tk. 35.00 | Per kg |
|  | 38 | Blue | Tk. 85.00 | Per kg |
|  | 39 | Pigment for color washing | Tk. 90.00 | Per kg. |
|  | 40 | 12" long hasp bolt | Tk. 150.00 | each |
|  | 41 | Hydraulic door closer | Tk. 3,000.00 | each |
|  | 42 | Magnetic door-shock absorber | Tk. 110.00 | each |
|  | 43 | Used and empty Bitumen drum | Tk. 110.00 | each |
|  | 44 | Fire-wood | Tk. 120.00 | Per mound |

LABORATORY CHARGE FOR TESTING OF MATERIALS IN BUET LABORATORY

|  | Sl. | Name of test | Sample Size | Charge per test |
| --- | --- | --- | --- | --- |
|  |  |  |  | (BUET) |
|  |  | AGGREGATES |  |  |
|  | 1 | Absorption / sp. gr. | 1 | Tk. 1,200.00 |
|  | 2 | Aggregate crushing value (ACV) | 1 | Tk. 1,600.00 |
|  | 3 | Aggregate impact value (AIV) | 1 | Tk. 1,600.00 |
|  | 4 | Angularity Number in/c sp. gr. | 1 | Tk. 2,000.00 |
|  | 5 | Bulking of Sand | 1 | Tk. 2,400.00 |
|  | 6 | CBR of base and sub-base material | 1 | Tk. 10,000.00 |
|  | 7 | Clay lump and friable particles | 1 | Tk. 1,000.00 |
|  | 8 | Coal and lignite | 1 | Tk. 1,600.00 |
|  | 9 | Elongation Index (EI) | 1 | Tk. 1,100.00 |
|  | 10 | Flakiness Index (FI) | 1 | Tk. 1,100.00 |
|  | 11 | L.A. Abrasion | 1 | Tk. 1,200.00 |
|  | 12 | Mica content | 1 | Tk. 2,200.00 |
|  | 13 | Organic Impurities | 1 | Tk. 1,100.00 |
|  | 14 | Effect of organic impurities | 1 | Tk. 5,000.00 |
|  | 15 | Proctor test of aggregate (MDD) | 1 | Tk. 2,700.00 |
|  | 16 | Salt content | 1 | Tk. 1,100.00 |
|  | 17 | Sp. gr. | 1 | Tk. 1,200.00 |
|  | 18 | Sulphate content | 1 | Tk. 1,100.00 |
|  | 19 | Sieve analysis (coarse aggregates) | 1 | Tk. 700.00 |
|  | 20 | Sieve analysis (fine aggregates) | 1 | Tk. 600.00 |
|  | 21 | Wash sieve analysis | 1 | Tk. 800.00 |
|  | 22 | Soundness with Na2SO4 | 1 | Tk. 7,000.00 |
|  | 23 | Soundness with Mg2SO4 | 1 | Tk. 8,000.00 |
|  | 24 | Ten percent fines (10% fines) | 1 | Tk. 2,700.00 |
|  | 25 | Unit weight (for boulders) | 1 | Tk. 600.00 |
|  | 26 | Unit weight of crushed aggregate | 1 | Tk. 600.00 |
|  | 27 | Void ratio | 1 | Tk. 1,500.00 |
|  |  | BRICKS |  |  |
|  | 1 | Absorption | 5 | Tk. 700.00 |
|  | 2 | Crushing strength | 5 | Tk. 1,200.00 |
|  | 3 | Efflorescence | 10 | Tk. 900.00 |
|  | 4 | Size and shape | 5 | Tk. 800.00 |
|  | 5 | Unit weight | 5 | Tk. 1,200.00 |
|  |  | BITUMEN |  |  |
|  | 1 | Bitumen content | 1 | Tk. 600.00 |
|  | 2 | Design of A.C. mixes | 1 | Tk. 12,000.00 |
|  | 3 | Ductility | 1 | Tk. 1,000.00 |
|  | 4 | Flash and fire-points | 1 | Tk. 1,000.00 |
|  | 5 | Float test | 1 | Tk. 1,000.00 |
|  | 6 | Loss on heating | 1 | Tk. 1,000.00 |
|  | 7 | Softening point (R&B) | 1 | Tk. 1,000.00 |
|  | 8 | Solubility | 1 | Tk. 1,000.00 |
|  | 9 | Specific gravity | 1 | Tk. 1,000.00 |
|  | 10 | Standard penetration | 1 | Tk. 1,000.00 |
|  | 11 | Viscosity | 1 | Tk. 2,000.00 |
|  | 12 | Water content | 1 | Tk. 3,000.00 |
|  | 13 | Distillation | 1 | Tk. 4,000.00 |
|  | 14 | Any test on residue | 1 | Tk. 1,200.00 |
|  |  | CEMENT |  |  |
|  | 1 | Compressive strength for each day | 1 | Tk. 1,300.00 |
|  | 2 | Fineness | 1 | Tk. 900.00 |
|  | 3 | Setting time | 1 | Tk. 1,300.00 |
|  |  | CEMENT CONCRETE |  |  |
|  | 1 | Concrete cylinders | 3 | Tk. 700.00 |
|  | 2 | Concrete cylinders (casting & testing) | 3 | Tk. 1,200.00 |
|  | 3 | Split cylinder | 3 | Tk. 600.00 |
|  | 4 | Concrete beam in flexure | 3 | Tk. 2,000.00 |
|  | 5 | Design of concrete mixes | 1 | Tk. 8,000.00 |
|  | 6 | Cubes (below 225 x 225 mm) | 3 | Tk. 500.00 |
|  | 7 | Cubes (225 x 225 mm - 300 x 300 mm) | 3 | Tk. 600.00 |
|  | 8 | Cubes (> 300 x 300 mm) | 3 | Tk. 800.00 |
|  | 9 | Core cutting & testing in/c field visit | 1 | Tk. 5,500.00 |
|  | 10 | Impact hammer in/c field visit | 1 | Tk. 3,400.00 |
|  |  | GAUGES (Calibration) |  |  |
|  | 1 | Pressure gauge | 1 | Tk. 2,700.00 |
|  | 2 | Pressure gauge with jack | 1 | Tk. 5,000.00 |
|  | 3 | Deflection dial | 1 | Tk. 900.00 |
|  | 4 | Proving ring | 1 | Tk. 1,800.00 |
|  | 5 | Compression machine | 1 | Tk. 4,000.00 |
|  | 6 | Dynamometer | 1 | Tk. 4,000.00 |
|  | 7 | Balance up to 20 kg | 1 | Tk. 2,500.00 |
|  |  | RCC PIPES (Max. length of pipe is 2'- 6") |  |  |
|  | 1 | Pipes (dia up to 300 mm) | 1 | Tk. 1,500.00 |
|  | 2 | Pipes (dia above 300 & up to 600 mm) | 1 | Tk. 2,000.00 |
|  | 3 | Pipes (dia above 600 & up to 900 mm) | 1 | Tk. 3,000.00 |
|  | 4 | Pipes (dia above 900 mm) | 1 | Tk. 5,300.00 |
|  |  | STEEL |  |  |
|  | 1 | Tension (deformed bar up to 25 mm) | 3 | Tk. 1,100.00 |
|  | 2 | Tension (plain bar up to 25 mm) | 3 | Tk. 900.00 |
|  | 3 | Tension (deformed bar > 25 mm) | 3 | Tk. 1,300.00 |
|  | 4 | Tension (plain bar > 25 mm) | 3 | Tk. 1,100.00 |
|  | 5 | Bend test (up to 25 mm) | 3 | Tk. 400.00 |
|  | 6 | Re-bend test (up to 25 mm) | 3 | Tk. 400.00 |
|  | 7 | Bend test (above 25 mm) | 3 | Tk. 500.00 |
|  | 8 | Re-bend test (above 25 mm) | 3 | Tk. 500.00 |
|  | 9 | Shear test | 3 | Tk. 900.00 |
|  | 10 | Hardness (rock-well) | 3 | Tk. 500.00 |
|  | 11 | Impact | 3 | Tk. 500.00 |
|  | 12 | Stress-strain curves (modulus of elasticity) | 3 | Tk. 2,000.00 |
|  | 13 | Deformation measurement | 3 | Tk. 800.00 |
|  | 14 | Spring test | 1 | Tk. 1,600.00 |
|  | 15 | Tension (eye-hooks, anchor bolt) | 1 | Tk. 1,000.00 |
|  | 16 | Weight | 3 | Tk. 300.00 |
|  | 17 | Angle | 3 | Tk. 1,700.00 |
|  |  | SOIL |  |  |
|  | 1 | CBR of soils (three points) | 1 | Tk. 6,400.00 |
|  | 2 | Field density (in/c field visit) | 1 | Tk. 4,000.00 |
|  | 3 | Sp. gr. | 1 | Tk. 1,200.00 |
|  | 4 | Hydrometer, sieve analysis & sp. gr | 1 | Tk. 2,600.00 |
|  | 5 | Linear shrinkage | 1 | Tk. 1,000.00 |
|  | 6 | Shrinkage limit | 1 | Tk. 1,000.00 |
|  | 7 | Liquid limit | 1 | Tk. 800.00 |
|  | 8 | Plastic limit | 1 | Tk. 600.00 |
|  | 9 | Standard proctor | 1 | Tk. 2,500.00 |
|  | 10 | Modified proctor | 1 | Tk. 2,700.00 |
|  | 11 | Unit weight (wet & dry) | 1 | Tk. 600.00 |
|  | 12 | Void ratio | 1 | Tk. 1,000.00 |
|  | 13 | Moisture content | 1 | Tk. 100.00 |
|  | 14 | Organic matter content | 1 | Tk. 2,000.00 |
|  | 15 | Loss on ignition | 1 | Tk. 1,500.00 |
|  | 16 | Sand equivalent test | 1 | Tk. 2,200.00 |
|  | 17 | Permeability (cohesive) | 1 | Tk. 3,200.00 |
|  | 18 | Permeability (non-cohesive sample) | 1 | Tk. 1,500.00 |
|  | 19 | Consolidation | 1 | Tk. 4,000.00 |
|  | 20 | Consolidated drain test (direct shear test) | 3 | Tk. 4,500.00 |
|  | 21 | Consolidated drained tri-axial test | 3 | Tk. 5,500.00 |
|  | 22 | Consolidated quick test (direct shear test) | 3 | Tk. 2,200.00 |
|  | 23 | Consolidated un-drained tri-axial test with pore pressure | 3 | Tk. 6,000.00 |
|  | 24 | Consolidated un-drained tri-axial test without pore pressure | 3 | Tk. 3,500.00 |
|  | 25 | Unconfined compression | 1 | Tk. 1,500.00 |
|  | 26 | Unconsolidated quick test (direct shear test) | 3 | Tk. 2,000.00 |
|  | 27 | Unconsolidated un-drained tri-axial test (without pore pressure) | 3 | Tk. 2,000.00 |
|  |  | GEOTEXTILES |  |  |
|  | 1 | Apparent/ effective opening size (AOS/EOS) or pore size | 3 | Tk. 2,700.00 |
|  | 2 | Burst test index | 3 | Tk. 1,600.00 |
|  | 3 | Index puncture resistance or CBR puncture | 3 | Tk. 1,600.00 |
|  | 4 | Cone penetration test | 3 | Tk. 1,600.00 |
|  | 5 | Grab tensile test | 3 | Tk. 2,200.00 |
|  | 6 | Hor. water permeability under 2 kN/m2 pressure | 3 | Tk. 3,200.00 |
|  | 7 | Seam strength | 3 | Tk. 2,200.00 |
|  | 8 | Thickness | 3 | Tk. 600.00 |
|  | 9 | Trapezoidal tearing strength | 3 | Tk. 2,200.00 |
|  | 10 | Unit weight/mass | 3 | Tk. 1,100.00 |
|  | 11 | Ver. permeability under 2 kN2/m and 200 kN2/m | 3 | Tk. 5,000.00 |
|  | 12 | Ver. permeability under 2 kN2/m Pressure | 3 | Tk. 3,500.00 |
|  | 13 | Water permeability by permitivity | 3 | Tk. 2,200.00 |
|  | 14 | Horizontal water permeability test. | 3 | Tk. 3,200.00 |
|  | 15 | Strip/wide-width tensile test (tensile elongation) | 3 | Tk. 2,700.00 |
|  |  | MISCELLLANEOUS |  |  |
|  | Rubber/Plastic/PVC materials |  |  |
|  | 1 | Tension | 5 | Tk. 1,600.00 |
|  | 2 | Hardness | 1 | Tk. 1,000.00 |
|  | 3 | Flexure | 5 | Tk. 2,200.00 |
|  | 4 | Compression set | 1 | Tk. 2,700.00 |
|  | 5 | Compression stiffness | 1 | Tk. 300.00 |
|  | Others |  |  |
|  | 1 | Boiling of pipes before test | 1 | Tk. 200.00 |
|  | 2 | Bolt | 3 | Tk. 1,700.00 |
|  | 3 | Compression of fibre glass | 1 | Tk. 1,000.00 |
|  | 4 | Compression of timber | 1 | Tk. 2,000.00 |
|  | 5 | Design of deep tube-well (plus 8 sand sample) | 1 | Tk. 7,800.00 |
|  | 6 | Flexure test of timber | 1 | Tk. 200.00 |
|  | 7 | Load test on man-hole cover | 1 | Tk. 1,500.00 |
|  | 8 | Tension test of fiber glass strainer/pipes | 1 | Tk. 2,000.00 |
|  |  | WATER |  |  |
|  |  | Drinking Water | 1 | Tk. 3,200.00 |
|  | 1 | pH/Hydrogen Ion density | 1 | Tk. 125.00 |
|  | 2 | Color (filtered) | 1 | Tk. 125.00 |
|  | 3 | Carbon dioxide (CO2) | 1 | Tk. 125.00 |
|  | 4 | Chlorine (Cl) | 1 | Tk. 325.00 |
|  | 5 | Fluorine (Fl) | 1 | Tk. 225.00 |
|  | 6 | Iron (Fe) | 1 | Tk. 325.00 |
|  | 7 | Manganese (Mn) | 1 | Tk. 325.00 |
|  | 8 | Nitrate-Nitrogen (NO3-N) | 1 | Tk. 325.00 |
|  | 9 | Total alkalinity | 1 | Tk. 125.00 |
|  | 10 | Total hardness | 1 | Tk. 225.00 |
|  | 11 | Total dissolved solids (TDS) | 1 | Tk. 225.00 |
|  | 12 | Arsenic (As) | 1 | Tk. 1,025.00 |
|  | 13 | Turbidity | 1 | Tk. 125.00 |
|  | 14. | Sieve analysis for sand from different layer | 1 | Tk. 700.00 |
|  | 15. | Maintaining , filling and sealing test bore | 1 | Tk. 2,000.00 |
|  |  | Agriculture Use | 1 |  |
|  | 1 | Boron (b) | 1 | Tk. 800.00 |
|  | 2 | Electrical conductivity | 1 | Tk. 300.00 |
|  | 3 | Magnesium density (Mg) | 1 | Tk. 300.00 |
|  | 4 | Sodium (Na) density (SAR) | 1 | Tk. 1,200.00 |
|  |  | Pollution Study |  |  |
|  | 1 | Bio-chemical Oxygen demand (BOD)-drinking water | 1 | Tk. 500.00 |
|  | 2 | Bio-chemical Oxygen demand (BOD)-waste water | 1 | Tk. 800.00 |
|  | 3 | Chemical Oxygen demand (COD)-Dichromate | 1 | Tk. 1,000.00 |
|  | 4 | Chemical Oxygen demand (COD)-KMnO4 | 1 | Tk. 300.00 |
|  | 5 | Dissolved Oxygen (DO) | 1 | Tk. 200.00 |
|  | 6 | Sulphate (SO4) | 1 | Tk. 300.00 |
|  |  | Miscellaneous Parameters |  |  |
|  | 1 | Acidity | 1 | Tk. 100.00 |
|  | 2 | Carbonate (CO3) | 1 | Tk. 200.00 |
|  | 3 | Ammonia-Nitrogen (NH3-N) | 1 | Tk. 300.00 |
|  | 4 | Ammonia-Nitrogen (NH2-N) | 1 | Tk. 300.00 |
|  | 5 | Aluminium (Al) | 1 | Tk. 3,000.00 |
|  | 6 | Arsenic (As) | 1 | Tk. 1,000.00 |
|  | 7 | Bromine content (Br) | 1 | Tk. 200.00 |
|  | 8 | Total Chlorine content, Cl2 | 1 | Tk. 300.00 |
|  | 9 | Free Chlorine content, Cl2 | 1 | Tk. 300.00 |
|  | 10 | Break-point Chlorination | 1 | Tk. 3,500.00 |
|  | 11 | Hydrogen Sulphide (H2S) | 1 | Tk. 300.00 |
|  | 12 | Iodine content (I) | 1 | Tk. 200.00 |
|  | 13 | Mercury (Mg) | 1 | Tk. 3,000.00 |
|  | 14 | Phosphate content (PO4) | 1 | Tk. 300.00 |
|  | 15 | Sulphite (SO3) | 1 | Tk. 300.00 |
|  | 16 | E.Coli/Faecal coliform (FC) | 1 | Tk. 500.00 |
|  | 17 | Total coliform (TC) | 1 | Tk. 500.00 |
|  | 18 | Total solids (TS) | 1 | Tk. 200.00 |
|  | 19 | Total suspended solids (TSS) | 1 | Tk. 500.00 |
|  | 20 | Pb & Cd release of Tableware | 1 | Tk. 525.00 |
|  | 21 | Extraction charge for oil | 1 | Tk. 1,000.00 |
|  | 22 | Extraction charge for oil | 1 | Tk. 500.00 |
|  |  | Sampling Visit | 1 |  |
|  | 1 | Sampling for bacteriological analysis | 1 | Tk. 2,000.00 |
|  | 2 | Sampling for physical and chemical analysis | 1 | Tk. 200.00 |
|  | 1 | pH | 1 | Tk. 200.00 |
|  | 2 | Boron (B) | 1 | Tk. 1,200.00 |
|  | 3 | Electrical conductivity (EC) | 1 | Tk. 500.00 |
|  | 4 | Organic matter (Dry Combustion Method) | 1 | Tk. 500.00 |
|  | 5 | Organic matter(Wet Combustion Method) | 1 | Tk. 2,000.00 |
|  | 6 | Ammonia-Nitrogen (NH3-N) | 1 | Tk. 500.00 |
|  | 7 | Phosphate content (PO4) | 1 | Tk. 500.00 |
|  | 8 | Exchangeable Sodium (Na) | 1 | Tk. 2,000.00 |
|  | 9 | Aluminium (Al) | 1 | Tk. 3,000.00 |
|  | 10 | Arsenic (As) | 1 | Tk. 1,500.00 |
|  | 11 | Mercury (Hg) | 1 | Tk. 3,000.00 |
|  | 12 | Sulphite (SO3) | 1 | Tk. 1,000.00 |
|  | 13 | Ca, Cd, Cl, K, Mg, Na, Pb | 1 | Tk. 800.00 |
|  | 14 | Other Metals | 1 | Tk. 800.00 |
|  | 1 | Concreting: pH, Turbidity, Total Dissolved Solids, Chloride, Alkalinity, Organic Matter, Inorganic Matter, SO4 | 1 | Tk. 1,800.00 |
|  | 2 | Swimming Pool: pH, Alkalinity, Color, Turbidity, Total Suspended Solids, Chloride, TC, FC, Fe, NO3, PO4 | 1 | Tk. 3,500.00 |
|  | 3 | Textile (Only Dyeing) pH, Alkalinity, Turbidity, Hardness, Chemical Oxygen Demand (KMnO), Total Chlorine, NO3, NO2, Fe, Mn, Cu, TS. | 1 | Tk. 3,500.00 |
|  | 4 | Textile (Boiler) pH, Alkalinity, Turbidity, Hardness, Chemical Oxygen Demand (KMnO), Total Chlorine, Ca, Fe, Mn, SiO2, SO4 | 1 | Tk. 3,500.00 |
|  | 5 | Tanning: pH, Alkalinity, Color, Turbidity, Hardness, Fe, Mn | 1 | Tk. 1,200.00 |
|  | 6 | Cooling: pH, Hardness, Turbidity, Total Dissolved Solids, Fe, Mn, COD, (KMnO4), PO4 | 1 | Tk. 1,900.00 |
|  | 7 | Paper and Pulp (Ground wood): pH, Alkalinity, Color, Turbidity, Hardness, Total Dissolved Solids, Fe, Mn, SiO2, CO2 | 1 | Tk. 2,200.00 |
|  | 8 | Boiler Feed Water: pH, Alkalinity, Color, P-Alkalinity, M-Alkalinity, Turbidity, Hardness, Total Dissolved Solids, Total Suspended Solids. | 1 | Tk. 3,000.00 |

#### CARRIAGE OF MATERIALS

| Sl. No. | Description | Unit | Rate(Dhaka) |
| --- | --- | --- | --- |
| 1. | Carriage of materials except bricks and bats by motor trucks bullock carts or any other means, in/c. loading, unloading at both ends and stacking properly at site as per direction of the Engineer in -charge. |  |
| (a) | Up to 1.5 kilometer | Per tonne | Tk. 108.00 |
| (b) | Up to 3.0 kilometer | Per tonne | Tk. 150.00 |
| (c) | Up to 5.0 kilometer | Per tonne | Tk. 192.00 |
| (d) | For each additional km beyond 5.0 kilometer and up to 30.0 kilometer | Per tonne | Tk. 10.00 |
| (e) | For each additional km beyond 30.0 kilometer and up to 80.0 kilometer | Per tonne | Tk. 7.00 |
| (f) | Beyond 80.0 kilometer | Per tonne | Tk. 5.00 |
| 2. | Carriage of materials except bricks and bats by river transport only in/c. loading, unloading at both ends and stacking properly at site as per direction of the engineer - in - charge. The rates should be based on analysis duly proposed by the Executive Engineer and approved by the Superintending Engineer. |  |
|  |  | Per tonne | Tk……. |
| 3. | Weighing at both ends for items of steel materials only | Per tonne | Tk. 60.00 |
| 4. | Carriage of bricks or bats by motor truck, bullock carts or any other means in/c. loading, unloading at both ends and stacking properly at site as per direction of the Engineer in - charge. |  |
| (a) | Up to 1.5 kilometer | Per % 0 Nos. | Tk. 180.00 |
| (b) | Up to 3.0 kilometer | Per % 0 Nos. | Tk. 240.00 |
| (c) | Up to 5.0 kilometer | Per % 0 Nos. | Tk. 285.00 |
| (d) | For each additional km beyond 5.0 kilometer and up to 30.0 kilometer | Per % 0 Nos. | Tk. 15.00 |
| (e) | For each additional km beyond 30.0 kilometer and up to 80.0 kilometer | Per % 0 Nos. | Tk. 10.00 |
| (f) | Beyond 80.0 kilometer | Per % 0 Nos. | Tk. 3.00 |

DISTANCE CITY TO CITY IN BANGLADESH (Kilometer)

|  | Dhaka | Barisal | Bogra | Chittagong | Comilla | Dinajpur | Faridpur | Jessore | Khulna | Kushtia | Mymenshing | Noakhali | Pabna | Rajshahi | Rongpur | Rangamati | Sylhet |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dhaka | ‘ | 277 | 229 | 264 | 97 | 414 | 145 | 274 | 335 | 277 | 193 | 192 | 161 | 270 | 335 | 340 | 346 |
| Barisal | 277 | ‘ | 438 | 541 | 373 | 673 | 132 | 261 | 322 | 264 | 470 | 468 | 280 | 401 | 594 | 616 | 623 |
| Bogra | 229 | 438 | ‘ | 492 | 325 | 185 | 356 | 320 | 381 | 224 | 422 | 420 | 158 | 264 | 106 | 568 | 575 |
| Chittagong | 264 | 541 | 492 | ‘ | 167 | 678 | 409 | 538 | 599 | 541 | 457 | 151 | 425 | 534 | 599 | 76 | 425 |
| Comilla | 89 | 373 | 325 | 167 | ‘ | 510 | 241 | 370 | 431 | 373 | 290 | 95 | 257 | 367 | 431 | 243 | 257 |
| Dinajpur | 414 | 673 | 185 | 678 | 510 | ‘ | 541 | 549 | 566 | 409 | 607 | 605 | 343 | 449 | 79 | 753 | 760 |
| Faridpur | 145 | 132 | 356 | 409 | 241 | 541 | ‘ | 129 | 190 | 132 | 338 | 336 | 198 | 269 | 462 | 484 | 491 |
| Jessore | 274 | 261 | 320 | 538 | 376 | 549 | 129 | ‘ | 61 | 79 | 467 | 465 | 163 | 233 | 426 | 626 | 632 |
| Khulna | 335 | 322 | 381 | 599 | 431 | 566 | 190 | 61 | ‘ | 158 | 528 | 526 | 224 | 295 | 488 | 687 | 694 |
| Kushtia | 277 | 264 | 224 | 541 | 373 | 409 | 132 | 97 | 158 | ‘ | 470 | 578 | 66 | 137 | 330 | 616 | 623 |
| Mymenshing | 193 | 470 | 422 | 457 | 290 | 607 | 338 | 467 | 528 | 470 | ‘ | 385 | 354 | 464 | 528 | 533 | 539 |
| Noakhali | 192 | 468 | 420 | 151 | 95 | 605 | 336 | 465 | 526 | 468 | 385 | ‘ | 352 | 462 | 526 | 235 | 352 |
| Pabna | 161 | 280 | 158 | 425 | 257 | 343 | 298 | 163 | 224 | 66 | 354 | 352 | ‘ | 109 | 264 | 500 | 507 |
| Rajshahi | 270 | 401 | 264 | 534 | 357 | 449 | 269 | 233 | 295 | 137 | 464 | 462 | 109 | ‘ | 370 | 610 | 616 |
| Rongpur | 335 | 594 | 106 | 599 | 431 | 79 | 462 | 426 | 488 | 330 | 528 | 526 | 264 | 370 | ‘ | 675 | 681 |
| Rangamati | 340 | 616 | 568 | 76 | 243 | 753 | 484 | 616 | 687 | 616 | 533 | 235 | 500 | 610 | 675 | ‘ | 500 |
| Sylhet | 346 | 623 | 575 | 425 | 257 | 760 | 491 | 632 | 694 | 623 | 539 | 352 | 507 | 616 | 681 | 500 | ‘ |

# A. BUILDING WORK

1. EARTH WORKS, MASS CONCRETE, DPC & PLINTH FILLING

| Item | Description of items | Unit | Unit Rate |
| --- | --- | --- | --- |
| 1. | Earth work in excavation in all kinds of soil for foundation trenches in/c. layout, providing center lines, bench-mark pillars, leveling, ramming and preparing the base, fixing bamboo spikes & giving layout with chalk powder, providing necessary tools and plants, protecting and maintaining the trench dry etc., stacking the excavated earth at a safe distance of up to 60 m lead, removing the spoils etc. all complete as per direction of engineer-in-charge (rate is excluding the cost of bench mark pillars). |  |
| (a) | Excavation up to 1.50 m depth and 60 m lead in/c checking levels and stacking the earth. | cum | Tk. 62.00 |
| (b) | Extra rate for each additional 1 m depth beyond 1.5 m and up to 60 m lead in/c checking levels and stacking the earth. |  |
|  |  | cum | Tk. 13.00 |
| (c) | Extra rate for each 30 m additional lead beyond 60 m in/c checking levels and stacking the earth. | cum | Tk. 5.00 |
| (d) | Extra rate for earth-work in excavation in foundation trenches, all around protected by palisading and de-watering/bailing-out water up to 1.5 m depth and 60 m lead (condition and quantity of the soil must be supported by sub-soil investigation report and approved by concerned S.E. before commencing the excavation work). |  |
|  |  | cum | Tk. 241.00 |
| (e) | Extra rate for earth work in excavation in foundation trenches, all around protected by palisading and de-watering/bailing-out water for depth exceeding 1.5 m (condition and quantity of the soil must be supported by sub-soil investigation report and approved by concerned S.E. before commencing the excavation work). |  |
|  |  | cum | Tk. 419.00 |
| 2 (a) | One layer of brick flat soling in foundation or in floor with 1st class or picked jhama bricks in/c preparation of bed and filling the interstices with local sand, leveling in/c the supply of water, electricity and other charges and costs of tools and plants etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 150.00 |
| 2 (b) | One layer of Herring bone bond brick soling | sqm. | Tk. 240.00 |
| 2 (c) | Brick on end edging | rm. | Tk.38.00 |
| 3 (a) | Mass concrete (1:3:6) in foundation or floor with cement, sand (F.M.1.2) and picked jhama chips including breaking chips, screening, mixing, laying, compacting to levels and curing for at least 7 days in/c the supply of water, electricity and other charges and costs of tools and plants etc. all complete as per direction of engineer-in-charge |  |
| (i) | Mass concrete in foundation (1:3:6) with brick chips & local sand of F.M. 1.2 | cum. | Tk. 3, 138.00 |
| (ii) | Mass concrete in floor (1:3:6) with brick chips & local sand of F.M. 1.2 | cum. | Tk. 2, 984.00 |
| 3 (b) | Mass concrete (1:2:4) in foundation or floor with cement, sand (F.M.1.2) and picked jhama chips including breaking chips, screening, mixing, laying, compacting to levels and curing for at least 7 days in/c the supply of water, electricity and other charges and costs of tools and plants etc. all complete as per direction of engineer-in-charge. |  |
| (i) | Mass concrete in foundation (1:2:4) with brick chips & local sand of F.M. 1.2 | cum. | Tk. 3, 766.00 |
| (ii) | Mass concrete in floor (1:2:4) with brick chips & local sand of F.M. 1.2 | cum | Tk. 3, 612.00 |
| 4. | 75 mm thick damp proof course (1:1.5:3) in cement concrete with cement, sand (F.M. 1.2) and picked jhama or stone chips in/c. breaking chips, screening, centering, shuttering, casting, curing and finished with a coat of bitumen in/c the supply of water, electricity and other charges and costs of tools and plants etc. all complete as per direction of the engineer-in-charge. |  |
| (a) | 75 mm or 3" thick D.P.C (1:1.5:3) with brick chips and 50% Sylhet sand (F.M. 2.5) & 50% local sand (F.M. 1.2) |  |
|  |  | sqm. | Tk. 470.00 |
| (b) | 75 mm or 3" thick D.P.C (1:1.5:3) with Sylhet sand (F.M. 2.5) and stone chips. | sqm. | Tk. 561.00 |
| 5 (a) | Sand filling in foundation trenches and plinth with fine local sand having minimum F.M. 0.80 in 150 mm layers including leveling, watering and consolidating each layer up to finished level etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 382.00 |
| 5 (b) | Sand filling in foundation trenches and plinth with coarse sand having min. F.M. 1.20 in 150 mm layers including leveling, watering and consolidating each layer up to finished level (to be used when required as per design supplied by the design office only) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum | Tk. 581.00 |
| 5 (c) | Sand filling in foundation trenches and plinth with coarse sand having min. F.M 2.50 in 150 mm layers including leveling , watering and consolidating each layer up to finished level (to be used when required as per design supplied by the design office only) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum | Tk. 766.00 |
| 5 (d) | 3/4" down graded picked jhama chips Khoa consolidation in foundation, mixing the same with best quality local sand (F.M. 1.2) in Khoa : sand (2:1) proportion in/c breaking & screening chips, laying & spreading in 6" layers uniformly, compacting the same up to the desired mark as suggested by design engineer, spreading water etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 1, 658.00 |
| 6. | Earth filling in foundation trenches and plinth in 150 mm layer with earth available within 90 m of the building site, watering, leveling and consolidating each layer up to finished level etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 64.00 |
| 2. SITE IMPROVEMENT |
| 7. | Site improvement / earth filling in foundation trenches and plinth in 150 mm layers with carted earth carried by truck or any other means loading & unloading at both ends to be supplied at the contractor’s own cost in/c. leveling, watering and consolidating including local carriage each layer up to finished level. in/c cost of water & test (carried from beyond 300 m) etc. all complete as per direction of the engineer-in-charge. |  |
| (a) | For Dhaka Metropolitan area | cum. | Tk. 218.00 |
| (b) | For Narayangonj District | cum. | Tk. 210.00 |
| (c) | For Chittagong Metropolitan Area | cum. | Tk. 196.00 |
| (d) | For all districts except Dhaka & Chittagong Metropolitan Area & Narayangonj district. | cum. | Tk. 189.00 |
| 3. BRICK WORK & FANCY SCREEN WORK |
| 8. | Brick work with 1st class bricks in cement mortar (1:6) in foundation and plinth, filling the joints/interstices fully with mortar racking out the joints, cleaning and soaking the bricks at least for 24 hours before use and curing at least for 7 days etc. all complete (F.M. of sand 1.2) including cost of water, electricity & other charges as per direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 2, 358.00 |
| 9. | Brick walls of width one brick or one and a half brick length with 1st class bricks in cement sand (F.M. 1.2) mortar (1 : 6) in super structure in/c raking out joints, filling the interstices with mortar, cleaning and soaking the bricks at least for 24 hours before use and washing of sand, necessary scaffolding, curing at least for 7 days etc. all complete including cost of water, electricity & other charges (measurement to given as 250 mm width for one brick length and 375 mm for one brick and a half brick length) as per direction of engineer-in-charge. |  |
| (a) | Ground floor | cum. | Tk. 2, 494.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 10. | Brick work with 1st class bricks in cement sand (F.M. 1.2) mortar (1 : 4) in exterior walls in/c filling the interstices with mortar, raking out joints, cleaning and socking the bricks at least for 24 hours before use and washing of sand, necessary scaffolding, curing at least for 7 days etc. all complete including cost of water, electricity & other charges (measurement to given as 250 mm width for one brick length and 375 mm for one brick and a half brick length). as per direction of the engineer-in-charge. |  |
| (a) | Ground floor | cum. | Tk. 2, 699.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 11. | Exposed brick work (for exterior wall without outside plaster) with special quality sorted out 1st class bricks, very carefully laid in cement sand (F.M.1.2) mortar (1 : 4)) in superstructure with uniform width and depth joints, true to vertical and horizontal lines in/c raking out joints scaffolding, soaking the bricks at least for 24 hours before use, washing & screening of sand. Curing at least for 7 days and high class flush pointing with cement sand (F.M.1.2) mortar (1 : 1) including cost of water, electricity & other charges etc all complete as per direction of the engineer-in-charge. (payment will not be made unless the brick is found to be water proof) |  |
| (a) | Ground floor | cum. | Tk. 3, 103.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 12 (a) | Brick work with 10 holes machine made bricks of approved size (9.5" x 4.5" x 2.75") having uniform color carefully laid in cement sand (F.M.1.2) mortar (1: 4) in superstructure with uniform width and depth joints, true to vertical and horizontal lines in/c raking out joints, filling the interstices with mortar, cleaning and soaking bricks at least for 24 hours before use and washing & screening of sand, necessary scaffolding, curing at least for 7 days and pointing with cement sand (F.M.1.2) mortar (1: 2) including cost of water, electricity & other charges etc. complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | cum. | Tk. 4, 614.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 12 (b) | Brick work with 9.5" x 4.5" x 2.75" size machine made solid klinker facing bricks (1:4) - do - - do - |  |
| (i) | Ground floor | cum. | Tk. 4, 278.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 12 (c) | Brick work with 9.5" x 4.5" x 2.75" size 10 hole machine made Rock-face/textured klinker facing bricks (1:4) - do - |  |
| (i) | Ground floor | cum. | Tk. 4, 873.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 12 (d) | Brick work with 9.5" x 4.5" x 2.75" size 3 hole machine made reinforced klinker facing bricks (1:4) - do - - do - |  |  |
| (i) | Ground floor | cum. | Tk. 4, 744.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 13. | Extra brick-work rate over the rate of ground floor (or any floor as the case may be) for each additional meter free height of brick wall beyond 4 m from the respective floor in auditorium, go-down, overhead water tank etc. as description of the item No. in 9, 10, 11 & 12. including cost of water, electricity & other charges etc. all complete as per direction of the engineer-in-charge. (extra rate shall be admissible only when both sides of wall is uninterruptedly free beyond 4.00 meter) |  |
|  |  | cum. | Tk. 54.00 |
| 14 (a) | Providing brick work for 200 x 100 mm facing in superstructure with 200 x 100 x 50 mm machine made klinker hard pressed facing bricks of approved quality in cement sand (F.M.1.2) mortar (1:4), in/c. racking out joints, cutting the bricks to required size wherever necessary in/c high class recessed pointing, cleaning and soaking the bricks at least for 24 hours before use and washing & screening of sand, necessary scaffolding, curing at least for 7 days for all floors up to 4th floor including cost of water, electricity & other charges etc. all complete as per direction of engineer-in-charge. (100 x 200 mm face should be placed for facing). |  |
| (i) | Ground floor | sqm. | Tk. 674.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 14 (b) | Providing brick work in facing for 200 x 50 mm in superstructure with 200 x 50 x 50 mm machine made hard pressed klinker facing bricks of approved quality pressed with 20 mm thick cement sand (F.M.1.2) mortar (1:4), 10 mm thick cement mortar in adjacent sites in/c racking out joints and cutting the bricks to required sizes wherever necessary with high class recessed pointing, cleaning and soaking the bricks for at least 24 hours before use and washing of sand necessary scaffolding, curing at least for 7 days for all floors up to 4th floor including cost of water, electricity & other charges etc. all complete as per direction of engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 803.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 14 (c) | Providing brick work for 200 x 62 mm facing in superstructure with 200 x 62 x 25 mm machine made hard pressed klinker facing strips of approved quality with 20 mm thick cement sand (F.M.1.2) mortar (1:3) in adjacent side wall, column, drop wall etc. and racking out joints, cutting the bricks to required sizes wherever necessary with high class recessed pointing, cleaning and soaking the bricks at least for 24 hours before use washing & screening of sand and necessary scaffoldings, curing at least 7 days including cost of water, electricity & other charges etc. all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 1, 402.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 15 (a) | 125 mm brick work with 1st class bricks in cement sand (F.M.1.2) mortar (1:6) and making bond with connected walls in/c necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand curing at least for 7 days in all floors including cost of water, electricity & other charges etc. all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 357.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 15 (b) | 125 mm thick brick work with 1st class bricks in cement mortar (1:4) - do - |  |  |
| (i) | Ground floor | sqm. | Tk. 379.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 15 (c) | Providing 125 mm thick (Partition wall) in superstructure brick work (1:4) in cement sand (F.M.1.2) mortar with 10 hole machine made ceramic bricks of approved size having uniform color, carefully laid in cement mortar and depth joints true to vertical and horizontal lines in/c. racking out joints, filling the interstices with same mortar, making bond with connected walls, cleaning, soaking brick at least 24 hours and washing of sand, curing 7 days in all floors, including cost of water, electricity & other charges as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 637.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 16. | Fancy screen work with different size hollow machine made design blocks with uniform color, carefully laid in colored cement sand (F.M.1.2) mortar (1:3) in all floors in wall with uniform mortar joints, true to vertical and horizontal line in/c racking out joints, cleaning and soaking the blocks for minimum 24 hours before use in/c washing & screening of sand, scaffolding, curing etc. complete in all respect in/c supply of all necessary materials in/c cost of water, electricity & other charges as per direction of the engineer-in-charge. |  |
| (a) | With design block No. 3 (MCW) size: 4" x 4" x 4" |  |  |
| (i) | Ground floor | sqm. | Tk. 1, 412.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| (b) | With design block No. 2 (MCW) size: 6.5" x 4.75" x 4" |  |  |
| (i) | Ground floor | sqm. | Tk. 992.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| (c) | With design block No. 20 (MCW) size: 6" x 6" x 4" |  |  |
| (i) | Ground floor | sqm. | Tk. 1, 062.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 17. | Klinker paving bricks work in floor/ pavement with machine made pressed bricks of approved quality in cement sand (F.M.1.2) mortar (1:4) on minimum 12 mm thick cement sand (F.M.1.2) mortar (1:4) in/c raking out joints, cutting the bricks to required size soaking the same 24 hours before use wherever necessary in/c high class flush pointing in cement mortar (1:2), cleaning, curing at least for 7 days etc. in/c washing and screening of sand, cost of water, electricity & other charges complete and standard practice as per direction of the engineer-in-charge. |  |
| (a) | 100 mm thick brick on edge pavement with 200 x 100 x 50 mm size klinker facing bricks | sqm. | Tk. 1, 099.00 |
| (b) | 50 mm thick flat brick pavement with 200 x 100 x 50 mm klinker paving bricks in 1: 4 cement sand mortar having 200 x 100 mm face at top. |  |
|  |  | sqm. | Tk. 654.00 |
| (c) | 50 mm thick brick pavement with 200 x 50 x 50 mm klinker facing bricks | sqm. | Tk. 765.00 |
| 18 (a) | 115 mm thick brick pavement/flooring with 1st class brick on edge in cement sand (F.M. 1.2) mortar (1:4) on minimum 12 mm thick cement sand (F.M. 1.2) mortar (1:4) in/c cutting the bricks as per requirement, cleaning and racking out joints, finishing with flush pointing with cement sand (F.M. 1.2) mortar (1:2) and curing for at least 7 days etc. in/c cost of water, washing and screening of sand (F.M. 1.2), electricity & other charges complete and standard practice as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk.. 423.00 |
| 18 (b) | -do- with 10 hole machine made ceramic bricks. | sqm | Tk. 670.00 |
| 4. FLOORING AND FLOOR FINISH |
| 19. | 75 mm thick cement concrete (1:3:6) with cement in flooring best quality coarse sand & 19 mm down graded picked chips in/c breaking chips, screening, mixing, laying, compacting, washing and screening of sand of F.M 1.2 and curing at least for 7 days etc. in/c cost of water, electricity & other charges all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 258.00 |
| 20 (a) | 25 mm thick artificial patent stone (1:2:4) flooring with cement, best quality coarse sand (50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5 and 50% best local sand of FM 1.2) & 12 mm down well graded brick chips in/c breaking chips, screening, laying the concrete in alternate panels, compacting and finishing the top with neat cement and curing at least 7 days in all floors in/c cost of water, electricity & other charges all floors as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 153.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 20 (b) | - do - 38 mm thick with 12 mm down graded brick chips |  |  |
| (i) | Ground floor | sqm. | Tk. 198.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 20 (c) | - do - 25 mm thick with 12 mm down well graded crushed stone chips |  |  |
| (i) | Ground floor | sqm. | Tk. 185.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 20 (d) | - do - 38 mm thick with 12 mm down well graded crushed stone chips |  |  |
| (i) | Ground floor | sqm. | Tk. 245.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 20 (e) | 25 mm thick artificial patent stone (1:1.5:3) flooring with cement, best quality coarse sand (50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5 and 50% best local sand of FM 1.2) & 12 mm down well graded stone chips in/c breaking chips, screening, laying the concrete in alternate panels, compacting and finishing the top with neat cement and curing at least 7 days in all floors in/c cost of water, electricity & other charges all floors as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 195.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 20 (f) | 38 mm thick artificial patent stone with stone chips (1:1.5:3) - do - - do - |  |  |
| (i) | Ground floor | sqm. | Tk. 261.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.58 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 12.77 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 15.96 |
| 5. MOSAIC WORK |
| 21. | 10 mm thick finished and 12 mm laying thickness situ mosaic work on floor with one part of 10 mm machine crushed well graded dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (9:1) in/c. preparation of mix. and laying the same over minimum 25 mm thick artificial patent stone flooring in/c making suitable panel, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No.120)/cutting with mosaic machine and finishing with Minar stone & spreading oxalic acid in/c breaking brick chips, screening, washing mosaic chips and supply of all necessary materials& water, electricity & other charges in all respect with cement as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 10 mm thick (finished) mosaic in floor with Indian chips & glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 747.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 10 mm thick (finished) mosaic in floor with Indian chips & glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 807.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 10 mm thick (finished) mosaic in floor with Pakistani chips & glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 760.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 10 mm thick (finished) mosaic in floor with Pakistani chips & glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 802.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 10 mm thick mosaic in floor with Indian chips & without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 695.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 10 mm thick (finished) mosaic in floor with Indian chips & without glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 737.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | -do- 10 mm thick mosaic in floor with Pakistani chips & without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 690.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | -do- 10 mm thick mosaic in floor with Pakistani chips & without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 732.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 22. | 12 mm thick finished and laying thickness 14.5 mm cast in situ mosaic work in floor with one part of 10 mm machine crushed well graded dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (9:1) in/c preparation of mix and laying the same over minimum 25 mm thick artificial patent stone flooring in/c making suitable panel, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120)/ mosaic cutting machine and finishing with Minar stone in/c breaking brick chips screening, spreading oxalic acid, washing mosaic chips and supply of all necessary materials & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 12 mm thick (finished) mosaic in floor with Indian chips & glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 821.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 12 mm thick (finished) mosaic in floor with Indian chips & glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 863.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 12 mm thick (finished) mosaic in floor with Pakistani chips & glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 815.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 12 mm thick (finished) mosaic in floor with Pakistani chips & glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 857.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm | Tk 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 12 mm thick mosaic in floor with Indian chips & without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 751.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 12 mm thick (finished) mosaic in floor with Indian chips & without glass strip in/c 25 mm thick patent stone (1:1.5:3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 793.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | -do- 12 mm thick (finished) mosaic in floor with Pakistani chips & without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 745.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | -do- 12 mm thick (finished) mosaic in floor with Pakistani chips & without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 787.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 23. | 10 mm thick finished laying thickness 12.5 mm silver grey situ mosaic work on floor with one part of 10 mm machine crushed well graded, dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (1:1) in/c preparation of mix and laying the same over minimum 25 mm thick artificial patent stone flooring in/c making suitable panel, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120) and finishing with Minar stone in/c breaking brick chips, screening, washing mosaic chips and supply of all necessary materials in/c & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 698.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Indian chips and with glass strip in/c 25mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 741.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and with glass strip in/c 25mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 693.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and with glass strip in/c 25mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 735.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 628.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 10 mm thick (finished) silver grey situ mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 671.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | '-do- 10 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 623.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | '-do- 10 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 665.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 24. | 12 mm thick finished laying thickness 14.5 mm silver grey cast in situ mosaic work in floor with one part of 10 mm machine crushed well graded dust free and properly washed marble chips and one part of mixture containing white cement dust free and properly washed marble chips and one part of mixture containing white cement and grey with cement in proportion (1:1) in/c. preparation of mix and laying the same over minimum 25 mm thick artificial patent stone flooring in/c making suitable panels, compacting, curing at least for 7 days, cutting with pumic stone (No. 40. No. 80, No. 120) and finishing with Minar stone in /c breaking brick chips, screening, washing mosaic chips and supply of all necessary materials & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 737.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 779.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 731.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 773.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 667.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 709.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 661.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | -do- 12 mm thick (finished) silver grey situ mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS: (White cement : Grey cement = 1:1) |  |
| (i) | Ground floor | sqm. | Tk. 704.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 25. | 10 mm thick finished and laying thickness 12.5 mm situ mosaic work on wall with one part of 10 mm machine crushed well graded dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (9:1) including preparation of mix and laying the same on 12 mm thick cement plaster (1:4) to wall, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120) including finishing the corners and edges and also finishing with Minar stone and supplying all necessary materials in & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) | -do- 10 mm thick (finished) mosaic on wall with Indian chips: (W. cement : Grey cement = 9: 1) |  |
| (i) | Ground floor | sqm. | Tk. 744.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) | -do- 10 mm thick (finished) mosaic on wall with Pakistani chips: (White cement : Grey cement = 9 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 739.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 26. | 10 mm thick finished laying thickness silver grey situ mosaic work on wall with one part of 10 mm machine crushed well graded, dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (1:1) including preparation of mix. and laying the same on 12 mm thick cement plaster (1:4) to wall, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No 120) including finishing the corners and edges and also finishing with Minar stone and supplying all necessary materials in & water, electricity & other charges in all respect as per direction of the engineer-in-charge |  |
| (a) | -do- 10 mm thick (finished) mosaic on wall with Indian chips: (W. cement : Grey cement = 1 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 678.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) | -do- 10 mm thick (finished) mosaic on wall with Pakistani chips: (White cement : Grey cement = 1 : 1) |  |
| (i) | Ground floor | sqm. | Tk. 672.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 27. | 10 mm thick finished laid in 12.5 mm thickness colored situ mosaic work with one part of 10 mm machine crushed well graded, dust free and properly washed marble chips and one part of mixture containing white and grey cement in proportion (1:9) and necessary quantity of approved coloring materials including preparation of mix and laying the same over min 25 mm thick artificial patent stone flooring in/c making suitable panel, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120) and finishing with Minar stone in/c breaking brick chips, screening, washing mosaic chips and supply of all necessary materials in all respects & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 10 mm thick (finished) colored mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 795.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 10 mm thick (finished) colored mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 838.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 10 mm thick (finished) colored mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 790.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 10 mm thick (finished) colored mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 833.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 10 mm thick (finished) colored mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 726.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 10 mm thick (finished) colored mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 768.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | -do- 10 mm thick (finished) colored mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 720.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | -do- 10 mm thick (finished) colored mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1: 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 763.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 28. | 12 mm thick finished and laying thickness 14 mm colored situ mosaic with one part of 10 mm machine crushed well graded, dust free and properly washed marble chips and one part of mixture containing white cement & grey cement in proportion (9:1) and necessary quantity of approved colorings materials in/c preparation of mix and laying the same over minimum 25 mm thick artificial patent stone flooring in/c making suitable panel, compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120) and finishing with Minar stone including breaking brick chips, screening, washing mosaic chips and supply of all necessary materials in all respects & water, electricity & other charges in all respect as per direction of the engineer-in-charge. |  |
| (a) - I | -do- 12 mm thick (finished) colored mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 852.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (a) - II | -do- 12 mm thick (finished) colored mosaic in floor with Indian chips and with glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 894.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - I | -do- 12 mm thick (finished) colored mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 846.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) - II | -do- 12 mm thick (finished) colored mosaic in floor with Pakistani chips and with glass strip in/c 25 mm thick patent stone (1: 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 888.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - I | -do- 12 mm thick (finished) colored mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 782.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) - II | -do- 12 mm thick (finished) colored mosaic in floor with Indian chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5: 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 824.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - I | -do- 12 mm thick (finished) colored mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1:2:4) with BRICK-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 776.00 |
| (ii) | Add for eah additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) - II | -do- 12 mm thick (finished) colored mosaic in floor with Pakistani chips and without glass strip in/c 25 mm thick patent stone (1 : 1.5 : 3) with STONE-CHIPS. |  |
| (i) | Ground floor | sqm. | Tk. 818.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 29. | 10 mm thick finished and laying thickness 12.5 mm colored situ mosaic on walls with one part of 10 mm machine crushed well graded, dust free and properly washed marble chips and one part of mixture containing white cement and grey cement in proportion (9:1) and necessary quantity of approved coloring materials including preparation of mix and laying the same on 12 mm thick cement sand (F.M.1.2) plaster (1:4) to walks including compacting, curing at least for 7 days, cutting with pumic stone (No. 40, No. 80, No. 120) including finishing the corners and edges and also finishing with Minar stone and supply of all necessary materials etc. & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (a) | -do- 10 mm thick (finished) colored mosaic on wall with Indian chips |  |
| (i) | Ground floor | sqm. | Tk 775.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) | 10 mm thick (finished) colored mosaic on wall with Pakistani chips |  |  |
| (i) | Ground floor | sqm. | Tk. 770.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 30. | 200 x 200 x 20 mm mosaic terrazzo tiles flooring having 10 mm thick finished mosaic top with one part of 10 mm machine crushed well graded dust free and properly washed marble chips and one part of mixture containing white cement and grey cement and supply of all necessary materials etc. & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. in proportion (9:1) including preparation of mix machine pressed on 12 mm thick cement sand (F.M.1.2) mortar base (1:2) including preparing the base, setting the tiles on 40 mm thick cement sand (F.M.1.2) mortar/slurry (lime & surki) base in proportion of (1:3) compacting, cutting with pumic stone (No. 40, No. 80, No. 120) and finishing the corners and edges and also finishing with minar stone in/c screening, washing mosaic chips and supply of all necessary materials etc. & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (a) | -do- 200 x 200 x 20 mm(finished) mosaic terrazzo tiles flooring with Indian chips |  |  |
| (i) | Ground floor | sqm. | Tk 796.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) | -do- 200 x 200 x 20 mm (finished) mosaic terrazzo tiles flooring with Pakistani chips. |  |
| (i) | Ground floor | sqm. | Tk. 791.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) | Machine made pre-polished double layer terrazzo tiles 10" x 10" silver mixed. |  |
| (i) | Ground floor | sqm. | Tk 793.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (d) | Machine made pre-polished double layer terrazzo tiles: 10" x 10" white special |  |
| (i) | Ground floor | sqm. | Tk. 926.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 6. GLAZED TILES AND MARBLE STONE WORK |
| 31. | Marble stone flooring with 20 mm /18 mm thick De carrara/Ariston/Venous marble stone (Italy) of approved quality, texture & size over 25 mm thick cement sand (F.M.1.2) mortar (1:2) in/c. placing cement slurry below the stone, cutting the marble stone to desired size, grinding and finishing the edges, setting in position in proper level filling the gaps with white cement and coloring pigments including supplying all necessary equipments/materials and finishing the top by pumic stone and necessary auxiliary materials & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (a) | 20 mm thick Marble stone flooring |  |  |
| (i) | Ground floor | sqm. | Tk. 6, 438.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (b) | 18 mm thick Marble stone flooring |  |  |
| (i) | Ground floor | sqm. | Tk. 5, 927.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| (c) | Machine made pre-polished reconstituted homogeneous natural marble slab 325 x 325 mm |  |
| (i) | Ground floor | sqm. | Tk. 1, 536.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 32. | Marble stone flooring with 16 mm thick De carrara/Ariston/Venous marble stone (Italy) of approved quality/texture & size over 25 mm thick cement sand (F.M.1.2) mortar (1:2) in/c. placing cement slurry below the stone, cutting the marble stone to desired size, grinding and finishing the edges, setting on position in proper level filling the gaps with white cement and coloring pigments including supplying all necessary equipments/ materials and finishing the top by pumic stone and necessary auxiliary materials & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 5, 416.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 33. | Supplying and setting 12 mm thick De carrara/Ariston/ Venous marble stone (Italy) of approved quality/texture & size on wall over 12 mm thick cement sand (F.M.1.2) mortar (1:2) in/c. cutting the marble stone to desired size, grinding and finishing the edges, setting on position keeping correct horizontal and vertical alignment filling the joints with white cement and coloring pigments including supplying all necessary equipments/ materials and finishing the top by pumic stone and necessary auxiliary materials & water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 4, 825.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 34. | Marble stone flooring with 20 mm thick grey/colored marble stone (India/Pakistan) of approved quality, texture & size over 25 mm thick cement sand (F.M.1.2) mortar (1:2) in/c placing cement slurry below the stone, cutting the marble stone to desired size, grinding, polishing and finishing the edges setting in position in proper level, filling the gaps with white cement and coloring pigments including supplying all necessary equipments/materials and finishing the top by pumic stone and necessary auxiliary materials & water, electricity & other charges all complete in all respect as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 4, 650.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 35. | Supplying and setting 20 mm thick grey/colored marble stone (India/Pakistan) of approved quality, textured & size on walls over 12 mm thick cement sand (F.M.1.2) mortar (1:2) including cutting and grinding the marble stone slab/tile setting in position keeping horizontal and vertical alignment correct, filling the joints with white cement, cutting and grinding the top surface, finishing etc in/c. water, electricity & other charges complete in all respect as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 4, 697.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 36. | Supplying, fitting and fixing glazed wall tiles (Local made) with on 20 mm thick cement sand (F.M.1.2) mortar (1:3) base and raking out the joints with white cement including cutting, laying & hire charge of machine and finishing with care etc. in/c water, electricity & other charges complete all respect as per direction of the engineer-in-charge. |  |
| (i) | Ground floor |  |  |
| (a) | White wall tiles of different sizes | sqm. | Tk. 740.00 |
| (b) | Colored wall tiles of different sizes | sqm. | Tk. 794.00 |
| (c) | Special design colored wall tiles of different sizes | sqm. | Tk. 821.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 37. | Supplying, fitting and fixing glazed floor tiles (Local made) with cement sand (F.M.1.2) mortar (1:3) base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor |  |  |
| (a) | White floor tiles of different sizes | sqm. | Tk. 786.00 |
| (b) | Colored floor tiles of different sizes | sqm. | Tk. 840.00 |
| (c) | Special design colored floor tiles of different sizes | sqm. | Tk. 880.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 38-I | Supplying, fitting and fixing unglazed homogeneous floor tiles (local made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and raking out the joints with white cement and colored pigment including cutting and laying tiles in proper way and finishing with care etc, all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor |  |  |
| (a) | GP (Homogeneous) 305 x 305 mm floor tiles | sqm. | Tk. 920.00 |
| (b) | GP (Homogeneous) 400 x 400 mm floor tiles | sqm. | Tk. 1001.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 38-II | Supplying, fitting and fixing mirror polished floor tiles (local made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and raking out the joints with white cement and colored pigment including cutting and laying tiles in proper way and finishing with care etc, all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor |  |  |
| (a) | GP (mirror polished) 300 x 300 mm floor tiles | sqm. | Tk. 1, 456.00 |
| (b) | GP (mirror polished) 396 x 396 mm floor tiles | sqm. | Tk. 1, 664.00 |
| (c) | GP (mirror polished) 300 x 600 mm floor tiles | sqm. | Tk. 1, 818.00 |
| (d) | GP (mirror polished) 305 x 305 mm floor (stair) tiles | sqm. | Tk. 1, 081.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 38-III | Supplying, fitting and fixing acid proof floor tiles (local made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and raking out the joints with white cement and colored pigment including cutting and laying tiles in proper way and finishing with care etc, all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor |  |  |
| (a) | 140 x 140 x 8.5 mm acid proof | sqm. | Tk. 1483.00 |
| (b) | 100 x 100 x 8.5 mm acid proof | sqm. | Tk. 1, 564.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 39(a). | Supplying, fitting and fixing homogeneous quartz floor tiles (Local made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and racking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 928.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 39(b) | Supplying, fitting and fixing homogeneous embossed (non-skid) floor tiles (Local made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and racking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete as per direction of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 1, 062.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |
| 40. | Supplying, fitting and fixing (300 x 300 mm/400 x 400 mm) special quality fibrous floor tiles (foreign made) on 20 mm thick cement sand (F.M.1.2) mortar (1:2) base and racking out the joints with white cement and colored pigment including cutting and laying tiles in proper way and finishing with care etc. all complete as per directing of the engineer-in-charge. |  |
| (i) | Ground floor | sqm. | Tk. 1, 263.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 3.19 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 9.58 |

| Item No. | Description of item | Unit | Unit Rate |
| --- | --- | --- | --- |
| 7. REINFORCED CEMENT CONCRETE WORK |
| RCC WORKS (1:2:4) WITH BRICK-CHIPS USING WOODEN SHUTTER |  |  |
| 41. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In footing, raft/mat, foundation beam: (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 4, 432.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 4, 140.00 |
| (c) | In Foundation beam | cum. | Tk. 5, 103.00 |
| 42. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In pedestal, column, capital, lift wall and wall (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 7, 150.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 43. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In tie beams and lintels (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 6, 256.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 44. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Tee beam, Ell Beam, Rectangular Beam: Exposed breadth and width of rib to be measured only (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 6, 278.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 45. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Roof slab of all types, cantilever slab and drop panel, excluding floor slab of ground floor at plinth level (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | cum. | Tk. 6, 314.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 46. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In waffle or ribbed floor or roof slab. (Rate excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | cum. | Tk. 9, 287.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 47 (i) | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Cornice, Railing, Drop wall, Louver and fins: average 62 mm to 87 mm thick. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | sqm. | Tk. 697.00 |
| (b) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (c) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (d) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| 47 (ii) | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Sunshade of average 62 mm to 87 mm thick. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | sqm. | Tk. 575.00 |
| (b) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (c) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (d) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| 48. | Reinforced cement concrete works (1:2:4) of specified compressive strength, f'c 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Stair case slab and steps. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | cum. | Tk. 6, 207.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| RCC WORKS (1:1.5:3) WITH BRICK-CHIPS USING WOODEN SHUTTER |
| 49. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In footing, raft/mat, foundation beam (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 4, 741.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 4, 449.00 |
| (c) | In Foundation beam | cum. | Tk. 5, 412.00 |
| 50. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Pedestal, column, capital, lift wall and wall. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 7, 460.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 51. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Tie beam and lintel (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 6, 565.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 52. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Tee beam, Ell Beam, Rectangular Beam: (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Below plinth level and in ground floor | cum. | Tk. 6, 587.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 53. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Roof slab of all type, cantilever slab and drop panel, excluding floor slab of ground floor at plinth level. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | cum. | Tk. 6, 623.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| 54 (i). | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In cornices, railings drop walls, Louvers and fins: average 62 mm to 87 mm thick.(rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | sqm. | Tk. 720.00 |
| (b) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (c) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (d) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| 54 (ii). | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In sunshades of average 62 mm to 87 mm thick.(rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | sqm. | Tk. 599.00 |
| (b) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (c) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (d) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| 55. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength, f'c 21 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standards, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.5] and 20 mm down well graded picked jhama brick chips including breaking chips and screening, making, placing in position, making shutter water-tight properly, placing reinforcement in position; mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering all complete including cost of water, electricity, testing & other charges as per direction of the engineer-in-charge. In Stair case slab and steps. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Ground floor | cum. | Tk. 6, 516.00 |
| (b) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (c) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (d) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| RCC WORKS (1:1.5:3) WITH STONE-CHIPS USING STEEL SHUTTER |  |  |
| 56. | Reinforced cement concrete works (1:1.5:3) of specified compressive strength f'c 25 Mpa at 28 days on standard cylinder, with cement conforming to BDS 232 & ASTM standard and stone chips using steel material as shutter, best quality coarse sand [Sylhet sand or coarse sand of equivalent F.M. 2.5], 20 mm down well graded crushed stone chips in/c breaking chips and screening through proper sieves, making, placing in position the centering shuttering, M.S. sheets, steel forms etc., 40 mm M.S. pipes/50 x 40 mm adjustable pipes (jug pipes) with 150 x 150 x 6 mm base plate having pipe wall thickness 2.5 to 4.5 mm as props, making shuttering water-tight, placing of reinforcement in position; concrete mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering shuttering, all complete including cost of water, electricity, testing of materials and concrete & other charges as per direction of the engineer-in-charge. (rate is excluding the cost of reinforcement and its fabrication) |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 5, 805.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 5, 630.00 |
| (c) | In Foundation beam | cum. | Tk. 6, 350.00 |
| (d) | In pedestal, column, capital lift wall and wall: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 8, 454.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (e) | In Tie Beam and lintel: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 529.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (f) | In Tee Beam, Ell Beam, Rectangular Beam etc. (Exposed breadth and width of ribs to be measured only). |  |  |
| (i) | Ground floor | cum. | Tk. 7, 839.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (g) | In roof slab of all types, cantilever slab and drop panels (Excluding floor slab of ground floor at plinth level). |  |  |
| (i) | Ground floor | cum. | Tk. 8, 335.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (h) | In sunshade (Average 62 mm to 87 mm thick). |  |
| (i) | Ground floor | sqm. | Tk. 695.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk.9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| (i) | In stair case slab and step. |  |  |
| (i) | Ground floor | cum. | Tk. 7, 845.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (j) | In Waffle or Ribbed floor/roof slab. |  |  |
| (i) | Ground floor | cum. | Tk. 10, 777.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (k) | In cornice, railing, drop walls, louver, fins etc. (Average 62 mm to 87 mm thick). |  |  |
| (i) | Ground floor | sqm. | Tk. 833.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| RCC WORKS (1:1.25:2.5) WITH STONE-CHIPS AND ADMIXTURE (HIGH STRENGTH CONCRETE) USING STEEL SHUTTER |
| 56M32 | Reinforced cement concrete works (1: 1.25: 2.5) of specified compressive strength f'c 32 Mpa at 28 days on standard cylinder, with cement conforming to BDS 232 & ASTM standard, with approved high range admixture using steel material as shutter, best quality coarse sand [Sylhet sand or coarse sand of equivalent F.M. 2.5], 20 mm down well graded crushed stone chips in/c breaking chips and screening through proper sieves, making, placing in position the centering shuttering, M.S. sheets, steel forms, 40 mm M.S. pipes/50 x 40 mm adjustable pipes (jug pipes) with 150 x 150 x 6 mm base plate having pipe wall thickness 2.5 to 4.5 mm as props, making shuttering water-tight, placing of reinforcement in position; concrete mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering shuttering, all complete including cost of water, electricity, testing of materials and concrete & other charges as per direction of the engineer-in-charge. (Dose of admixture in the mix to be fixed by mix design) Rate is excluding the cost of reinforcement and its fabrication, admixture and mix design. Payment of these components to be made on separate items: ref. to item Nos. 68, 58(c) and 413 (Cement concrete, serial 5.) respectively. |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 6, 055.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 5, 880.00 |
| (c) | In Foundation beam | cum. | Tk. 6, 600.00 |
| (d) | In pedestal, column, capital lift wall and wall: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 8, 705.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (e) | In Tie Beam and lintel: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 779.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (f) | In Tee Beam, Ell Beam, Rectangular Beam etc. (Exposed breadth and width of ribs to be measured only). |  |  |
| (i) | Ground floor | cum. | Tk. 8, 090.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (g) | In roof slab of all types, cantilever slab and drop panels (Excluding floor slab of ground floor at plinth level). |  |  |
| (i) | Ground floor | cum. | Tk. 8, 586.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (h) | In stair case slab and step. |  |  |
| (i) | Ground floor | cum. | Tk. 8, 095.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (i) | In Waffle or Ribbed floor/roof slab. |  |  |
| (i) | Ground floor | cum. | Tk. 11, 028.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| RCC WORKS (1:2:4) WITH STONE-CHIPS USING STEEL SHUTTER |
| 57. | Reinforced cement concrete works (1:2:4) with stone-chips using steel material as shutter, having specified compressive strength f'c 22 Mpa at 28 days on standard cylinder, with cement conforming to BDS 232 & ASTM standard, best quality coarse sand [Sylhet sand or coarse sand of equivalent F.M. 2.5], 20 mm down well graded crushed stone chips including breaking chips and screening through proper sieves, making, placing in position the centering and shuttering, steel forms, 40 mm M.S. pipes/50 x 40 mm adjustable pipes (jug pipes) with 150 x 150 x 6 mm base plate having pipe wall thickness 2.5 to 4.5 mm as props, making shuttering water-tight, placing of reinforcement in position; concrete mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering shuttering etc. all complete including cost of water, electricity, testing of materials and concrete & other charges as per direction of the engineer-in-charge. (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 5, 596.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 5, 421.00 |
| (c) | In Foundation beam | cum. | Tk. 6, 141.00 |
| (d) | In pedestal, column, capital lift wall and wall: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 8, 246.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (e) | In Tie Beam and lintel: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 320.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (f) | In Tee Beam, Ell Beam, Rectangular Beam etc. (Exposed breadth and width of ribs to be measured only). |  |  |
| (i) | Ground floor | cum. | Tk. 7, 631.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (g) | In roof slab of all types, cantilever slab and drop panels (Excluding floor slab of ground floor at plinth level). |  |  |
| (i) | Ground floor | cum. | Tk. 8, 127.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (h) | In sunshade (Average 62 mm to 87 mm thick). |  |
| (i) | Ground floor | sqm. | Tk. 679.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| (i) | In stair case slab and step. |  |  |
| (i) | Ground floor | cum. | Tk. 7, 636.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (j) | In Waffle or Ribbed floor/roof slab. |  |  |
| (i) | Ground floor | cum. | Tk. 10, 569.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (k) | In cornice, railing, drop walls, louver, fins etc. (average 62 mm to 87 mm thick). |  |  |
| (i) | Ground floor | sqm. | Tk. 817.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| RCC WORKS (1:1.5:3) WITH STONE-CHIPS USING WOODEN SHUTTER |
| 57 T | Reinforced cement concrete works (1:1.5:3) with stone-chips using wooden material as shutter, having specified compressive strength f'c 25 Mpa at 28 days on standard cylinder, with cement conforming to BDS 232 & ASTM standard, best quality coarse sand [Sylhet sand or coarse sand of equivalent F.M. 2.5], 20 mm down well graded crushed stone chips including breaking chips and screening through proper sieves, making, placing in position the centering and shuttering, making shuttering water-tight, placing of reinforcement in position; concrete mixing with mixer machine, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering shuttering etc. all complete including cost of water, electricity, testing of materials and concrete & other charges as per direction of the engineer-in-charge. (rate is excluding the cost of reinforcement and its fabrication. |  |
| (a) | In Individual and combined footing of column. | cum. | Tk. 5, 922.00 |
| (b) | In raft/mat/floor slab at plinth level. | cum. | Tk. 5, 630.00 |
| (c) | In Foundation beam | cum. | Tk. 6, 593.00 |
| (d) | In pedestal, column, capital lift wall and wall: |  |  |
| (i) | Ground floor | cum. | Tk. 8, 641.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (e) | In Tie Beam and lintel: |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 747.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (f) | In Tee Beam, Ell Beam, Rectangular Beam etc. (Exposed breadth and width of ribs to be measured only). |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 768.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (g) | In roof slab of all types, cantilever slab and drop panels (Excluding floor slab of ground floor at plinth level). |  |  |
| (i) | Below plinth level and in ground floor | cum. | Tk. 7, 804.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (h) | In sunshade (average 62 mm to 87 mm thick). |  |
| (i) | Ground floor | sqm. | Tk. 689.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| (i) | In stair case slab and step. |  |  |
| (i) | Ground floor | cum. | Tk. 7, 697.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (j) | In Waffle or Ribbed floor/roof slab. |  |  |
| (i) | Ground floor | cum. | Tk. 10, 777.00 |
| (ii) | Add for each additional floor up to 5th floor | cum. | Tk. 52.36 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | cum. | Tk. 73.30 |
| (iv) | Add for each additional floor for 10th floor & above | cum. | Tk. 83.77 |
| (k) | In cornice, railing, drop walls, louver, fins etc. (average 62 mm to 87 mm thick). |  |  |
| (i) | Ground floor | sqm. | Tk. 810.00 |
| (ii) | Add for each additional floor up to 5th floor | sqm. | Tk. 9.88 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 14.83 |
| (iv) | Add for each additional floor for 10th floor & above | sqm. | Tk. 19.77 |
| 58(a) | Extra rate of RCC work at free height beyond 4 m to 11 m over the rate of corresponding items of ground floor or any floor as the case may be, for additional height of auditorium, go-down, overhead water tank etc. in the RCC work of columns, capitals, wall, Tee beam, Ell beam, rectangular beam, roof slab, cantilever slab and drop panel etc. are executed at that height, as per description in corresponding item Nos. 42, 43, 44, 45, 46, 50, 51, 52, 53, 56(d), 56(e), 56(f), 56(g), 56(i), 56(j), 56M32(d), 56M32(e), 56M32(f), 56M32(g), 56M32(i), 57(d), 57(e), 57(f), 57(i), 57(j) |  |
| (i) | In column, column capitals, & walls where the free height exceeds 4 meter [rate is considered for the free height of each additional 4 (four) meter or part beyond 4 meter] | cum. | Tk. 220.00 |
| (ii) | In Tee beams, Ell Beams and Rectangular beams placed beyond 4-meter height for each additional meter of free height. | cum. | Tk. 307.00 |
| (iii) | In floor/roof slab, Cantilever slab, Waffle slab and drop panels placed beyond 4 meters height for each meter of free height. | cum. | Tk. 338.00 |
| (The rate shall be extra over the rates of corresponding items. For extra amount on height, the total height from the particular floor up to the top of casting shall be measured and then 4 meter to be deducted. Extra payment shall be admissible only when both sides of wall and beam and all sides of column are uninterruptedly free beyond 4 meter) |
| 58(b) | Supplying and mixing specified type chemical admixture from an authorized local agent or manufacturer, comply with the ASTM C-494 requirements, confirming the current compliance of the admixture to specification requirements like physical properties, uniformity & equivalence in composition etc., performance (water content, fresh concrete setting time and compressive strength) requirements, delivered in sealed water-tight containers having and confirming plainly marked the proprietary name of the admixture type under this specification, net weight & /or volume, manufacturing and expiry date, non aggressiveness to environment, aggregates and metals in concrete etc. and mixing the admixture in non pre-stressed cement concrete mixture in the field under the strict accordance with manufacturers recommendation and instruction, providing safety provisions in all respects etc. all complete as per instruction of engineer-in-charge. Dose (quantity in milliliters per 50 kg bag cement) and brand with respect to particular brand of cement and particular stock of aggregates and method of use to be determined by engineer - in - charge. (Use of admixture is subject to prior approval of Design office) |  |
| (i) | Supply and use of water reducing chemical admixture ASTM C-494 Type - A in concrete: The admixture to reduce quantity of mixing water required for normal workability and to maintain low water-cement (W/C) ratio for improved concrete. |  |
|  |  | liter. | Tk. 170.00 |
| (ii) | Supply and use of retarding chemical admixture ASTM C-494 Type - B in concrete: The admixture for retarding setting time of concrete, there by reducing shrinkage in concrete specially for concrete laid in thick layers and intended delayed construction for improved construction joints, re-concreting etc |  |
|  |  | liter. | Tk. 146.00 |
| (iii) | Supply and use of accelerating chemical admixture ASTM C-494 Type - C in concrete: An admixture that is to accelerate the setting time and early strength gain of concrete. |  |
|  |  | liter. | Tk. 181.00 |
| (iv) | Supply and use of water-reducing and retarding chemical admixture ASTM C-494 Type - D in concrete: The admixture to reduce the quantity of mixing water required to produce concrete of given consistency, i.e. low water-cement (W/C) ratio and intend to retard setting time of concrete, specially for layered, thick laid concrete etc. |  |
|  |  | liter. | Tk. 158.00 |
| (v) | Supply and use of water-reducing and accelerating chemical admixture ASTM C-494 Type - E in concrete: The admixture to reduce the quantity of mixing water required to produce concrete of given consistency, i.e. low water-cement (W/C) ratio and intend to accelerate setting time of concrete, and early strength gain in concrete etc. |  |
|  |  | liter. | Tk. 170.00 |
| (vi) | Supply and use of water-reducing high range chemical admixture ASTM C-494 Type - F in concrete: The admixture required to produce concrete of consistency by 12% or greater (flowing concrete) and for higher strength of concrete. |  |
|  |  | liter. | Tk. 176.00 |
| (vii) | Supply and use of water-reducing high range and retarding chemical admixture ASTM C-494 Type - G in concrete: The admixture required to produce concrete of consistency by 12% or greater (flowing concrete) and for higher strength of concrete and intend to retard setting time of concrete. |  |
|  |  | liter. | Tk. 164.00 |
| 58(c) | Supplying, best quality pliable, cold applied pre-formed self adhesive rubberized/ bituminous water proofing membrane from an authorized local agent or manufacturer having minimum thickness 1.5 mm, lined with 2 ply cross laminated high density polyethylene film performances and properties all conforming to ASTM standards and laying, placing, fixing on made up firm and dry surfaces free from hollows, sharp protrusions, contaminates etc. laid over-lap by at least 75 mm along the edges and 125 mm at ends ensuring good initial bond with the surfaces all complete under the strict accordance with the manufacturer recommendations and instructions providing all safety provisions in all respects and as per instruction of the engineer-in-charge. |  |
| (i) | Water-proofing membrane on external surface of inclined or vertical wall (excluding cost of back fill/brick wall on back/plaster when membrane laid on back-wall and concrete cast against membrane which to be paid as per corresponding items in this schedule) |  |
|  |  | sqm. | Tk. 742.00 |
| (ii) | Water-proofing membrane on made up surface below the floor or below the horizontal surfaces below grades with temporary protective cover using polysterene/1.5" thick sand-cement mortar in 4:1 /or by equally effective alternative (Rate is excluding the cost of protective cover which to be paid as per corresponding items in this schedule) |  |
|  |  | sqm. | Tk. 675.00 |
| (iii) | Water-proofing membrane on the floor or on the horizontal surfaces with permanent protective cover & wearing coarse (Rate is excluding the cost of protective cover and wearing coarse which to be paid as per corresponding items in this schedule) |  |
|  |  | sqm. | Tk. 705.00 |
| 58(d) | Water-proofing work in masonry or concrete surface with sand-cement mortar mixed with specified admixture (supplied from authorized local agent or from manufacturer comply with ASTM/BS/IS requirements, confirming current compliance of the admixture to specification requirements like physical properties, uniformity and equivalence in composition, performance requirements, delivered in sealed containers having and confirming plainly marked the proprietary name of the admixture type under this specification, net weight & or volume, manufacturing and expiry date, shelve life, non aggressiveness to environment and metals in concrete etc.) under the strict accordance with manufacturer recommendations /instructions and providing safety provisions in all respect etc. on sound, firm surfaces all complete including cleaning the surface from dust, loose particles, remains of oil, grease etc. all complete as per direction of engineer-in-charge. |  |
|  |  | sqm. | Tk. 272.00 |
| 8. PILE WORK |
| 59. | Boring/drilling for cast in situ pile up to the required depth and diameter with minimum 6 m long temporary steel casing, true to vertical, providing bentonite slurry and maintaining water level in the hole, washing the hole for at least 30 minutes, clean the bore-hole and make the bore- hole ready for placing steel cage and concreting including hire charge of rig set with winch machine, tripod stand, trimie pipe, cost of fuel, lubricant, mobilization, demobilization, maintenance, spares, stand-byes, insurance coverage, water, electricity & other charges all compete as per design and direction of engineer-in-charge |  |
| (a) | 400 mm diameter |  |  |
| (A) | Up to 20 m | rm. | Tk. 339.00 |
| (B) | Add extra cost for each additional meter beyond 20 meter up to 30 m | rm. | Tk.14.00 |
| (b) | 450 mm diameter |  |  |
| (A) | Up to 20 meter | rm. | Tk. 396.00 |
| (B) | Add extra cost for each additional meter beyond 20 meter up to 29 meter | rm. | Tk. 17.00 |
| (c) | 500 mm diameter |  |  |
| (A) | Up to 20 meter | rm. | Tk. 438.00 |
| (B) | Add extra cost for each additional meter beyond 20 meter up to 29 meter | rm. | Tk. 17.00 |
| (d) | 550 mm diameter |  |  |
| (A) | Up to 20 meter | rm. | Tk. 490.00 |
| (B) | Add extra cost for each additional meter beyond 20 meter up to 29 meter | rm. | Tk. 25.00 |
| (e) | 600 mm diameter |  |  |
| (A) | Up to 20 meter | rm. | Tk. 508.00 |
| (B) | Add extra cost for each additional meter beyond 20 meter up to 29 meter | rm. | Tk. 27.00 |
| 60. | Reinforced cement concrete works (1:1:5.3) in bore-hole for making cast-in-situ pile having minimum compressive strength 19 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standard mixed with best quality coarse sand [Sylhet sand or coarse sand of equivalent F.M.2.5], 20 mm down well graded crushed stone chips including breaking chips, screening through proper sieves, making, placing re-bar cage in position, placing & removing tri-pod as per requirement, pouring the concrete in bore-hole with the help of a trimie pipe, maintaining the trimie pipe immersed in concrete by at least 1 meter throughout the period of concreting, maintaining required slump etc. mixing the aggregates with mixer machine with hoper, casting in forms, all complete in water, electricity, testing of materials and concrete etc & other charges as per design, drawing and direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 6, 512.00 |
| 61. | Providing and making point welding at contact point of the spiral binders at reasonable intervals with the main reinforcements by electric arc welding for construction of cast in situ bored pile carefully with highly oxidized electrodes making the points prominent as per direction of the engineer-in-charge. The rate is inclusive of cost of all materials, labour, tools, plants and equipments, cost of power, mobilization & demobilization of the same. |  |
|  |  | point | Tk. 1.78 |
| 62. | Providing and making welded splice by welding of minimum 300 mm length at the lap of main reinforcement in re-bar cage to be placed in bore-hole where necessary by electric arc welding with highly oxidized electrodes making the joint prominent as per direction of the engineer-in-charge. (The rate is inclusive of all materials labour, tools plants and all equipments. Cost of power, mobilization & demobilization of the same etc. complete in all respects.) |  |
|  |  | inch | Tk. 2.37 |
| 63. | Labour for breaking head of hardened cast in situ bored pile/pre-cast pile up to a required length by any means but without damaging the rest and removing the dismantled materials such as concrete to a safe distance including scraps and cleaning concrete from steel/M.S. rods, straightening & bending of pile bars, preparation and making platform where necessary, carrying, all sorts of handling, stacking the same properly after clearing, leveling and dressing the situ and clearing the bed etc. complete as per direction of the engineer-in-charge. (Measurement will be given for the actual pile head volume to be broken). |  |
|  |  | cum | Tk. 1, 661.00 |
| 64. | Conducting static load test for the cast in situ/pre-cast pile providing required scaffolding, bracing, jacks, pressure test gauge, loading unloading loads, Kent ledge and other plants and equipment including staging, mobilization, demobilization, hire charge, cost of gunny bags & sand and filling sacs/gunny bags for loading, recording readings & preparation of results in standard forms & other incidental charges per standard practice and procedures in/c submission of load test report, furnishing all graph and chart as per standard practice & direction of the engineer-in-charge. |  |
| (a) | For 25 tonne load | Per test | Tk. 22,922.00 |
| (b) | For 75 tonne load | Per test | Tk. 46,422.00 |
| (c) | For 125 tonne load | Per test | Tk. 70,158.00 |
| (d) | For 175 tonne load | Per test | Tk. 95,009.00 |
| (e) | For 225 tonne load | Per test | Tk. 118,508.00 |
| (f) | For 275 tonne load | Per test | Tk. 142, 600.00 |
| (1) | For intermediate loading from 25 tonne to 75 tonne for each additional tonne | Per test | Tk. 482.00 |
| (2) | For intermediate loading from 75 tonne to 125 tonne for each additional tonne | Per test | Tk. 482.00 |
| (3) | For intermediate loading from 125 tonne to 175 tonne for each additional tonne | Per test | Tk. 532.00 |
| (4) | For intermediate loading from 175 tonne to 225 tonne for each additional tonne | Per test | Tk. 482.00 |
| (5) | For intermediate loading from 225 tonne to 275 tonne for each additional tonne | Per test | Tk. 482.00 |
| 65. | Pre-cast driven pile with reinforced cement concrete (1.1.5:3) having minimum compressive strength 25 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standard mixed with best quality coarse sand (F.M.2.5), 20 mm down well graded stone chips in mixture machine in/c cost of breaking chips, screening through proper sieves, cleaning and washing, centering and shuttering with M.S sheet, M.S angle, F.I bar, nuts & bolts, preparation of bed, laying polythene, placing of reinforcement cage in position, casting, compacting by vibrators and tapered rods, curing for 28 days etc. in/c cost of water, electricity & other charges, providing pile shoe as per design & drawing, driving the pile up to the design depth as per standard practice or specified method providing head cushion, all equipments including mobilization, demobilization & hire charge of driving set, labour, shampering, test of materials & concrete etc. all complete as per design, drawing and direction of the engineer-in-charge. (rate is excluding the cost of reinforcement and its fabrication). |  |
|  | Cost of cement concrete: |  |  |
| (a) | Cost of 300 mm x 300 mm size pre-cast pile | rm. | Tk. 589.00 |
| (b) | Cost of 350 mm x 350 mm size pre-cast pile | rm. | Tk. 774.00 |
| (c) | Cost of pile shoe as per design & drawing | rm. | Tk. 922.00 |
| (d) - i | Mobilization and demobilization of pre-cast pile driving rig | rm. | Tk. 2, 016.00 |
| (d) - ii | Cost of driving 300 mm x 300 mm size pre-cast pile |  |  |
| (a) | From 0 meter to 6 meter | rm. | Tk. 248.00 |
| (b) | From 6 meter to 12 meter | rm. | Tk. 273.00 |
| (c) | From 12 meter to 15 meter | rm. | Tk. 300.00 |
| d - iii | Cost of driving 350 mm x 350 mm size pre-cast pile |  |  |
| (a) | From 0 meter to 6 meter | rm. | Tk. 315.00 |
| (b) | From 6 meter to 12 meter | rm. | Tk. 347.00 |
| (c) | From 12 meter to 15 meter | rm. | Tk. 381.00 |
| (d) | From 15 meter to 18 meter | rm. | Tk. 454.00 |
| (e) - i | Mobilization and demobilization of automatic diesel hammer mounted pre-cast pile driving complete rig set |  |
|  |  | Per set | Tk. 135, 213.00 |
| (e) - ii | Cost for driving 12"x 12" size pre-cast pile with automatic rig fitted with automatic diesel hammer |  |
|  |  | rm. | Tk. 329.00 |
| (e) - iii | Cost for driving 14" x 14" size pre-cast pile with automatic rig fitted with automatic diesel hammer |  |  |
|  |  | rm. | Tk. 360.00 |
| 66. | Pre-cast driven 7" x 7" up to 25'-0" length pile with reinforced cement concrete (1:1.25:2.5) having minimum compressive strength 25 Mpa at 28 days on standard cylinder with cement conforming to BDS 232 & ASTM standard mixed with best quality coarse sand (F.M.2.5) and 20 mm down well-graded stone chips in mixture machine, including cost of breaking chips, screening through proper sieves, cleaning and washing, centering and shuttering with M.S sheet, M.S angle, F.I bar, nuts & bolts, preparation of bed, laying polythene, placing of reinforcement cage, casting, compacting by vibrators and tapered rods, curing for 28 days etc. in/c cost of water, electricity & other charges, providing pile shoe as per design & drawing, driving the pile up to the design depth as per standard practice or specified method providing head cushion, all equipments including mobilization, demobilization & hire charge of driving set, shampering, test of materials & concrete etc. including carrying all complete as per direction of the engineer-in-charge (rate is excluding the cost of reinforcement and its fabrication). |  |
| (a) | Cost of cement concrete (size: 7" x 7") | rm. | Tk. 226.00 |
| (b) | Cost of driving by guided rig (size: 7" x 7") up to 7.62 meter | rm. | Tk. 135.00 |
| 67. | Supplying and driving of locally available best wooden ballah pile having an average diameter not less than 150 mm with not less than 175 mm diameter at thick end and 125 mm diameter at thin end in foundation/retaining purpose to a depth as per design and drawing by any method in/c all arrangement for staging, hoisting, carrying etc. |  |
|  |  | rm | Tk. 213.00 |
| 9. M.S. FABRICATION WORK |
| 68. | Supplying, fabrication and fixing to details as per design deformed bar reinforcement in concrete in accordance with BSTI standard in/c straightening and cleaning rust, if any, bending & binding in position in/c supply of G.I. wires etc. complete in all respects in all floors. |  |
| (a) | 40 grade deformed bar with minimum fy = 276 Mpa, ultimate strength 482 Mpa | quintal | Tk. 3, 129.00 |
| (b) | 60 grade deformed bar with minimum fy = 415 Mpa, ultimate strength 620 Mpa | quintal | Tk. 3, 302.00 |
| 69. | Mild steel (Grade - A36) work in roof truss: supplying and fabrication of mild steel sections as per design. Hoisting, fitting and fixing in position with bolts and nuts or rivets or welded and providing two coats of anti-corrosive paint over a prime coat of red oxide paint (measurement to be given for solid steel section only). |  |
|  |  | quintal | Tk. 4, 759.00 |
| 10. EXPANSION JOINT AND BEARING JOINT |
| 70. | Constructing expansion joints 25 mm /38 mm gap in R.C.C. floor or roof slab or beam provided with “V” folded copper/ aluminium water stop sheet with loop notch and inserted 75 mm concrete shoulders, the gap being filled up with mixture of hot applied bituminous sealing compound etc. all complete as per direction of the engineer-in-charge (rate is excluding the cost of floor shoulders and floor finishes). |  |
| (a) | With copper sheet | rm. | Tk. 546.00 |
| (b) | With Aluminum sheet | rm. | Tk. 390.00 |
| (c) | With Aluminum sheet & 6 mm x 75 mm size M.S. plate. | rm. | Tk. 660.00 |
| 71. | Providing bearing joints fixed or free with 250 x 375 x 10 mm M.S. (Grade - A36) shoe plate fitted in the truss angles with 16 mm diameter M.S. rod counter sunk rivets, welded and anchored to 250 x 375 x 10 mm .M.S shoe plate by two Nos. 19 mm dia M.S. “U” rod embedded in the bed of the lintel around the reinforcement, cleaning and greasing the joints for all floors etc. all complete as per direction of engineer-in-charge. |  |
|  |  | each | Tk. 1, 218.00 |
| 11. LIME TERRACING AND WATER PROOFING WORK |
| 72. | Supplying and laying of single layer polythene sheet weighing one kilogram per 6.5 square meter in floor or any where below cement concrete complete in all respect as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 18.00 |
| 73. | Average 100 mm thick finished lime terracing with 20 mm down graded 1st class brick chips (Khoa), surki from 1st class bricks and lime (stone lime brought at site, not being powdered in open air and to be slaked in presence of engineer-in-charge and to be measured in volume three days after slaking for using in the mix) in the proportion 7:2:2 (brick chips : surki : lime) including preparation of the mix on the ground by making a suitable platform under proper polythene cover. Cutting the mix twice daily with limewater (1:10) at least for 7 days until the mix attain desirable consistency. Laying the mix in proper slope, beating the same with standard ‘koppa’ for minimum 7 days to gain maximum consolidation, making ghoondy and neat finishing with lime Surki mortar (1:2) and curing for 21 days providing polythene cover after each day work and cleaning etc. complete in all respect as per direction of engineer-in-charge. |  |
|  |  | cum | Tk. 4, 538.00 |
| 74. | Pre-cast ventilators of minimum 25 mm thick of any design with cement sand (F.M.1.2) mortar (1:4) fitted and fixed in position, finished with cement sand (F.M.1.2) plaster (1:6) including necessary scaffolding and curing, in all floors as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 777.00 |
| 75. | 75 x 75 mm cornice of brick masonry in cement sand (F.M.1.2) mortar (1:6) having minimum 12 mm thick cement sand (F.M.1.2) plaster (1:6) including scaffolding and curing at least for 7 days in all floors as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 75.00 |
| 76. | Supplying fan hook of 16 mm diameter M.S. rod (one meter straight length) having rounded hook at the middle of bar in proper size so as to be concealed within fan cup in/c fabrication and fitting fixing in all floor as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 40.00 |
| 77. | Supplying, fitting and fixing M.S. flat bar clamp of 175 x 38 x 6 mm size having bifurcated ends to door and window frames with necessary screws and encasing inside the wall with cement concrete (1:2:4) as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 34.00 |
| 78. | Supplying, fitting and fixing M.S. flat bar clamp 150 x 38 x 6 mm size having bifurcated ends to door and window frames with royal plug. Necessary screws etc. with the help of electric drill/hammer drill in/c. cutting groove in chowkat if necessary etc. complete in all respect as per direction of engineer-in-charge. |  |
|  |  | each | Tk. 30.00 |
| 12. RAIN WATER DOWN PIPE |
| 79. | Supplying 100 mm inside diameter HCI rainwater down pipe, fitting & fixing in position with head and shoes, bends, trap, tee, offset, clamps and nails etc. complete in all floors as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 542.00 |
| 80. | Supplying 100 mm inside diameter best quality uPVC rain water down pipe fitting, fixed in position with head and shoes, bends, min.20 mm width F.I. Bar clamp and nails, and in/c all accessories such as round grating/domed roof grating bands, sockets as per direction of the engineer-in-charge. |  |
|  |  | rm | Tk. 271.00 |
| 13. C.I. SHEET ROOFING |
| 81 (a) | Supplying, fitting & fixing 0.45 mm thick corrugated galvanized iron sheet (Bangladesh made) having min weight 80.28 kg per bundle fitted and fixed on M.S. sections with 'J' hook or wooden purling with screws, limpet, washers and putty etc. all complete as per direction of the engineer-in-charge. |  |
| i. | Galvanized | sqm | Tk. 232.00 |
| ii. | Colored | sqm. | Tk. 318.00 |
| 81 (b) | Supplying, fitting & fixing 1.5 mm thick fiber glass sheet roofing fitted and fixed on M.S. sections with 'J' hook or wooden purling with screws, limpet, washers and putty etc. all complete as per direction of the engineer-in -charge |  |
|  |  | sqm | Tk. 567.00 |
| 82. | 0.27 mm thick Galvanized iron plain sheet ridging with 300 mm lap on either side fitted and fixed with galvanized bolts and nuts etc. all complete as per direction of the engineer-in-charge. |  |
| (a) | Galvanized | rm. | Tk. 110.00 |
| (b) | Colored | rm. | Tk. 131.00 |
| (c) | 1.5 mm thick plain fiberglass sheet ridging with 300 mm lap on either side fitted and fixed with galvanized bolts and nuts etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 310.00 |
| 14. WOOD WORK IN DOOR AND WINDOW FRAME, ROOF TRUSS AND RAILING |
| 83. | Supplying and making door and window frames (Chowkat) for all floors with matured natural seasoned wood of required size including painting two coats of coal tar to the surface in contact with wall, fitting and fixing in position as per direction of the engineer-in-charge. (All sizes of wood are finished). |  |
| (a) | Garjan wood | cum. | Tk. 43, 597.00 |
| (b) | Jarul / local Sal wood | cum. | Tk. 48, 484.00 |
| (c) | Silkarai/Chikrashi wood | cum. | Tk. 50, 438.00 |
| (d) | Teak Chamol wood | cum. | Tk. 58, 257.00 |
| (e) | Chittagong Teak Wood | cum. | Tk. 77, 315.00 |
| (f) | Loha/ Pyiankado wood | cum. | Tk. 58, 403.00 |
| 84. | Supplying, fitting and fixing double leaf door frame for all floors with 38 x 38 x 6 mm M.S. angle fitted with 250 mm long 6 Nos. of iron clamps of same size (with one end bifurcated) with the vertical members of the frame, fixing the frame in wall with cement concrete (1:2:4), mending good the damages, fixing 6 Nos. of 100 mm size iron hinges with the vertical members of the frame all complete including cutting, sizing, welding, fabricating, carrying from work-shop to site and local carriage, curing etc. as per plan and drawing and direction of the engineer-in-charge. (Running meter of the door frame will be considered towards measurement) |  |
|  |  | rm. | Tk. 192.00 |
| 85. | Supplying, fitting and fixing of door frame for single leaf in all floors with 38 x 38 x 6 mm M.S. angle, fixing 130 mm long 6 Nos. of iron clamps of same size (with one end bifurcated) with the vertical members of the frame, fixing the frame in wall with cement concrete (1:2:4), mending good the damages, fixing 4 Nos. of 100 mm size iron hinges with the vertical members of the frame all complete including cutting, sizing, welding, fabricating, carriage from workshop to site in/c local carriage, curing etc. as per plan and drawing and direction of the engineer-in-charge. (Running meter of the doorframe will be considered towards measurement). |  |
|  |  | rm. | Tk. 188.00 |
| 86. | Supplying seasoned wood and making roof truss of any size with wall plates as per design in /c supplying, fabricating and hoisting, scaffolding, fitting and fixing in position with bolts, nuts, coal tarring in 2 coats etc. all complete as per direction of the engineer-in-charge (All sizes of wood are finished). |  |
| (a) | For Garjan wood /local sal wood | cum. | Tk. 38, 137.00 |
| (b) | For Jarul wood | cum. | Tk. 42, 536.00 |
| (c) | For Silkarai (Ctg)/Chikrashi wood | cum. | Tk. 44, 295.00 |
| 87. | Supplying and making seasoned wooden hand rail of stair case etc. including necessary moulding with proper corner finishing as per design, fitted and fixed in position in all floors etc. all complete as per direction of the engineer-in-charge. |  |
| (a) | For Silkarai /Chikrashi wood | cum. | Tk. 49, 203.00 |
| (b) | For Chittagong Teak wood | cum. | Tk 73, 392.00 |
| (c) | For Jarul | cum. | Tk. 47, 444.00 |
| (d) | Local Sal wood | cum. | Tk. 43, 046.00 |
| 15. DOOR-WINDOW SHUTTER & FLY PROOF WIRE-NET SHUTTER |
| 88. | Supplying, fitting and fixing 38 mm thick well matured, seasoned (min 10" wide plank) solid wood single leaf door shutter having top rail style of sections 100 mm x 38 mm, lock rail 125 x 38 mm and bottom rail 225 x 38 mm. Closed joints with 25 mm x 12 mm size wooden peg and provided with best quality 4 Nos. 100 mm iron hinges 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handle, hinged cleats, buffer blocks and finished by sand papering etc. in all floors as per direction of engineer-in-charge (All sizes of wood are finished) |  |
| (a) | For Kathal Wood | sqm. | Tk. 2, 588.00 |
| (b) | For Gamari / Chapalish Wood | sqm. | Tk. 2, 450.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 2, 785.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 3, 552.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 2, 293.00 |
| 89. | Supplying, fitting and fixing 38 mm thick well matured, natural seasoned (min 10" wide plank) solid wood single leaf flush door shutters having a frame of top lock and bottom rail of sections 100 mm x 12 mm styles 100 mm x 38 mm covered with 100 mm x 12 mm plank, screwed to each face and provided with best quality 4 Nos. 100 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handles, hinged cleats, buffer blocks and finished by sand papering etc. for all floors as per direction of engineer-in-charge (All sizes of wood are finished). |  |
| (a) | For Kathal Wood | sqm. | Tk. 2, 216.00 |
| (b) | For Gamari / Chapalish Wood | sqm. | Tk. 2, 093.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 2, 391.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 3, 074.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 1, 953.00 |
| 90. | Supplying, fitting and fixing 38 mm thick well matured, natural seasoned (min 10" wide plank) wood double leaf panel door shutters. Top rail and styles of sections 100 mm x 38 mm, lock rail 125 mm x 38 mm and bottom rail 225mm x 38 mm, paneling 38 mm thick both sides raised, provided with best quality 6 Nos. 100 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 300 mm and 225 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handle, 1 No. hatch-bolt hinged cleats, buffer blocks and finished by sand papering, necessary screws etc. in all floors as per direction of the engineer-in-charge. (Double leaf. All sizes of wood are finished) |  |
| (a) | For Kathal Wood | sqm. | Tk. 3, 120.00 |
| (b) | For Gamari / Chapalish Wood | sqm. | Tk. 2, 948.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 3, 346.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 4, 324.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 2, 751.00 |
| 91. | Supplying, fitting and fixing 38 mm thick well matured, natural seasoned (min.10" wide plank) wood double leaf panel door shutters. Top rail and styles of sections 100 mm x 38 mm. lock rail 125 mm x 38 mm and bottom rail 225 mm x 38 mm. paneling 25 mm thick one side raised, provided with best quality 6 nos. 100 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handles, 1 No. hatch-bolt hinged cleats, buffer blocks and finished by sand papering, necessary screws in all floors as per direction of engineer-in-charge (Double leaf. All sizes of wood are finished) |  |
| (a) | For Kathal Wood | sqm. | Tk. 2, 695.00 |
| (b) | For Gamari / Chapalish Wood | sqm. | Tk. 2, 548.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 2, 904.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 3, 722.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 2, 380.00 |
| 92. | Supplying, fitting and fixing 38 mm finished thick well matured, natural seasoned (min. 10" wide plank) wooden grooved single panel flush door shutters with top and middle rail 100 mm x 38 mm, bottom rail 225 mm x 38 mm and style 100 mm x 38 mm, having vertical panels 100 x 38 mm in/c keeping 6 mm x 12 mm even groove all around and minimum 12 mm grooved lap to each panel. Providing 4 Nos. best quality 100 mm iron hinges, 12 mm dia best quality 200 mm & 300 mm iron socket and tower bolts, 2 (two) Nos. heavy type best quality nickel plated handle hinged cleats, wooden buffer blocks in/c supply of necessary nails and screws, finished by sand papering etc. complete in all respect in all floors as per drawing and direction of the engineer-in-charge and as per standard practice. (All sizes of wood are finished). |  |
| (a) | For Kathal wood | sqm. | Tk. 3, 022.00 |
| (b) | For Gamai wood | sqm. | Tk. 2, 859.00 |
| (c) | For Chittagong teak wood | sqm. | Tk. 4, 160.00 |
| (d) | For Chapalish wood | sqm. | Tk. 2, 674.00 |
| 93. | Supplying, fitting & fixing 36 mm thick & having density 400 kg/cum. solid particle board single leaf flush door for all floors for internal use made of well matured mechanical seasoned garjan/other approved wooden frame having finished size 35 x 50 mm around upon which 1.4 mm thick veneer (total two Nos. of veneers one of 0.7 mm horizontally and another of 0.7 mm vertically made of Burma Teak/Champa/Chapalish /Garjan wood) with necessary screws are pested on each side by mechanized process and provided with best quality 4 Nos. 100 mm iron hinges, 2 Nos. best quality 12 mm iron dia 300 mm and 225 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handles, 1 No. hatch-bolt, hinged cleats, buffer blocks etc. complete as per direction of the engineer-in-charge |  |
| (a) | For Burma Teak veneered | sqm. | Tk. 2, 512.00 |
| (b) | Champa veneered | sqm. | Tk. 2, 017.00 |
| (c) | Chapalish veneered | sqm. | Tk. 1, 976.00 |
| (d) | Garjan veneered | sqm. | Tk. 1, 789.00 |
| 94. | Manufacturing and supplying, fitting, fixing well matured, natural seasoned (min 10" wide plank) wooden fixed louver shutters having 62 x 125 mm frame and inner horizontal wooden louver 150 x 25 mm size spaced @ 50 mm c/c fixed with frame in grooves in/c cost of screws, nails, 12 mm x 12 mm size wooden bit, preparing the surface by sand papering etc. complete in all respect as per drawing and direction of the engineer-in-charge. (All sizes of wood are finished). |  |
| (a) | Chapalish /Gammar wood | sqm. | Tk. 4, 046.00 |
| (b) | Ctg. Teak wood | sqm. | Tk. 6, 437.00 |
| (c) | Chapalish wood | sqm. | Tk. 3, 704.00 |
| 95. | Supplying, fitting and fixing well matured, natural seasoned (min 10” wide plank) wooden glazed ventilator louver shutters for all floors having wooden outer frame of section 62 x 125 mm (finished) with 62 x 125 mm (finished) size vertical divider with inner 50 mm x 38 mm shutter and and with 3 Nos. horizontal 38 mm x 38 mm sash bar in each part and inner horizontal glazed louver of size 150 x 6 mm (local) fixed in frame @ 154 mm c/c by cutting grooves in the frame in/c cost of screws, wooden bit, pivots, sand papering, cutting glass to required size etc. all complete as per design, drawing and direction of the engineer-in-charge and as per standard practice. (All sizes of wood are finished) |  |
| (a) | Gammar wood | sqm. | Tk. 2, 813.00 |
| (b) | Teak Chambal wood | sqm. | Tk. 3, 241.00 |
| (c) | Ctg. Teak wood | sqm. | Tk. 4, 220.00 |
| (d) | Chapalish wood | sqm. | Tk. 2, 612.00 |
| 96. | Supplying fitting and fixing 38 mm thick well matured, natural seasoned (min 10" wide plank) wooden glazed door shutters for all floors having styles and rails of section 150 mm x 38 mm and 5 mm glass panes fitted and fixed with wooden batten. Putty and nails in/c supplying and fitting and fixing 50 mm dia best quality round door lock. 12 mm dia, 1200 mm long iron tower bolt and 8 Nos. 100 mm iron hinges to each shutters, 2 Nos. nickel plated handle, hinged cleats, buffer blocks, screws, finished with necessary sand papering and putty works etc. complete as per direction of the engineer-in-charge and standard practice. (All sizes of wood are finished). |  |
| (a) | Ctg Teak wood | sqm. | Tk. 2, 838.00 |
| (b) | Silkarai wood | sqm. | Tk. 2, 230.00 |
| 97. | Supplying, fitting and fixing 25 mm thick well matured natural seasoned (min 10” wide plank) Kathal wood door and window shutters for all floors having 75 x 25 mm ‘Z’ battens, provided with best quality 3 Nos. 100 mm iron hinges, 2 Nos. 62 mm dia iron ring fitted with nuts, 2 Nos. best quality 12 mm dia, 300 mm and 225 mm long iron tower and socket bolts, hinged cleats, buffer blocks, screws and finished with sand papering in all floors etc. complete as per direction of the engineer-in-charge and standard practice. (All sizes of wood are finished) |  |
|  |  | sqm. | Tk. 2, 117.00 |
| 98. | Supplying, fitting and fixing 38 mm thick well matured natural seasoned (min 10" wide plank) wood glazed window shutters for all floors having horizontal and vertical sections of 87 x 38 mm and sash bar 38 x 38 mm fitted with 3 mm glass panes with putty and nails and provided with best quality 4 Nos. 75 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 250 mm and 150 mm long iron tower and socket bolts, nickel plated handles 225 mm long catch hooks or hinged cleats, buffer blocks, necessary screws and finished with sand papering for all floors etc. complete as per direction of the engineer-in-charge and standard practice. (All sizes of wood are finished) |  |
| (a) | For Kathal Wood | sqm. | Tk. 2, 158.00 |
| (b) | For Gaari / Chapalish Wood | sqm. | Tk. 2, 056.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 2, 303.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 2, 871.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 1, 939.00 |
| 99. | Supplying, fitting and fixing 38 mm thick well matured, seasoned (min 10" wide plank) wood window shutter one third glazed and two third raised paneling on both sides and 38 mm thick for all floors having horizontal and vertical sections of 87 mm x 38 mm and sash bars 38 x 38 mm fitted with 3 mm glass panes with putty and nails and provided with best quality 4 Nos. 75 mm iron hinges. 2 (two) Nos. best quality 12 mm dia 250 mm and 150 long iron tower and socket bolts, nickel plated handles, 225 mm long catch hooks or hinged cleats, buffer blocks and finished by sand papering for all floors etc. complete as per direction of the engineer-in-charge and standard practice. (All sizes of wood arE finished) |  |
| (a) | For Kathal Wood | sqm. | Tk. 3, 161.00 |
| (b) | For Gamari / Chapalish Wood | sqm. | Tk. 2, 979.00 |
| (c) | For Teak Chambal Wood | sqm. | Tk. 3, 423.00 |
| (d) | For Chittagong Teak Wood | sqm. | Tk. 4, 441.00 |
| (e) | For Chapalish Wood | sqm. | Tk. 2, 770.00 |
| 100. | Seasoning of timber in a bonafide mechanical timber seasoning plant up to a moisture content of 12% - 16% by weight as measured by a electric moisture meter or any other moisture measuring device etc. complete in all respect in/c loading, unloading, carriage at both ends as per direction of the engineer-in-charge. |  |
|  |  | cum | Tk. 5, 445.00 |
| 101. | Supplying, fitting and fixing steel glazed window shutter for all floors with frames as per design having 25 x 25 x 5 mm angle section for chowkat and shutters and 50 x 25 x 5 mm T- section used for vertical member and 25 x 5 mm F.I. bar for making box (combining with angle) and 25 x 19 x 5 mm Tee used for glass divider etc. including all cost of charges for welding, riveting etc. supplying all essential fittings, like iron hinges, plate handle, pin-stopper, adjustable cleat and clamps, fitting and fixing the frame in/c. supplying, fitting, fixing 3mm glass panes by pucca putty and making necessary holes in walls and R.C.C works and necessary fitting with C.C. (1:2:4) and mending good the damages in/c. all cost of carriage, workshop charges, electricity, and labour for fittings, fixing, curing etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm, | Tk. 1, 954.00 |
| 102. | Supplying, fitting and fixing steel glazed window shutter for all floors with frames as per design having 19 x19 x 19 x 3 mm Z-section in frame and 19 x 3 mm F.I. bar for making T-section for horizontal dividers of shutters and 25 x 3 mm F.I. bar for middle vertical members of frame including all cost of charges for fabrication and manufacture by welding riveting etc. supplying all essential fittings like 2 Nos. stopper, handle, 150 mm long 3 Nos. adjustable cleats, iron pins, hinges, 150 mm long 4 Nos. clamps, for fitting frame including supplying, fitting, fixing 3 mm glass panes by pucca putty and making necessary holes in brick and R.C.C. wall/member as necessary filling with C.C. (1:2:4) and mending good the damages including all cost of carriage, electricity, workshop charges and labour in fitting, fixing etc. all complete as per direction of the engineer-in-charge and as per drawing and design. |  |
| (a) | -do- with provision for fan-light (total wt of grill without glass panes is min 28.13 kg for 15 sft) |  |
|  |  | sqm. | Tk. 1, 308.00 |
| (b) | -do- without provision for fan-light (total wt of grill without glass panes is min 24.84 kg for 15 sft) |  |
|  |  | sqm. | Tk. 1, 231.00 |
| 103. | Manufacturing, supplying fitting and fixing of fixed glazed frame for all floors with outer member of 19 x 19 x 19 x 3 mm Z-section and vertical and horizontal dividers of 19 x 19 x 3 mm T-section including all cost of fabrication and welding, supplying and fixing of 19 x 19 x 3 mm angle clamps of 150 mm length (with one end bifurcated) of required Nos, with the frame, fixing the frame in wall with (1:2:4) cement concrete in the hole for clamp after making necessary grooves, supplying and fixing of 3 mm glass panes with pucca putty, mending good all damages, painting iron face with two coats of synthetic enamel paint over a coat of anti-corrosive priming to approved colour and quality etc. cost of electricity, workshop charges, carriage etc. all complete as per plan and direction of the engineer-in-charge. (Scope of work of this item is in staircase and over partition wall etc.) |  |
|  |  | sqm. | Tk. 1, 204.00 |
| 104. | Supplying, fitting and fixing 25 mm thick wooden double leaf fly proof wire mesh window shutter for all floors with 75 x 25 mm vertical and horizontal style and sash bar of 38 x 25 mm section provided with 24 B.W.G. G.I wire mesh netting of 20 mesh fitted and fixed with shutter by 12 x 12 mm wooden bit, brass screws, nails etc. in/c supply of all necessary fittings such as 2 Nos. 150 mm long brass tower and socket bolt of best quality 4 Nos. 75 mm brass hinges, heavy type 2 Nos. 150 mm long catch hook and 100 mm long brass handle 2 Nos. in/c fitting and fixing the same in position with frame with supply of necessary screws and nails etc. complete as per direction of engineer-in-charge |  |
| (a) | Kathal wood | sqm. | Tk. 1, 702.00 |
| (b) | Teak Chmbal wood | sqm. | Tk. 1, 795.00 |
| (c) | Ctg. Teak wood | sqm. | Tk. 2, 159.00 |
| 105. | Extra cost for using brass fittings in place of iron fittings in doors and windows for all floors as per direction of engineer-in-charge (Double-leaf). |  |
| (a) | For Doors | sqm. | Tk. 113.00 |
| (b) | For Windows | sqm. | Tk. 133.00 |
| 16. WINDOW GRILL, VERANDAH GRILL, NETTING |
| 106. | Supplying, fitting and fixing window grills made of 16 mm dia M.S. rod @ 100 mm c/c fitted with 3 (three) Nos. horizontal M.S. flat bar (38 x 6 mm) including fabrication, welding, riveting, cost of electricity, workshop charges, carriage, fixing with pre-placed clamps in walls/RCC member for all floors etc. complete as per direction of engineer-in-charge. (Total weight per sqm should be approx. 22.8 kg & add or deduct @ Tk. 9.04 for each kg excess or less respectively) |  |
|  |  | sqm. | Tk. 728.00 |
| 107. | Supplying, fitting and fixing window grills of any design made of mild steel section (20 x 3 mm) with outer frame of (25 x 6 mm) F.I. bar fabricating, welding, cost of electricity, workshop charges, carriage, fixing with pre-placed clamps in walls/RCC member, all necessary tools & plants etc complete for all floors as per direction of engineer-in-charge (Total weight per sqm should be min 15.20 kg. & add or deduct @ Tk. 9.04 for each kg. excess or less respectively) |  |
|  |  | sqm. | Tk. 689.00 |
| 108. | Supplying, fitting and fixing window and grills of any design made with 20 x 5 mm F.I. bar in/c fabricating, welding cost of electricity & tools & plants etc. complete for all floors as per direction of the engineer-in-charge. (Total weight per sqm should be min 24.25 kg. & add or deduct. @ Tk.9.04 for each kg. excess or less respectively) |  |
|  |  | sqm. | Tk. 704.00 |
| 109. | Supplying fitting, fixing window grills of any design made with 25 x 6 mm F.I. bar in/c fabrication, welding, cost of electricity workshop charges, carriage, cutting grooves, mending good the damages, tools & plants etc. complete for all floors as per direction of the engineer-in-charge. (Total weight per sqm should be min 42.88 kg. & add or deduct @ Tk.9.04 for each kg. excess or less respectively) |  |
|  |  | sqm. | Tk. 976.00 |
| 110 | Supplying, fitting and fixing M.S. verandah grills made of 10 mm dia M.S. rod @ 100 mm c/c both ways fitted with M.S. angles 25 x 25 x 6 mm outer frame including fabricating, welding in each point and painting two coats of synthetic enamel paint over a coat of priming in/c cost of electricity, tools & plants, workshop charges, carriage of the same, making holes for fitting the same, mending good the damages by cement concrete (1:2:4) in the hole for clamp as per drawing and design etc. all complete for all floors as per direction of the engineer-in-charge (Total weight per sqm should be min 46.57 kg. & add or deduct @ Tk.9.04 for each kg. excess or less respectively) |  |
|  |  | sqm. | Tk. 718.00 |
| 111. | Supplying, fitting and fixing veranda grill made of 10 mm dia M.S. rods provided 75 mm c/c in any position both ways as per design with outside frame 25 x 25 x 6 mm M.S. angle in/c fabricating welding in each point painting 2 coats of synthetic enamel paint over a coat of anti-corrosive priming in/c cost of electricity, tools & plants, workshop charges, carriage of the same in/c cutting groves in the R.C.C. or brick work, mending good the damages with C.C. (1:2:4) etc. complete for all floors as per direction of the engineer-in-charge. (Total weight per sqm should be min 57.68 kg. & add or deduct @ Tk.9.04 for each kg. excess or less respectively) |  |
|  |  | sqm. | Tk. 796.00 |
| 17. ALUMINIUM DOOR, WINDOW FRAME, TINTED GLASS |
| 112 | Supplying fitting and fixing of Aluminium composite swing doors as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.8 mm thick wall frame size 101.60 mm. 44.45 mm. 83.21 mm). 2.33 mm thick shutter size (54 mm, 46 mm), 0.99 mm thick door glass bit (size 16.54 mm. 14.49mm .115 kg/m), 2.5 mm thick clousure section (size 101.60 mm, 42.93 mm 1.5 mm), 106.60 mm clousure cover (0.45 kg/m), 4 mm thick floor bottom (size 101.60 mm. 12.70 mm 1 kg/m),1.8 mm thick shutter bottom (size 82.6 mm, 43.99 mm, 0.60 kg/m), 1.8 mm thick shutter top (size 51 mm, 43.99 mm, 1.88 kg/m) & 2.3 mm to 4.01 mm thick handle (size 101.60 mm, 38.10 mm, 25.40 mm short, 1.35 kg/m) section of all aluminum members will be anodized to Aluminium Bronze/Silver colour with a coat not less than 15 micrones in thickness and density of 4 mg per square cm etc. including all accessories like swing door clousure, swing door lock, swing door mohiar, labor charge, fabrication, fitting fixing in position, carriage & electricity charge keeping provision for fitting 5 mm thick glass including neoprene. sealant etc. complete in all respect as per drawing and direction of the engineer in-charge. (Total weight min 23 kg/m2) |  |
| (a) | Bronze color | sqm. | Tk. 3, 660.00 |
| (b) | Silver color | sqm. | Tk. 3, 467.00 |
| 113. | Supplying, fitting and fixing of Aluminium composite swing doors with fixed partition as per the U. S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick wall frame (size101.60, 44.45 mm, 0.86 kg/m), 1.8 mm thick shutter side (size 54 mm, 46 mm, 1.2 kg/m ), 1 mm thick door glass bit (size 16.54 mm, 14. 49 mm, 0.115 kg/m), 1.8 mm thick closure section (size 101.54 mm, 42.93 mm, 1.20 kg/m), 1.5 thick closure cover (101.60 mm, 0.45 kg/m), 4 mm thick floor bottom (size 101.60 mm, 12.70 mm, 1 kg/m), 1.8 mm thick shutter bottom (size 86.60 mm, 43.99 mm , 0.60 kg/m), 1.8 mm thick shutter top (size 51 mm, 43.99 mm, 1.88 kg/m) 2.3mm to 4.01mm thick handle (short) (size 101.60 mm, 38.10 mm, 25.40 mm, 1.35 kg/m), 1.5 mm thick top and side (size 101.60 mm, 44.45 mm, 1.3 kg/m), 1.50 mm thick bottom (size 101.35 mm, 44.45 mm, 1.10 kg/m), 1.50 mm thick bottom cover (44.32 mm, 19.61mm, 0.392 kg/m), 1.50 mm thick grouve cover size 83.21 mm, 16.00 mm, 0.57 kg/m), 0.99 mm thick fixed glass protector (size 39.09 mm, 14.81 mm, 0.188 kg/m), 0.99 mm thick fixed glass protector bit (size 15.75 mm, 14.81 mm, 0.13 kg/m) section of all Aluminium members will be anodized to Aluminium Bronze/Silver colour with a coat not less 15 microns in thickness and density of 4 mg per square cm etc. (Total weight min 69.699 kg) keeping provision for 5mm of glass panes with cost including all accessories like swing door clouser, swing door lock , swing door mohair , flush bolt , bolts & nuts in/c sealants, labor charge for fitting , fixing by angles, screws, mohiar, washer, machinery, cost of fabrication, making the grooves, mending good the damages, electricity etc. complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | Bronze color | sqm. | Tk. 1, 964.00 |
| (b) | Silver color | sqm. | Tk. 1, 839.00 |
| 114. | Supplying, fitting and fixing of Aluminium sliding doors as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick outer bottom (size 75.50 mm, 17.79 mm, 0.528 kg/m), 1.5 mm thick outer top (size 75.50 mm, 26.80 mm, 0.78 kg/m) 1.5 mm thick shutter top (size 33 mm, 26.80 mm, 0.536 kg/m), 1.5 mm shutter bottom (size 60 mm, 24 mm, 0.736 kg/m), 1.5 mm thick outer side(size 75.50 mm, 19.90 mm,0.616 kg/m) 1.5 mm thick shutter lock (size 49.20 mm, 26.20 mm, 0.661 kg/m), 1.5 mm thick inter lock (size 34.40 mm, 32.10 mm, 0.665 kg/m), 1.5 mm thick shutter divider (size 31.75 mm, 0.535 kg/m) sections all Aluminium members (Total weight 14.789 kg) will be anodized to Aluminium Bronze/Silver colour with a coat not less than 15 micrones in thickness and density of 4 mg per square cm etc. including all accessories like handle, sliding door key lock , sliding door wheel, sliding door mohiar, sliding door neoprene, bolts & nuts in/c sealants, keeping provision for fitting 5mm thick glass including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer in-charge. Size: 2100 mm x 2100mm |  |
| (a) | Bronze color | sqm. | Tk. 1, 488.00 |
| (b) | Silver color | sqm. | Tk. 1, 379.00 |
| 115. | Supplying, fitting and fixing of Aluminium sliding doors as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 m mm thick outer bottom (size 75.50 mm, 17.79 mm, 0.528 kg/m), 1.5 mm thick outer top (size 75. 50 mm, 26.80mm 0.78 kg/m), 1.5 mm thick shutter top (size 33 mm, 26.80 mm, 0.536 kg/m), 1.5 mm thick shutter bottom (size 60 mm, 24 mm, 0.736 kg/m), 1.5 mm thick side (size 75.50mm, 19.90 mm, 0.616 kg/m), 1.5 mm thick sliding fixed side (31 mm, 26 mm , 0.422 kg/m) 1.5 mm thick shutter lock (size 49.20 mm , 26. 20 mm , 0.661 kg/m), 1.5 mm thick inter lock (size 34.40 mm, 32.10 mm, 0.665 kg/m) 1.5 mm thick shutter divider (size 31.75 mm, 0.535 kg/m) and 1.4 mm to 1:5mm thick spandrel (7.14 mm, 0.70 kg/m) sections all Aluminium members (Total weight 19.72 kg) will be anodized to Aluminium Bronze/Silver colour with a coat not less than 15 microns in thickness and density of 4 mg per square cm etc. including all accessories like sliding door key lock, sliding door wheel , sliding door mohiar, sliding door neoprene, bolts & nuts in/c sealants, keeping provision for fitting 5mm thick glass including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  | Size: 1800 mm x 2100 mm |  |  |
| (a) | Bronze color | sqm. | Tk. 1, 923.00 |
| (b) | Silver color | sqm. | Tk. 1, 790.00 |
| 116. | Supplying, fitting and fixing of Aluminium sliding window as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick outer bottom (size 75.50 mm, 32mm), 1.5 mm thick outer top (size 75.50 mm, 16.80 mm), 1.5 mm thick shutter top (size 33 mm.26.80, 22 mm), 1.5 mm thick shutter bottom (size 60mm, 24.40 mm), 1.5 mm thick outer side(size 75.50 mm,19.90 mm), 1.5 mm thick sliding fixed side (size 31 mm, 26 mm),1.5 mm thick shutter lock (size 49.20 mm 26.20 mm) & 1.5 mm thick inter lock (size 34.40 mm, 32.10 mm) sections all Aluminium members (Total weight kg/sqm) will be anodized to Aluminium Bronze/Silver color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories like sliding door key lock, sliding door wheel, sliding door mohiar, sliding door neoprene, bolts & nuts in/c sealants, keeping provision for fitting 5 mm thick glass including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  | Size: 1500mm x 1400 mm. (total weight minimum 9.081 kg) |  |  |
| (a) | Bronze color | sqm. | Tk. 1, 902.00 |
| (b) | Silver color | sqm. | Tk. 1, 751.00 |
|  | Size: 900 mm x 1400 mm (total weight minimum 7.409 kg) |  |  |
| (c) | Bronze color | sqm. | Tk. 2, 607.00 |
| (d) | Silver color | sqm. | Tk. 2, 428.00 |
| (e) | Supplying, fitting and fixing of Aluminium sliding composite window with mosquito mesh as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick outer bottom (size 95.00 mm, 38 mm, 0.870 kg/m), 1.5 mm thick outer top (size 95.00 mm, 28.50 mm, 0.97kg/m), 1.5 mm thick shutter top (size 33 mm, 26.80 mm, 22 mm, 0.536 kg/m), 1.5 mm thick shutter bottom (size 60 mm, 24.40 mm, 0.736 kg/m), 1.5 mm thick outer side (size 95.00 mm, 19.50 mm , 0.738 kg/m), 1.5 mm thick shutter lock (size 49.20 mm, 26.2 mm, 0.661 kg/m), 1.5 mm thick shutter lock (size 34.40 mm, 32.10 mm, 0.665 kg/m), 1.5 mm thick mesh section (size 42.20 mm, 13.20 mm 0.460 kg/m), all Aluminium members (Total weight 12.79 kg) will be anodized to Aluminium Bronze color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories like sliding door key lock, sliding door wheel, sliding door mohiar, sliding door neoprene, bolts & nuts in/c sealants, keeping provision for fitting fiber mesh including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  | Bronze color Size up to: 1524 mm x 1372 mm | sqm. | Tk. 2, 764.00 |
| (f) | -do- silver color (Total weight 12.279 kg) Size up to: 1524 mm x 1372 mm | sqm. | Tk. 2, 576.00 |
| (g) | -do- Bronze color (Total weight 11.429 kg) Size up to: 1280 mm x 1372 mm | sqm. | Tk. 3, 024.00 |
| (h) | -do- silver color (Total weight 11.429 kg) Size up to: 1280 mm x 1372 mm | sqm. | Tk. 2, 814.00 |
| (i) | -do- Bronze color (Total weight 5.752 kg) Size up to: 762 mm x 610 mm | sqm. | Tk. 5, 785.00 |
| (j) | -do- silver color (Total weight 5.752 kg) Size up to: 762 mm x 610 mm | sqm. | Tk. 5, 389.00 |
| 117. | Supplying, fitting and fixing of Aluminium fixed composite window as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick outer bottom (size 75.50 mm, 32 mm, 0.695 kg/m), 1.5 mm thick outer top (size 75.50mm, 26.80 mm, 0.78 kg/m), 1.5 mm thick shutter top (size 33 mm, 26.80 mm, 0.536 kg/m), 1.5 mm thick shutter bottom (size 60 mm, 24.40 mm, 0.736 kg/m), 1.5 mm thick outer side (size 75.50 mm, 19.90 mm, 0.616 kg/m), 1.5 mm thick sliding fixed side (size 31 mm, 26 mm, 0.422 kg/m), 1.5 mm thick shutter lock (size 49.20 mm, 26.20 mm, 0.661 kg/m), 1.5 mm thick inter lock (size 34.40 mm, 32.10 mm 0.665 kg/m) 1.5 mm thick bottom cover (size 37.78 mm, 31.78 mm, 0.313 kg/m), 1.5 mm thick grouve cover (76.20 mm, 38.10 mm, 0.912 kg/m), 1.5 mm thick grouve cover ( size 57.15 mm, 15.80 mm, 0.452 kg/m) and 1.5 mm thick top & side (size 76.20 mm, 38.10 mm, 0.3 kg/m) sections all Aluminium members (Total weight 12.297 kg) will be anodized to Bronze/Silver color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories like sliding door key lock, sliding door wheel, sliding door mohiar, sliding door neoprene, bolts & nuts in/c sealants, keeping provision for fitting 5mm thick glass including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  | Size: 1500mm x 2100 mm. |  |  |
| (a) | Bronze color | sqm. | Tk. 2, 063.00 |
| (b) | Silver color | sqm. | Tk. 1, 800.00 |
| 118. | Supplying, fitting and fixing of Aluminium top hung/casement windows as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick casement outer (size 38.86 mm, 36.36 mm, 0.395kg/m), 1.9 mm thick casement shutter (size 47.62 mm, 28.57 mm, 0.692 kg/m), & 1.245 mm thick shutter glass clip (size 15.87 mm, 27 mm, 0.188 kg/m) sections of all Aluminium members will (Total weight 7.584 kg) be anodized to Aluminium Bronze/Silver color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories 4-bar hinge, casement handle, bolts & nuts keeping provision for fitting 5 mm thick glass including labour charge for fitting of accessories, making grooves & mending good damages, carriage, and electricity complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | Bronze color | sqm. | Tk. 4, 301.00 |
| (b) | Silver color | sqm. | Tk. 4, 213.00 |
| 119. | Supplying fitting and fixing of Aluminium corrugated curtain wall as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5 mm thick bottom cover (size 37.78 mm 31.78 mm, 0.313 kg/m), 1.5 mm thick grouve cover (size 76.20 m 38.10 mm, 0.912 kg/m), 1.5 mm thick grouve cover (size 57.15 mm, 15.80 mm 0.45 kg/m), 1.5mm thick top & side (size 76.2 mm, 57.15 mm, 0.153 kg/m) & 1.8 mm thick spandrel (7.14 mm, 0.70 kg/m) sections of all Aluminium members will be anodized to Aluminium Bronze/Silver color with a coat not less than 15 micron in thickness and density of 4 mg square cm etc. including all accessories like rivet, screws fixed neoprene etc. complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  | Size: 3000 mm x 2100 mm (Total weight 50.228 kg) |  |  |
| (a) | Bronze color | sqm. | Tk. 2, 740.00 |
| (b) | Silver color | sqm. | Tk. 2, 575.00 |
|  | Size : 3000 mm x 750 mm (Total weight 26.136 kg) |  |  |
| (c) | Bronze color | sqm. | Tk. 3, 277.00 |
| (d) | Silver color | sqm. | Tk. 2, 970.00 |
| 120. | Supplying fitting and fixing of Aluminium fixed fan light as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification mm, 0.313 kg/m) 1.5 mm thick bottom cover (size 76.2 mm, 38.10 mm, 0.76 kg/m) & 2.5 mm thick grouve cover section (size 57.15mm, 15.80 mm, 0.425 kg/m) and 1.5 thick top & side section (76.20 mm, 16 mm, 38.10 mm, 0.961 kg/m) fixed with above mentioned frames and all Aluminium members (Total weight 5.365kg) will be anodized to Aluminium Bronze/Silver color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories, neoprene, sealant, nut & bolt etc. complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | Bronze color | sqm. | Tk. 2, 255.00 |
| (b) | Silver color | sqm. | Tk. 2, 035.00 |
| 121. | Supplying fitting and fixing of Aluminium fixed louver as per the U.S. Architectural Aluminium Manufacturer’s Association (AAMA) standard specification having 1.5mm thick wall frame (size 76.20 mm, 38.10 mm, 0.707 kg/m), 5 mm thick louver section (size 55.02 mm, 37.39 mm, 0.22kg/m) & 2.50 mm thick louver outer section (size 39.67 mm, 15.06 mm, 0.265 kg/m) and inner inclined Aluminium louver section fixed with above mentioned frame and all Aluminium members (Total weight 7.992 kg) will be anodized to Aluminium Bronze/silver color with a coat not less than 15 micron in thickness and density of 4 mg per square cm etc. including all accessories, neoprene, sealant, nuts & bolts etc. complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | Bronze color | sqm. | Tk. 3, 114.00 |
| (b) | Silver color | sqm. | Tk. 2, 872.00 |
| 122. | Supplying, fitting and fixing in Aluminium door frames Partitions/ windows distortion free foreign made 5 mm thick glass of approved quality and shade including cost of fitting fixing all necessary accessories etc. complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | Bronze color | sqm. | Tk. 820.00 |
| (b) | Silver color | sqm. | Tk. 579.00 |
| 18. CEMENT PLASTER, POINTING WORK, WASHING WORK |
| 123(a-i) | Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement (conforming to BDS 232) to wall both inner-and outer surface, finishing the corner and edges in/c washing of sand cleaning the surface, scaffolding and curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 98.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 123(a-ii) | Minimum 12 mm thick cement sand (F.M. 1.2) plaster with neat cement finishing to plinth wall (1:4) with cement (conforming to BDS 232) up to 150 mm below ground level with neat cement finishing in/c washing of sand, finishing the edges and corners and curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 113.00 |
| 123(a-iii) | Minimum 12 mm thick cement sand (F.M. 1.2) plaster with neat cement finishing to dado (1:4) with cement (conforming to BDS 232) up to 150 mm below ground level with neat cement finishing in/c washing of sand, finishing the edges and corners and curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 122.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 123(b) | Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:6) having with fresh cement (conforming to BDS 232) to wall both inner-and outer surface, finishing the corner and edges in/c washing of sand cleaning the surface, scaffolding and curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 89.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 123(c) | Minimum 6 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement (conforming to BDS 232) to ceiling R.C.C. columns, beams, surface of stair case, sunshades, cornices, railings, drop wall, louvers, fins and finishing the corners and edges in/c washing of sand cleaning the surface, scaffolding and curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 80.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 123(d) | -do- cement sand (F.M. 1.2) plaster (1:3) in walls |  |  |
| (i) | Ground floor. | sqm. | Tk. 85.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 124 | Flush pointing to brick wall with cement sand (F.M. 1.2) mortar (1:2) with cement having (conforming to BDS 232) in/c raking out the joints, and necessary scaffolding curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 50.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 125. | Rule pointing to brick wall with cement sand (F.M. 1.2) mortar (1:2) with fresh cement (conforming to BDS 232) and raking out the joints, scaffolding, curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 63.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 126. | Raised / tack pointing work to brick wall with cement sand (F.M. 1.2) mortar (1:2) with fresh cement (conforming to BDS 232) minimum 12 x 20 mm in size in/c. raking out the joints and necessary scaffolding, curing at least for 7 days, cleaning each and every brick, cutting the bricks with pumic stone where necessary etc. all complete in all floors, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | sqm. | Tk. 154.00 |
| (ii) | Add for each additional floor up to 5th floor. | sqm. | Tk. 4.26 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | sqm. | Tk. 6.38 |
| (iv) | Add for each additional floor above 9th floor | sqm. | Tk. 8.51 |
| 127. | Providing drip course/ Nosing/ throating at the edge of sunshade or cornice with cement sand (F.M. 1.2) mortar (1:2) with fresh cement (conforming to BDS 232) in/c. scaffolding, curing at least for 7 days, cost of water, electricity & other charges etc. all complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (i) | Ground floor. | rm. | Tk. 37.00 |
| (ii) | Add for each additional floor up to 5th floor. | rm. | Tk. 1.30 |
| (iii) | Add for each additional floor from 6th floor to 9th floor | rm. | Tk. 1.95 |
| (iv) | Add for each additional floor above 9th floor | rm. | Tk. 2.59 |
| 128. | White washing by three coats, lime mixture prepared at least 12 hours before use, slacking stone lime, supply of gums, blue, stirring thoroughly, removing the floating materials from the mixer, surface cleaning to free from all foreign materials before application of each coat, applying one vertical & one horizontal wash for each coat & successive coat is to be applied after drying up of previous coat in/c hair brass, providing necessary scaffolding and cleaning plinth, floors, doors, windows, portions & ventilators by washing, rubbing, oiling if necessary after white wash for all floors in/c cost of water, electricity & other charges etc. complete in all respect as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 6.35 |
| 129. | Color wash with yellow orchard/any other color pigment by two coats over a prime coat of white wash, lime mixture prepared at least 12 hours before use, slacking stone lime, supply of gums, blue, stirring thoroughly, removing the floating materials from the mixer, surface cleaning to free from all foreign materials before application of each coat, applying one vertical & one horizontal wash for each coat & successive coat is to be applied after drying up of previous coat in/c hair brass, providing necessary scaffolding and cleaning plinth, floors, doors, windows, portions & ventilators by washing, rubbing, oiling if necessary after white wash for all floors in/c cost of water, electricity & other charges etc. complete in all respect as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 7.43 |
| 19. PAINTING, DISTEMPERING, POLISHING & VARNISHING |
| 130. | Cement Paint of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container, made from water based powder mixed with water (1:1), applying first coat, curing the same after six hours for 24 hours, second coat applied and curing the same for 7 (seven) days etc, taking care and cleaning the surface fully from grease, oily substances, old paints, lime wash, fungus, algae etc., sand papering the surface before applying 1st and 2nd coat, complete in/c cost of electricity, water & other changes as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 57.00 |
| 131. | Painting to door and window frames and shutters in two coats with approved best quality and colour of synthetic enamel paint delivered from authorized local agent of the manufacturer in a sealed container, having highly water resistant, high bondibilty, flexible, using specific brand thinner applied by brass/roller/spray over a coat of priming elapsing time for drying including surface cleaning from dust, oil or dirt, smoothening, finishing and polishing with sand paper and necessary tools, scaffolding, testing charges etc. all complete in all floors. |  |
|  |  | sqm. | Tk. 82.00 |
| 132. | Approved best quality and colour synthetic polyvinyl distemper delivered from authorized local agent of the manufacturer in a sealed container, applying to wall & ceiling in 2 coats over a coat of brand specified primer or sealer elapsing specified time for drying/ recoating matt finish including cleaning and sand papering making the surface free from loose and flaky materials, dirt, grease, wax, polish, scraping all chalked & scaled materials, applying the paint by brush/roller and necessary scaffolding etc. all complete in all floor as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 69.00 |
| 133. | Plastic emulsion paint of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container, applying to wall and ceiling in two coats over a coat of brand specified primer or sealer elapsing specified time for drying/recoating including cleaning drying, making free from dirt, grease, wax, removing all chalked & scaled materials, fungus, mending good the surface defects, sand papering the surface and necessary scaffolding, spreading by brush/ roller/spray etc. all complete in all floor as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 76.00 |
| 134. | Acrylic emulsion painting (silky finish) of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container, applying to wall and ceiling in two coats over a coat of brand specified primer or sealer including cleaning. drying, making free from loose and flaky materials, dirt, grease, wax, removing all chalked & scaled materials, fungus, elapsing specified time for drying, re-coating, flaking paints, mending good the surface defects, sand papering the surface, smoothing by putty and necessary scaffolding, testing charges, applied by brush/roller/spray etc. all complete in all floor as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 80.00 |
| 135. | Textured paint of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container, applying to wall and ceiling including cleaning, drying, making free from dirt, grease, wax, removing all chalked & scaled materials, fungus if required must be treated with fungicidal solution, flaking paints, mending good the surface defects, sand preparing the surface and necessary scaffolding, applied by brush/roller/spray etc. all complete in all floor as per direction of engineer-in- charge. |  |
|  |  | sqm. | Tk. 288.00 |
| 136. | Jensoline chlorinated rubber paint of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container, applying to concrete surfaces and walls in three coats elapsing specified time for drying and re-coating including cleaning, drying, making free from dirt, grease, wax, removing all chalked & scaled materials, fungus (if required must be treated with fungicidal solution) flaking paints, washing the surface with soap water/caustic soda, mending good the surface defects, smoothening the surface by putty sand papering the surface and necessary scaffolding, applied by brush/roller/spray etc. all complete in all floor as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 122.00 |
| 137. | French polishing to door and window frames and shutters three coats over a coat of priming including putty, cleaning finishing and polishing with sand paper etc. all complete in all floor. |  |
|  |  | sqm. | Tk. 75.00 |
| 138. | Wood varnishing of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container using brand specified thinner to door and window frame and shutter in three coats, applied with brush including cleaning oil, grease, dirt, making dry, sand papering, if required washing with weak detergent solution, stripping out the colour straps, finishing the surface, etc. all complete in all floors as per direction of the engineer-in-charge. |  |
| (a) | Varnish (Yacht) | sqm. | Tk. 68.00 |
| (b) | Varnish (Egg shell) | sqm. | Tk. 72.00 |
| (c) | Varnish (Matt) | sqm. | Tk. 65.00 |
| 20. DRAIN AND APRON |
| 139. | Constructing surface drain of 300 mm clear width and depth up to 300 mm in brick masonry with 125 mm thick check wall in cement sand (F.M. 1.2) mortar (1:6) over av. 75 mm thick cement concrete base (1:3:6) over one layer of brick flat soling. The surface having minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:3) and neat cement finishing with cement (conforming to BDS 232), curing at least for 7 days in/c excavation in all kinds of soil, back filling with fine sand (F.M. 0.8), consolidating and dressing, cost of water, electricity, other charges as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 541.00 |
| 140. | Constructing surface drain of 600 mm (Av) depth and 225 mm clear width at the bottom and 525 mm at the top having 125 mm thick cement concrete (1:2:4) curb up to 300 mm from the bottom over one layer of polythene on top brick flat soling and the side slopes of the remaining 300 mm height provided with 125 mm thick 1st class brick work in cement mortar (1:6) in/c minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:3) in/c neat cement finishing the surfaces and back of the drain up to 150 mm below ground level with fresh cement (conforming to BDS 232) curing at least for 7 days in/c excavation of all kinds of soil, back filling with fine sand (F.M. 0.8) consolidating and dressing, in/c cost of water, electricity, other charges as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 1117.00 |
| 141. | Providing apron with 50 mm thick cement concrete (1:2:4) with cement (conforming to BDS 232), coarse sand and picked jhama chips in/c breaking chips and one layer brick flat soling at bottom with 1st class or picked jhama bricks in/c cutting earth for preparation of bed and filling the interstices with local sand (F.M. 0.8) in/c finishing, dressing, curing at least for 7 days etc. all complete, in/c cost of water, electricity, other charges as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 387.00 |
| 142(a) | Supplying, laying, fitting and best quality fixing 225 mm dia (internal) machine made R.C.C. pipe over 100 mm thick cement concrete (1:3:6) at base and sides in/c single brick flat soling and gasket with cement mortar (1:4) joints, cutting and filling trenches up to required depth in/c excavation of soil etc. all complete in all respects as per type plan and as per direction of the engineer-in-charge (average depth of trench is 3'-6"). |  |
|  |  | rm. | Tk. 792.00 |
| 142(b) | do- with 300 mm dia (internal) R.C.C. pipe. | rm. | Tk. 1, 103.00 |
| 21. FALSE CEILING, WALL PANELING |
| 143(a). | Supplying, fitting and fixing plain particle board ceiling of 12 mm thick with best quality and well seasoned Garjan wood frame of section 75 x 38 mm at 600 x 600 mm in grid suspended from ceiling /roof or beam by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical strut as required in/c cutting holes in slabs or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost and carriage of all materials, accessories, labour for installation, electricity charge, scaffolding, screws, nails etc. in/c. painting 2 coats over a coat of priming with best quality & approved color synthetic enamel as per item no 131 of this schedule of etc. all complete as per drawing design and direction of the engineer-in-charge (all sizes of wood are finished) |  |
|  |  | sqm. | Tk. 1, 129.00 |
| 143(b) | Supplying, fitting and fixing plain particle board ceiling of 12 mm for auditorium and other type of tall structures beyond 4 m up to 8 m, which do not cover the above item (Item No. 143(a). Description of item is the same as in item No. 143(a) above. |  |
|  |  | sqm. | Tk. 1, 206.00 |
| 143(c) | Supplying, fitting and fixing of 12 mm thick melamine board laminated by mechanical hot press with a milk white PVC membrane with aluminum frame suspended from ceiling. |  |
|  |  | sqm. | Tk. 752.00 |
| 144(a) | Supplying, fitting and fixing gypsum board ceiling of 12 mm thick board laminated by mechanical hot press with a milk white PVC membrane with Aluminium T-bar frame in natural anodized finish at 600 x 600 mm in grid suspended from ceiling by 12 SWG double ply wire fixed to the ceiling by rowel plug, screws, hooks, nails etc. maintaining straight lines and desired finished level a bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, electricity .accessories, scaffoldings, labour for installation, screws, nails, etc. all complete as per drawing, design and direction of the engineer-in-charge |  |
|  |  | sqm. | Tk. 1, 151.00 |
| 144(b) | -do- with 12 mm thick veneered board ceiling. | sqm. | Tk. 1, 124.00 |
| 145(a) | Supplying, fitting and fixing 12 mm thick BT Veneered board in walling with best quality and well seasoned Garjan wood frame of section 75 x 38 mm at 600 x 600 mm in grid, fitted and fixed to wall by plugs, nails, screws etc. in/c treatment of inner surface with termite & damp proofing agent maintaining leveled and finished exposed faces in/c. making holes in wall and mending good the damages. If any, during execution of the work in/c. cost and carriage of all materials, electricity, accessories, labour for installation, scaffolding, screws, nails etc. in/c French polishing 3 coats over a coat of priming as per item No. 137 of the schedule etc. all complete as per design, approved sample and direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 1, 652.00 |
| 145(b) | -do- 12 mm thick particle board walling | sqm. | Tk. 954.00 |
| 22. COLLAPSIBLE GATE, M.S. GATE, ROLLING SHUTTER ETC. |
| 146(a) | Manufacturing, supplying, fitting and fixing collapsible gate of any design & shape made of 3/4" x 3/8" x 1/8" channel placed @ 112 mm c/c vertically and connecting the same with each other by 20 x 3 mm M.S flat bar scissors 525 mm/ 600 mm long provided in 3 rows in/c cutting the different M.S. members to required sizes, fabricating, welding, riveting with required size rivets, providing required size wheels, pulling handles on both sides, suitable locking arrangement, electrodes, grease and finally placing the same in position in between 2 (two) Nos. 50 x 50 x 6 mm M.S. Tee rail made by welding 2 Nos. 50 x 6 mm M.S. flat bar fitted and fixed at top and bottom with R.C.C. lintel/roof slab, floors and side wall with required Nos. 150 mm to 225 mm long 38 x 6 mm M.S. flat bar clamps one end welded with the gate member and the other end bifurcated and embedded in C.C. at the respective point in/c cutting holes and mending good the damages by pouring concrete (1:2:4) into the holes & finishing, etc complete, painting 2 (two) coats with approved best quality synthetic enamel paint over a coat of anticorrosive painting, both end carriage, in/c greasing, electrodes, curing etc. complete as per drawing & design per direction of the engineer-in-charge (rate is excluding the cost of paint). |  |
|  |  | sqm. | Tk. 1, 200.00 |
| 146(b) | -do- collapsible gate made of 3/4" x 3/4" x 1/8" M.S. angle as vertical member and 3/4" x 1/8" F.I bar as scissors | sqm | Tk. 1, 382.00 |
| 146(c) | -do- collapsible gate made of 1" x 1" x 1/8" M.S. angle as vertical member and 1" x 1/8" F.I bar as scissors | sqm. | Tk. 1, 644.00 |
| 147(a) | Supplying, fitting, fixing, and installation of ordinary type M.S. gate (double leaf) of any design & shape with 38 x 38 x 6 mm M.S. Angle outer frame having 16 mm dia M.S. rod placed vertically @ 75 mm c/c. at bottom part and top part (arrows) and also placed horizontally at bottom for interconnection of 16 mm dia M.S. rod placed vertically as per design, the top part covered with 18 BWG M.S. sheet and fixed with 4 Nos. 38 x 6 mm F.I. bars placed diagonally and 4 Nos. 38 x 6 mm F.I. bars placed horizontally and vertically all passing through the center, providing locking arrangements on 3 mm thick M.S. plate one for main gate and one for minimum 300 x 1025 mm pocket gate with 38 x 38 x 6 mm M.S. angle and 16 mm dia M.S. rod placed vertically @ 75 mm c/c, providing 38 x 38 x 6 mm M.S. angle clamps fitted and fixed with the outer frame of the main gate, the clamp being embedded in R.C.C. or R.C.C. core pillar with cement concrete (1:2:4) in masonry in/c cutting holes and mending good the damages, finishing, curing etc. in/c riveting, welding as and where necessary ,painting two, coats with approved quality of synthetic enamel paint over a coat of priming of anti-corrosive paint etc. all complete as per drawing, design and direction of the engineer-in-charge. (rate is excluding the cost of paint). |  |
|  |  | sqm. | Tk. 2, 017.00 |
| 147(b) | Supplying, fitting, fixing, and installation of ordinary type M.S. security gate of any design & shape with 50 x 50 x 6 mm M.S. angle outer frame and two 50 x 50 x 6 mm angle placed diagonally having 22 mm dia M.S. rod placed vertically @ 3.60 mm c/c. and also 38 x 6 mm F.I placed horizontally the bottom part covered with 3 mm thick M.S. sheet providing locking arrangements on 3 mm thick M.S. plate providing heavy type clamps fitted and fixed with the outer frame of the main gate, the clamp being embedded in R.C.C. or R.C. core pillar with cement concrete (1:2:4) in masonry in/c cutting holes and mending good the damages, finishing, curing etc. in/c fabrication, riveting, welding as and where necessary, etc. all complete as per drawing, design and direction of the engineer-in-charge. (rate is excluding the cost of paint). |  |
|  |  | sqm. | Tk. 3, 534.00 |
| 148. | Supplying, fitting, fixing and installation of ordinary type M.S. gate (double leaf) of any design & shape with 38 x 38 x 6 mm M.S. angle framing the top and bottom parts provided with 25 x 6 mm F.I. bar placed vertically @ 150 mm c/c and the middle part is covered with 18 BWG M.S. sheet and fixed with 4 Nos. 38 x 6 mm F.I. bar placed diagonally and 4 Nos. 38 x 6 mm F.I. bars placed horizontally and vertically, all passing through the center as design in/c locking arrangement on 3 mm thick M.S. plate, providing 38 x 38 x 6 mm M.S. angle clamps fitting and fixed with the outer frame of the gate, the clamp being embedded in the R.C.C. or R.C.C. core pillar with cement concrete (1:2:4) in masonry in /c cutting holes and mending good the damages, finishing, curing in/c riveting, welding as and where necessary, painting 2 (two) coats of synthetic enamel paint over a coat of anti-corrosive paint etc. all complete as per drawing, design and direction of the engineer-in-charge. (rate is excluding the cost of paint). |  |
|  |  | sqm. | Tk. 1, 780.00 |
| 149. | Supplying, fitting, fixing and installation ordinary type M.S. gate (double leaf) of any design & shape with 38 x 38 x 6 mm M.S. angle box (made by welding 2 Nos. 38 x 38 x 6 mm angle) outer frame having 25 x 50 x 25 x 5 mm M.S. channel (made by welding 2 Nos. of angle) placed part diagonally after cutting and shaping as per requirement part horizontally @ 75 mm C/C the two part of each leaf being separated by a vertical member of 38 x 38 x 6 M.S. box and welded the each ends of diagonal and horizontal members properly with the box frame as per architectural drawing providing full locking arrangement on 3 mm thick M.S. plates providing 38 x 38 x 6 mm M.S. angle clamps, fitting fixing with the outer frame of the gate the clamp being embedded in R.C.C. pillars with cement concrete (1:2:4) in/c. cutting holes and mending good the damages, finishing, curing and where necessary painting two coats with approved quality of synthetic enamel paint over a coat of priming of anticorrosive paint etc. all complete including making and providing 50 x 6 mm M.S. rail and 38 mm wheel for smooth movement of the gate etc. all complete as per drawing, design and direction of the engineer-in-charge. (rate is excluding the cost of paint) |  |
|  |  | sqm. | Tk. 2, 691.00 |
| 150. | Manufacturing, supplying, fitting and fixing G.I. pipe gate of any design & shape having 38 mm dia G.I. pipe outer frame and 19 mm dia. G.I. pipe vertical member placed @ 75 mm c/c by welding at top and bottom of G.I. pipe frame, cutting the pipes in proper shape and size in/c making semicircular band at the corners of the outer frame without damaging the pipe, covering 50% of the gate area with 18 BWG M.S. sheet, providing also two extra horizontal 38 mm dia G.I. pipes welded with vertical post, providing 6 Nos. huskle domney with R.C.C. or R.C.C core pillar with cement concrete (1:2:4) in masonry in/c cutting holes, mending the damages, making provision for minimum 0.61 m x 1.4 m pocket gate having its outer frame and inner vertical members made with 19 mm dia G.I. pipe in/c necessary locking arrangements. Painting the gate with 2 (two) coats of synthetic enamel paint over a coat of anti-corrosive priming, welding as and where necessary in/c necessary locking arrangement and providing 2 Nos. 16 mm M.S. socket bolts etc. all complete as per design and drawing. (rate is excluding the cost of paint) |  |
|  |  | sqm. | Tk. 3, 924.00 |
| 151 | Supplying, fitting and fixing of rolling shutter of any design & shape made of 24 SWG G.P, sheet unit minimum 69 mm width having 10 mm & 12 mm dia circular folding at ends ,rolled in machine, locked together properly to form rolling shutter, top of the shutter to be fitted with circular spring box made of 22 BWG sheet, containing best quality spring made in China, nutted with 38 mm G.I. pipe at one end and the other end nutted to shutter in/c fitting the G.I. pipe again with 375 x 300 x 6 mm pankha at ends with side guide channel (side channel consist of 50 x 100 x 6 mm M.S. plate with 2 x 19 x 3 mm F.I. bar, middle channel consist of 2 x 150 mm x 6 mm M.S. plate with 2 x19 mm x 6 mm fixed to wall or column with clamps embedded in R.C.C. part by cement concrete (1:2:4) in/c cutting holes (minimum 3 x 25 mm x6 mm) mending the damages, finishing, curing, bottom end of shutter fitted to folded G.P. sheet (min 125 mm width in two layers), which is again fitted to 25 x 25 x 3 mm angle, providing handle (with F.I. bar 25 x 6 mm riveted) and locking arrangement in both sides, painting two coats with approved color and brand of synthetic enamel paint over a coat of priming etc. complete in all respect as per drawing design. Rolling shutter must be riveted at sides with G.P. sheet and patty) (rate is excluding the cost of paint) |  |
|  |  | sqm. | Tk. 1, 744.00 |
| 23. STAIR RAILING & VERANDAH RAILING |
| 152. | Manufacturing, supplying, fitting and fixing stair railing of any standard height of any design & shape with square box (2 Nos. in each tread) made by thorough welding of 2 Nos. 19 x 19 x 3 mm M.S. angle to provide hand-rail, engraving each box 150 mm in the concrete by 50 x 50 x 6 mm anchor plate at base welding 38 mm x 6 mm F.I. bar inclined plain with the top of the box to fit in the grooved wooden rail by necessary screws in/c cutting grooves in concrete, mending good the damages with cement concrete (1:2:4), applying 1st class polish to hand rail, 2 (two) coats of synthetic enamel paint of approved quality over a prime coats of synthetic enamel paint of approved quality over a prime coat etc. finished in all respect for all floors, (exposed area of railing will be considered for measurement, rate is excluding cost of hand-rail & cost of paint). |  |
|  |  | sqm. | Tk. 1, 357.00 |
| 153. | Manufacturing, supplying, fitting and fixing stair railing of standard height of any design & shape with square box (1 No. box in each tread) made by thorough welding of 2 Nos. 25 x 25 x 5 mm M.S. angle, engraving each box 150 mm in the concrete by 50 x 50 x 6 mm anchor plate at base welding 50 x 50 x 6 mm F.I. bar in inclined plain with the top of the box fit in the grooved wooden rail and 2 Nos. 225 x 25 mm finished section of wooden strip fitted and fixed at mid height of railing at both side of M.S. angle box in inclined plain parallel to the hand rail etc. fitted and fixed by necessary screws, nails in/c cutting grooves in concrete mending good the damages with cement concrete (1:2:4) applying 1st class French polish to wooden hand rail and inclined wooden strip and painting to F.I bar and square box with 2 (two) coats of synthetic enamel paint of approved quality and color over a prime coat etc. complete in all respect for all floors. (exposed area of railing will be considered for measurement, rate is excluding cost of polishing and painting) |  |
|  |  | sqm. | Tk. 2, 217.00 |
| 154. | Supplying, fitting and fixing 12 mm dia G.I pipe stair railing of any standard height of any design & shape with 50 x 50 x 6 mm M.S. plate at the base f 12 mm dia G.I. Pipe and fitted and fixed by welding. Placing the pipes vertically @ 125 mm c/c (2 Nos. in each steps) 150 mm embedded into the R.C.C tread of stair case after cutting grooves and mending good the damages with C.C. & providing 38 x 6 mm F.I. bar on the top of G.I. pipe to provide wooden/G.I. pipe hand rail of any design in/c polishing painting etc. all complete. (exposed area of railing will be considered for measurement, rate is excluding the cost of paint) |  |
| (a) | With Hand rail (150 x 62 mm) (finished) | sqm | Tk. 1, 401.00 |
| (b) | With Hand rail (112 x 62 mm) (finished) | sqm | Tk. 1, 589.00 |
| 155(a) | Providing veranda railing with 38 mm dia G.I. Pipe hand rail of any design & shape with 12 mm dia G.I. Pipe post fixed vertically @ 125 mm c/c 75 mm of the bottom of the pipes to be embedded in floor with 50 x 50 x 3 mm M.S. base plate welded at bottom, all complete including making necessary grooves in floor, wall, column, lintel etc. the post fixing in the groove with 1:2:4 cement concrete, mending good all damages, finishing, curing etc. as per plan & drawing and direction of the engineer-in-charge. (exposed area of railing will considered towards measurement) |  |
|  |  | sqm | Tk. 1, 665.00 |
| 155(b) | -do- with 50 mm dia G.I. Pipe hand rail | sqm | Tk. 1, 863.00 |
| 24. GRILL FENCING, BARBED WIRE FENCING |
| 156. | Supplying, fitting and fixing steel grill fencing in boundary wall of any design & shape with 31 x 6 mm F.I. bar @ 150 mm c/c placed vertically after cutting as per required measurement. Welding the said F.I. bar with 2 Nos. horizontal 30 x 6 mm F.I. bar placed one at top and another at bottom in/c. embedding/fixing the horizontal F.I. bar in position in/c cutting grooves in wall up to 150 mm depth and mending good the damages with C.C. (1:2:4) finished with two coats of painting with synthetic enamel paint over a coat of anti-corrosive paint etc. complete as per drawing & design and as per direction of the engineer-in-charge. (rate is excluding cost of painting). |  |
|  |  | sqm | Tk. 655.00 |
| 157. | Supplying, fitting and fixing steel grill fencing of any design & shape made with 19 mm x 3 mm tube (angle box made with 2 Nos.19 x 19 x 3 mm angle in by continuous welding) placed vertically @ 150 mm c/c and welding the said vertical boxes with two Nos. horizontal 25 x 25 x 6 mm angle box (made with 2 Nos. 25 x 25 x 6 mm angle by welding), placing one at bottom and another at top and again fitted and fixed by welding the said horizontal tube box (with vertical 38 x 38 x 6 mm angle box post made with 2 Nos. 38 x 38 x 6 mm angle by welding) provided 1800 mm c/c in/c embedding the tube box post in brick R.C.C. pillar or core wall up to 375 mm depth after cutting grooves in wall/pillar in/c. mending good the damages with C.C. (1:2:4) and finishing, curing, 3 coats of anti-corrosive paint etc. all complete as per design, drawing and direction of the engineer-in-charge (rate is excluding the cost of paint) |  |
|  |  | sqm. | Tk. 1, 532.00 |
| 158. | Manufacturing, supplying, fitting and fixing M.S. grill fencing as per design with outer frames having 38 x 38 x 6 mm M.S. angle and inner members having 6 mm dia M.S. rod placed @ 110 mm c/c diagonally on both direction, welding each criss-cross end of rod with corners of outer frame including cutting rods and size angles to required shapes and size and setting the entire fence with the previously installed tube (angle box) post in/c thorough and full welding the frame with the angle box posts, painting 2 coats of synthetic enamel paint over a coat of anti-corrosive priming etc. all complete as per drawing and direction. (rate is excluding the cost of angle box post and its installation and excluding the cost of paint) |  |
|  |  | sqm. | Tk. 793.00 |
| 159. | Manufacturing, supplying, fitting and fixing M.S. tube (angle box) post (bottom end bifurcated) made by thorough welding of two Nos. 38 x 38 x 6 mm M.S. angle and vertically placing the post into C.C./R.C.C. foundation in/c cutting angle to required shape and size in/c covering the top of the post with 6 mm thick M.S. plate etc. all complete as per drawing (rate is excluding the cost of C.C./R.C.C. foundation) |  |
|  |  | rm. | Tk. 318.00 |
| 160. | Providing babed wire fencing with R.C.C (1:2:4) pillars @ 2.43 m c/c. and of section 100 mm x 100 mm at top and 150 mm x 150 mm at bottom of 2.13 m total height (1.37 m above G.L. and 0.76 m below G.L.) in/c 150 mm thick, 450 mm square spread footings (pillars reinforced with 4 Nos. 10 mm dia main rod and 6 mm dia stirrups @ 150 mm c/c, footing reinforced with 5 Nos. 10 mm dia rod both ways) supplying, fitting and fixing 8 lines of barbed wire horizontally (fixed with the post through 6 mm dia, rods embedded in to the post) and 2 lines diagonally from post to post with 12 BWG 2 ply barbed wire, with 4 points barbs @ at least 112 mm c/c in/c 6 mm thick (1:4) cement plaster up to 1500 mm length of the pillars etc. complete as per direction of the engineer-in-charge (rate is excluding the cost of concrete and reinforcement which to be paid as per corresponding items in the schedule) |  |
|  |  | sqm. | Tk. 39.00 |
| 161. | Providing barbed wire fencing with average 100 mm dia best quality local bullah post of 1.98 m total height (1.37 m above G.L. and min. 0.60 m embedded in the ground) placed at 1800 mm c/c with 9 Nos. horizontal lines and 2 Nos. diagonal lines of 12 BWG 2 ply barbed wire with 4 points barbs @ at least 112 mm c/c in each way of 1.8 m in/c embedded the post tightly in ground and providing a cement concrete base of 200 x 200 x 300 mm around ballah at E.G.L, stretching the wires and fixing with the post with the help of minimum 62 mm long G.I. nails in/c supply of all materials etc. All complete as per direction of the engineer-in-charge. (rate is excluding the cost of ballah and its driving/fixing and concrete which to be paid as per corresponding items in the schedule) |  |
|  |  | sqm. | Tk. 69.00 |
| 162. | Supplying, fitting and fixing 12 BWG barbed wire (2 ply, 4 points) in fencing work @ 150 mm c/c in both horizontally and vertically, supported by 38 x 38 x 6 mm M.S. angle post (300 mm embedded in R.C.C. or in brick work with a cement concrete base of 75 x 75 x 300 mm) 600 mm vertical and 450 mm inclined or as per requirement @ 2.4 m c/c including straightening, binding the joints with 18 BWG wire making holes in the angle etc. in /c supplying of all necessary materials complete in all respect as per direction of the engineer-in-charge (rate is excluding the cost of R.C.C/brick work/C.C. which to be paid as per corresponding items in the schedule)) |  |
|  |  | sqm. | Tk. 234.00 |
| 25. MISCELLEANEOUS ITEMS |
| 163. | Supplying, fitting and fixing wooden wedge instead of putty by 12 mm x 12 mm (base x height) for fixing glass panes with wooden frame by nails or by any other approved method including the cost of necessary wood, painting/polishing, nails etc. and excluding the cost of wooden frame, and painting and 5 mm thick glass panes all complete as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 20.00 |
| 164. | Supplying, fitting and fixing foreign made aluminium curtain rail for door and window in/c cutting and fitting fixing as per required measurement and supplying necessary screws, electric drill & rowel plug in/c charge of electricity etc. complete as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 64.00 |
| 165. | Supplying, fitting and fixing of C.T wood strip (62 x 25 x 20 mm) for fixing of aluminium curtain rails as per design and drawing fitted and fixed in position in/c. supply of screws, nails, drilling etc. and two coats of French polishing over a coat of priming etc. all complete as per direction of the engineer-in-charge. (rate is excluding the cost of polishing and painting etc.) |  |
|  |  | rm. | Tk. 226.00 |
| 166. | Supplying, fitting and fixing best quality heavy type 19 mm dia and to 300 mm long brass hasp bolt in/c cutting grooves in door shutter and frames, screws etc. all complete as per direction of engineer-in-charge. |  |
|  |  | each | Tk. 197.00 |
| 167. | Supplying, fitting and fixing of 'King Brand' (made in Korea/equivalent) hydraulic door closer (big size) in/c all necessary tools and accessories etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 3, 641.00 |
| 168. | Supplying, fitting and fixing of best quality magnetic door shock absorber in/c all necessary tools and accessories etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 213.00 |
| 169(a) | Providing noising by 38 x 38 x 6 mm M.S. angle to the Nose of tread of stair in/c supplying 3 Nos. of 75 mm long 12 mm x 3 mm F.I. bar clamp with bifurcated ends in each treads in/c fitting and fixing with the angle by welding in/c fitting and fixing the angle by cutting grooves in R.C.C, fixing and finishing and the same with C.C. (1:2:4) etc., cost of electricity all complete as per direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 123.00 |
| 169(b) | - do - with 32 x 32 x 6 mm M.S. angle | rm. | Tk. 107.00 |
| 169(c) | - do - with 25 x 25 x 6 mm M.S. angle | rm. | Tk. 92.00 |
| 169(d) | - do - with 32 x 32 x 6 mm M.S. angle | rm. | Tk. 734.00 |
| 170. | Supplying, fitting and fixing vertical Venetian blinds made with glass fiber fabrics (foreign made) with supply of all materials (foreign made) such as Head rail (Aluminium), end cap-set, rod till, sigger (stopper) runner, spacer (link), Handling cord, ball chain, link chair, cord-weight weight-plate plastic washer, glass fiber fabrics, and head cap-set etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 2, 499.00 |
| 171. | Supplying, fitting & fixing horizontal Venetian blinds 1" width made with aluminium foils/ strips (foreign made) with supply of all materials (foreign made) such as head rail, bottom rail, rod till, head cap, bottom cap, gear box, stick, support & cap, cord drum & support, bracket, cord lock, cord equalizer, top holder, ladder, cord, handling cord & aluminium foils etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 1, 557.00 |
| 172. | Supplying of straight & strong Borrak bamboo posts of having minimum 75 mm dia all through and driving the same vertically in the ground up to required depth by any means shaping the top of the post, all complete as per direction of the engineer-in-charge. (total length embedded and exposed above ground shall be considered towards payment) |  |
|  |  | rm. | Tk. 26.00 |
| 173. | Palisading work by supplying bitumen drum sheet walling tied with 20 BWG G.I. wire fixing the same with already driven Borrak bamboo posts with half split Borrak bamboo runners @ 450 c/c horizontally with iron nail, G.I wire etc. all complete as plan and direction of the engineer-in-charge (rate is excluding the cost of bamboo post). |  |
|  |  | sqm. | Tk. 218.00 |
| 174. | Supplying, fitting & fixing of inclined struts to support palisading work with strong and straight Borrak bamboo having minimum 75 mm dia all through, driving the same at an specified angle up to a required length in ground by any means, shaping top of the struts properly to enable firm fixing with nails, G.I. wires etc. all complete as per design, drawing and direction of engineer- in-charge. (total length embedded in ground & above ground shall be considered towards payment). |  |
|  |  | rm. | Tk. 24.00 |
| 175. | Providing & installation of under mentioned nominal sized uPVC conduit having minimum specific gravity 1.35 - 1.45, wall thickness 1.7 mm - 2.2 mm and other physical, chemical, thermal properties etc. as per BSTI approved manufacturer standard or ASTM, BS/ISO/IS fitted and fixed in position with sockets, bends embedded in R.C.C. roof and other R.C.C. members at all levels complete for electric and telephone wiring with all accessories such as circular box pull box, bends, sockets including No.12 SWG G.I pull wire for drawing of cables including tying the pipe with reinforcement with the help of G.I. binding wires at 400 mm intervals where required, as per drawing and design (where available) and as per direction of the engineer-in-charge. |  |
| (a) | Min. inner dia 17.16 mm & minimum outer dia 21.2 mm in walls | rm. | Tk. 23.00 |
| (b) | Min. inner dia 22.8 mm & minimum outer dia 26.6 mm in walls | rm. | Tk. 30.00 |
| (c) | Min. inner dia 17.16 mm & minimum outer dia 21.2 mm in slab | rm. | Tk. 26.00 |
| (d) | Min. inner dia 22.2 mm & minimum outer dia 26.6 mm in slab | rm. | Tk. 34.00 |
| (e) | Min. inner dia 33.40 mm & minimum outer dia 33.4 mm in slab | rm. | Tk. 42.00 |
| 176. | Supplying, fitting, fixing of steel iron rack made of 610 x 610 x 6.35 mm vertical & horizontal angle post, welding 63.5 mm x 6.35 mm F.I. bar placed horizontally as bracing for the posts, 38 x 6.35 mm cross F.I. bars welded with vertical post, 12.7 mm thick M.S plate welded as cup shape at the bottom of post, supplying and fitting rivets, charge for wielding, drilling, carrying, cutting, straightening, in required sizes etc in all respect as per drawing, design & as per direction of engineer-in-charge |  |
|  |  | sqm. | Tk. 3, 098.00 |
| 177. | Supplying, fitting, fixing of broken glass 19 mm to 32 mm height, av. 19 mm width placed at a distance approx 25 mm center to center spacing, embedding the same to 12 mm to 19 mm thick cement plaster in/c mesh cement finishing including necessary scaffolding as per direction of engineer-in- charge. |  |
|  |  | sqm. | Tk. 97.00 |
| 178. | Supplying fitting, fixing of uPVC plastic door/window frame having specific gravity 1.35 - 1.45, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted & fixed in brick wall/ R.C.C wall with 6 Nos. GI clamp, 4Nos inner joint GI clamp, 2 Nos. outer GI joint clamp, 16 Nos. rivet making necessary grooves & and mending good the damages, finishing, curing, carriage etc complete in all respect as per direction of engineer-in-charge. |  |
|  |  | rm. | Tk. 372.00 |
| 179. | Supplying, fitting, fixing of uPVC/hollow or solid plastic door shutter having specific gravity 1.35 - 1.45, thickness 1.7 mm-2.2 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards of different sizes fitted fixed with uPVC plastic door frame weighing 5.82 kg/m2 with at least 3 Nos. hinges by min 64 Nos. Ø 3.17 mm & 3.97 mm 12.7 mm long rivets, 12 Nos. 25.4 mm screws, Ø 9.38 mm, 150 mm long tower bolts 2 Nos., 146 mm plastic handle by rivet 2 Nos., plastic inner joint 234.95 mm x 127 mm clamp, 76.2 mm x 57.15 mm, 25 mm dia 1 no has bolt, special type round lock, carrying the same to the site & local carriage etc. complete in all respect as per direction of the engineer-in-charge. |  |
| (a) | 760 mm x 1980 mm uPVC plastic shutter (hollow). | each | Tk. 2, 812.00 |
| (b) | 760 mm x 2130 mm uPVC plastic shutter (solid). | each | Tk. 2, 939.00 |
| (c) | 910 mm x 2130 mm uPVC plastic shutter (hollow). | each | Tk. 3, 367.00 |
| (d) | 990 mm x 2133 mm uPVC plastic shutter (solid). | each | Tk. 3, 570.00 |
| 180. | Supplying, fitting, fixing uPVC plastic/glass partition in plastic frame fabricated by 70 x 50 x 2 mm T and 50 x 40 x 2 mm / 50 x 30 x 2 mm L-sections, providing partition with 156 x 25 mm uPVC hollow section having wall thickness 2.5 mm / partition with 5 mm thick glass. Physical, chemical, thermal, fire resistivity properties etc of the materials as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards, fitted & fixed in brick wall/R.C.C wall with 6 Nos. GI clamp, 4 Nos. inner joint GI clamp, 2 Nos. outer GI joint clamp, 16 Nos. rivet making necessary grooves & and mending good the damages, finishing, curing, carriage etc complete in all respect as per direction of engineer-in-charge. |  |
| (a) | With partition uPVC hollow section | sqm. | Tk. 2, 226.00 |
| (b) | With 5 mm glass | sqm. | Tk. 1, 876.00 |
| 181. | Supplying, fitting, fixing of uPVC Profile for window, door & fixed partition frames applications having specific gravity 1.36-1.43, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards including all accessories fittings with 6 Nos. steel clamps complete in all respect as per drawing and direction of the engineer-in-charge. |  |
|  |  | rm. | Tk. 213.00 |
| 182. | Supplying, fitting, fixing swing door shutter made of low density free foam (LDFF) sheet having in standard size 4' x 8'. Physical properties: density: 0.55-0.68 g/cm3, weighing 1.3 kg/sft, providing new sash (4"), sliding glass bead, rubber, screws, 3" hinges 4 Nos., 4" tower bolt 2 Nos., 6" handle 2 Nos. etc. including all accessories complete in all respect as per drawing and direction of the engineer-in-charge. |  |
| (a) | 6'-6" x 2'- 6" size 8 mm thick uPVC swing door shutter | each | Tk. 4, 472.00 |
| (b) | 7'-0" x 2'- 6" size 8 mm thick uPVC swing door shutter | each | Tk. 4, 592.00 |
| (c) | 7'-0" x 3-0 size 8 mm thick uPVC swing door shutter | each | Tk. 4, 711.00 |
| 183 | Supplying fitting fixing of plastic wall paneling with 3 mm sheet, weighing 0.188 kg/sft fitted and mending good the damages, carriage to the site including glass bead, partition frame, rubber, 5 mm clear glass fitted and fixed with screws, steel clamp as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 798.00 |
| 184 | Supplying fitting fixing of uPVC Profile fixed partition with 5 mm clear glass, weighing 1.032 kg/sft fitted and mending good the damages, carriage etc. complete in all respect as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 1, 489.00 |
| 185. | Supplying fitting fixing of uPVC profile sliding window having gross weighing 1.3 kg/sft (including glass) fitted and mending good the damages, carries etc complete in all respect as per direction engineer-in-charge. |  |
| (a) | uPVC sliding window with 5 mm glass 4'-0" x 4'-0" | sqm. | Tk. 2,459.00 |
| (b) | uPVC sliding window without glass 4'-0" x 4'-0" | sqm. | Tk. 1, 956.00 |
| 186. | Supplying, fitting, fixing of plastic wood paneling in false ceiling with 6 mm sheet, weighing 0.358 kg/sft fitted and mending good the damages, carries etc complete in all respect as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 991.00 |
| 187. | Supplying fitting fixing of plastic wood/touch wood laminating kitchen cabinet with 12 mm, 6 mm, 3 mm plastic wood fitted and mending goods damages carries etc complete in all respect as per direction of Engineer in charge. Size: L x H x W = 1524 x 762 x 406 mm |  |
|  |  | each | Tk. 11, 054.00 |
| 188. | 60"(L) x 30"(H) x 16"(W) Kitchen Cabinet with Melamine board | each | Tk. 10, 390.00 |

#### B. EXCAVATION OF TANK

| Item No. | Description of item | Unit | Unit Rate |
| --- | --- | --- | --- |
| 189. | Earth work in excavation of tank of any dimension in all kinds of soil including cutting up to required depth in/c. bailing out water and throwing on the embankment, breaking clods, ramming and leveling dressing in 225 mm layer with maintaining the side slopes and level of both tank and the embankment as per design and direction of the engineer-in-charge. |  |
| (a) | For initial lead of 30 m and lift of 1.5 m | cum. | Tk. 57.00 |
| (b) | For each additional lift of 0.3 m beyond 1.5 m and up to 3 m | cum. | Tk. 2.12 |
| (c) | For each additional lift of 0.3 m beyond 3 m and up to 4.5 m | cum. | Tk. 3.18 |
| (d) | For each additional lift of 0.3 m beyond 4.5 m and up to 6 m | cum. | Tk. 4.24 |
| (e) | Extra each additional lead of 0.3 m or part there of beyond initial lead 30 m | cum. | Tk. 8.48 |
| (f) | Bailing out water in/c hire charge of mortar, fuel, operator, spares and maintenance etc. complete. |  |
|  |  | Hour | Tk. 148.00 |

C. ROAD & PAVEMENT WORKS

| Item No. | Description of item | Unit | Unit Rate |
| --- | --- | --- | --- |
| 190. | Earth work in road embankment up to a lift of 1.5 m in all in kinds of soil including cutting and throwing earth in layers not exceeding 150 mm in thickness, breaking clods up to 40 mm size in each layer, ramming, leveling and dressing as per required side slope and alignment with earth borrowed from the road side Govt. acquired land for any leads and maintaining the embankment true to level and side slopes as per profiles for one year from the date of completion as per direction of the engineer-in-charge including making dug, bailing, profiling etc. complete. |  |
| (a) | For initial lift of 1.5 m | cum. | Tk. 55.00 |
| (b) | For additional lift of 1m beyond 1.5m up to 2.5m | cum. | Tk. 61.00 |
| (c) | For additional lift of 1 m beyond 2.5m up to 3.5m | cum. | Tk. 67.00 |
| (d) | For additional lift of 1 m beyond 3.5m up to4.5m | cum. | Tk. 74.00 |
| (e) | For additional lift of 1 m beyond 4.5m up to 5.5m | cum. | Tk. 80.00 |
| (f) | For additional lift of 1 m beyond 5.5m up to 6.5m | cum. | Tk. 86.00 |
| 191(a) | Earth work in box cutting up to 300 mm depth and in all types of soil. Removing soils to a safe distance, maintaining proper alignment camber and grade in/c leveling, dressing and compacting the sub grade as per drawing and as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 22.00 |
| 191(b) | -do- up to 450 mm depth. | sqm. | Tk. 29.00 |
| 192. | Turfing the side slopes and top of embankment with good quality turf not less than 225 mm square chunk, watering till the grass grown including all leads and lifts etc. complete per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 7.00 |
| 193. | Single layer brick flat soling in road work with 1st class or picked jhama bricks as per alignment, camber and grade including filling joints with sand (F.M. 0.50) etc. complete as per direction of the engineer-in-charge including cost of all materials. |  |
|  |  | sqm. | Tk. 151.00 |
| 194. | Brick on edges pavement in herring bone bond with 1st class or picked jhama bricks as per alignment, camber and grade over 12 mm thick sand cushion (F.M. 0.50) including filling the joints with the same sand including cost of all materials, as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 247.00 |
| 195. | Double brik flat soling in roadwork with 1st class or picked jhama bricks as per camber and grade and filling the joints with fine sand (F.M. 0.50) and also providing 12 mm thick sand cushion in between the two layers of brick flat soling with the same quality of sand including cost of all materials. |  |
|  |  | sqm. | Tk. 305.00 |
| 196. | Brick on end edging (75 mm across the road) with 1st class or picked jhama bricks and filling the gaps with fine sand (F.M. 0.50) in/c cutting trenches, true to level & grade, removing earth, refilling and ramming the sides properly as per direction of engineer-in-charge including cost of all materials |  |
|  |  | rm. | Tk. 34.00 |
| 197 | Breaking picked jhama, 1st class bricks or bats including cost of bricks and bats and stacking in measurable sizes at site as per direction of the engineer-in-charge. |  |
| (a) | For 62 mm to 40 mm size | cum | Tk. 1, 250.00 |
| (b) | For 40 mm to 25 mm size | cum | Tk. 1, 292.00 |
| 198. | Labour for compacted water bound Macadam base course with graded metal of crushed well burnt, picked jhama or 1st class bricks and bats having compacted thickness made as per specifications including local handling and spreading uniformly to proper grade, camber and super elevation, hand packing, rolling properly with 8 to 10 ton capacity power driven Road Roller and watering profusely for compaction of 100% MDD (standard) blinding with sand (F.M. 0.80) @ 12 m3 per m2 in/c fuel, lubricants, spares, maintenance, driver etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | cum. | Tk. 272.00 |
| 199(a) | 50 mm thic compacted premixed bituminous carpeting with 12 mm down well graded stone chips having water absorption not greater than 2% flakiness index not greater than 35 @ 0.64 cum of stone chips mixed with 42 kg of heated bitumen (bitumen content % by wt. of total is 5.2% to 5.80%) heating at 1350c to 1550c and spread uniformly over 10 sqm of surface, rolled with 8 to 10 ton Roller compacted fully in proper grade and camber spreading 0.12 cum sand (F.M.1.50) on 10 sqm in/c tools and equipment etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 411.00 |
| 199(b) | 38 mm thick compacted premixed bituminous carpeting with 10 mm down well graded stone chips having water absorption not greater than 2%, flakiness index not greater than 35 @ 0.32 cum of stone chips mixed with 22.00 kg of heated bitumen (bitumen content % by wt. of total is 5.2% to 5.80%), heating at 1350c to 1550c and spread uniformly over 10 sqm of surface rolled with 8 to 10 ton Roller compacted fully in proper grade and camber and spreading 0.12 cum sand (F.M. 1.50) on 10 sqm surface etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 340.00 |
| 199(c) | 25 mm thick compacted premixed bituminous carpeting with 10 mm down well graded stone chips having water absorption not greater than 2% flakiness index not greater than 35 @ 0.32 cum of stone chips mixed with 22.00 kg of heated bitumen (bitumen content % wt. of total is 5.2% to 5.80%), heating at 1350c to 1550c and spread uniformly over 10 sqm of surface rolled with 8 to 10 ton Roller compacted fully in proper grade and camber and spreading 0.12 cum sand (F.M. 1.50) on 10 sqm surface etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 251.00 |
| 200(a) | 50 mm thick compacted premixed bituminous carpeting with 12 mm down well graded shingles @ 0.64 cum of shingles mixed with 42 kg of heated bitumen (bitumen content % by wt. of total is 5.2% to 5.80%) heating at 1350c to 1550c and spread uniformly over 10 sqm of surface. Rolled with 8 to 10 ton Roller compacted fully in proper grade and camber spreading 0.12 cum sand (F.M. 1.50) on 10 sqm etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 354.00 |
| 200(b) | 38 mm thick compacted premixed bituminous carpeting with 12 mm down well graded shingles @ 0.48 cum of shingles mixed with 30.25 kg of heated bitumen (bitumen content % by wt. of total is 5.2% to 5.80%), heating at 1350c to 1550c spread uniformly over 10 sqm of surface rolled with 8 to 10 ton Roller compacted fully in proper grade and camber and spreading 0.12 cum sand (F.M.-1.50) on 10 sqm surface in/c necessary tools and equipment etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 298.00 |
| 200(c) | 25 mm thick compacted premixed bituminous carpeting with 10 mm down grad and well grades shingles @ 0.32 cum of shingles mixed with 20.50 kg of heated bitumen (bitumen content % by wt. of total is 5.2% to 5.80%), heating at 1350c to 1550c spread uniformly over 10 sqm of surface rolled with 8 to 10 ton Roller compacted fully in proper grade and camber and spreading 0.12 cum sand (F.M.1.50) on 10 sqm surface in/c necessary tools and equipment etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 223.00 |
| 201. | Providing tack coat @ 7.32 kg of bitumen per 10 sqm including heating bitumen up to 1760c to 1880c and spreading etc. all complete (cost of bitumen included) as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 27.00 |
| 202. | Providin seal coat @ 7.32 kg of bitumen per 10 sqm. of road surface including supplying and spreading of 0.09 cum of sand (F.M. 1.50) including heating bitumen up to 176 degree to 190 degree Celsius and spreading etc. all complete (cost of bitumen included) as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 42.00 |
| 203. | Premixed bitminous seal coat with 0.12 cum of pea gravels mixed with 80 kg of bitumen per cum of pea gravels and laid over 10 sqm, road surface including spreading with proper camber and grade and blinding with dry sand (F.M. 2.5) @ 0.09 cum for 10 sqm including cost of all materials rolling with 8 to 10 ton power driven roller etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 91.00 |
| 204. | Providing expansion joints across the R.C.C. road pavement with 20 mm gap between the adjacent panels. Supplying dowel bars of size 12 mm dia 600 mm long M.S rod placed at 750 mm c/c. 300 mm of the bar fixed within one slab keeping remaining portion the bar free within the adjacent slab being inserted in 20 mm dia 300 mm long P.V.C. pipe embedded in the slab, inside of pipe fully greased, filling the gap between the slabs (with admixture) of hot bitumen and coarse sand (F.M. 2.5) in proportion (2:1) finishing the top with bitumen, spreading coarse sand over the joint, all complete as per plan, drawing and direction of the engineer-in-charge. |  |
|  |  | sqm. | Tk. 128.00 |

###### D. ARBORICULTURE WORKS

| Item No. | Description of item | Unit | Unit Rate |
| --- | --- | --- | --- |
| 205. | Labour charge for scraping lawn surface up to 38 mm thick by spade, picking up all sorts of bricks bats, rubbish by suitable tools, removing the same by head load or by any other means and stacking the same to a safe distance within 305 m in/c supply of all tools & plants as per direction of officer-in-charge |  |
|  |  | sqm. | Tk. 3.20 |
| 206. | Preparation of ground to make ready for plantation by spading the ground in to a depth of 150 mm to 230 mm beyond 38 mm thick scrapped ground by spade, breaking earth clods to powder by hammers, picking up all sorts of rubbish, unwanted grasses by suitable tools, carrying and spreading the surplus earth into low lying area including supply of all tools and plants as per direction of officer-in-charge. |  |
|  |  | sqm. | Tk. 7.00 |
| 207. | Leveling and dressing of lawn area to proper slope and grade by spading the same up to 150 mm in/c supplying of all tools and plants as per direction of officer-in-charge. |  |
|  |  | sqm. | Tk. 2.30 |
| 208. | Supplying of best and approved quality alluvial loamy silty soil including loading, unloading at both ends, properly stacking at site in/c supply of necessary tools & plants all complete as per direction of officer-in-charge. |  |
|  |  | cum. | Tk. 316.00 |
| 209. | Supplying well decomposed cow dung carried by trucks or any other means including loading, unloading at both ends, stacking the same at site in/c supply of all tools & plants all complete as per direction of officer in- charge. |  |
|  |  | cum. | Tk. 670.00 |
| 210 | Labour charge for spreading the alluvial loamy silty soil from the stacks at site on the lawn surface, leveling, dressing the same in/c supply all necessary tools & plants all complete as per direction of officer in- charge. |  |
|  |  | cum. | Tk. 50.00 |
| 211. | Supplying lawn grass of approved quality by truck or any other means, sorting the grass to proper size, washing the grass, dibbling the grass 6 mm to 50 mm apart, irrigation of lawn area till the grass grown at least for two months after plantation, weeding the undesirable grass, mowing the lawn grass by lawn mower up to two months after plantation, applying urea fertilizer on the lawn surface @ 1 kg per 9.29 sqm in/c supply all necessary tools & plants all complete as per direction of officer in- charge. |  |
|  |  | sqm. | Tk. 19.00 |
| 212. | Labour charge for mixing well decomposed cow dung with alluvial loamy silty soil & excavated earth, removing the excess earth to safe distance in/c supply of all necessary tools & plants all complete as per direction of officer -in-charge. |  |
|  |  | cum | Tk. 46.00 |
| 213. | Supplying and providing, fitting, fixing bamboo jafry fencing by best quality muli bamboo split 2 mm in size having 75 mm x 75 mm mesh placed horizontally & diagonally doing 25 mm framing a square shape in both ways and both sides tightened with G.I wire fitted with Borrak bamboo post of 100 mm dia and placed firmly in position at 1800 mm apart in/c. supply of all necessary tools & plants, digging hole and filling back etc. all complete as per direction of officer-in-charge. |  |
|  |  | sqm. | Tk. 193.00 |
| 214. | Supplying and providing, fitting, fixing muli bamboo tree guard 1200 mm long & 500 mm dia fixing with best quality muli bamboo split 2 mm in size having 75 mm x 75 mm a square holes with 2 mm wide bamboo splits strengthen with 4 Nos. 2 mm wide bamboo split in both sides tightened with G.I wire fitted with 3 Nos. 63 mm dia Borrak bamboo post of 1800 mm long of which 600 mm will be driven into earth by digging hole followed by fill back in/c supply of all necessary tools & plants all complete as per direction of engineer-in-charge. |  |
|  |  | each | Tk. 232.00 |
| 215. | Earth work in excavation to make a pit of 600 x 600 x 450 mm (depth) for plantation, applying cow dung mixing with loamy silty soil & excavated earth, planting the plants, tightened with 1800 mm long Borrak bamboo post with jute rope in/c supply of all necessary tools & plants all complete as per direction of officer-in-charge. |  |
|  |  | cum. | Tk. 52.00 |
| 216. | Spading for preparation of flower beds in pits up to 600 mm depth, re-moulding, picking up & placing and removing the spaded earth to a safe distance, mixing @ 1 cft well decomposed cow dung with 20% loamy silty soil and 6 cft excavated soil and fill back the pit in/c supply of all necessary tools & plants all complete as per direction on officer-in-charge. |  |
|  |  | sqm. | Tk. 183.00 |
| 217. | Preparation of hedge beds by excavation of earth up to 300 mm depth filling up the bed by a mixture of cow dung, loamy silty soil, cutted earth @ 1 cft cow dung manure per 6 cft of cutted earth & 20% loamy silty soil in/c supply of all complete as per direction on officer-in-charge. |  |
|  |  | sqm. | Tk. 94.00 |
| 218. | Carrying of rubbish, taking up all sorts of bricks, brick-bats, rubbish gravel chips, loading & unloading at both ends in/c. supply of all necessary tools & plants all complete as per direction on officer-in-charge. |  |
|  |  | cum | Tk. 67.00 |
| 219. | Supply & carrying of 12.20 m long 100 mm dia Borrak bamboo at site, loading & unloading at both end stacking the same at site in/c supply of all necessary tools & plants all complete as per direction on officer-in-charge. |  |
|  |  | each | Tk. 173.00 |
| 220. | Supply & carrying of 7.62 m long 50 mm to 62.5 mm dia Muli bamboo at site, loading & unloading at both end stacking the same at site in/c. supply of all necessary tools & plants all complete as per direction on officer-in-charge. |  |
|  |  | each | Tk. 83.00 |

### E. SANITARY & WATER SUPPLY WORKS

| Item | Description of Items | Unit | Unit Rate |
| --- | --- | --- | --- |
| TOILET FITTINGS AND FIXTURES |  |  |
| 221 | Supplying, fitting and fixing European type glazed porcelain commode "S" type 465 x 340 x 415 mm in size, approximately 14 kg by weight, plastic seat cover and preparing the base with cement concrete and with wire mesh or rods, if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 221/A1 | White | each | Tk. 2, 339.00 |
| 221/A2 | Colored | each | Tk. 2, 403.00 |
| 221/A3 | Special colored | each | Tk. 2, 472.00 |
| 222. | Supplying, fitting and fixing European type glazed porcelain low-down, capacity 10 liter, 490 x 190 x 350 mm in size, approximately 14 kg by weight, on walls by screws and F.I. bar clamps, rowel plugs, making holes wherever required and mending good the damages and fitting, fixing finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 222/A1 | White | each | Tk. 1, 636.00 |
| 222/A2 | Colored | each | Tk. 1, 985.00 |
| 222/A3 | Special colored | each | Tk. 2, 336.00 |
| 223/A | Supplying, fitting and fixing European type glazed porcelain Combicloset, 700 x 410 x 795 mm in size, approximately 34.5 kg by weight, plastic seat cover and preparing the base with cement concrete and with wire mesh or rods if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 223/A1 | White | each | Tk. 8, 455.00 |
| 223/A2 | Colored | each | Tk. 8, 777.00 |
| 223/A3 | Special colored | each | Tk. 9, 117.00 |
| 223/B | Supplying, fitting and fixing European type glazed combi closet, 700 x 410 x 795 mm size, approx. 34.5 kg by weight, plastic seat cover and preparing the base with cement concrete and with wire mesh or rods if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing complete with all necessary fittings and connection as per direction of the engineer-in-charge |  |
| 223/B1 | White | each | Tk. 9, 433.00 |
| 223/B2 | Colored | each | Tk. 11, 341.00 |
| 223/B3 | Special colored | each | Tk. 13, 249.00 |
| 224/A | Supplying, fitting and fixing Bangladesh pattern, 570 x 445 x 290 mm long pan with foot-rest, approx. 12 kg by weight, made of Vitreous China and preparing the base of pan with cement mortar (1:4) and with wire mesh or rods, if necessary in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 224/A1 | White | each | Tk. 1, 425.00 |
| 224/A2 | Colored | each | Tk. 1, 485.00 |
| 224/A3 | Special colored | each | Tk. 1, 548.00 |
| 224/B | Supplying, fitting and fixing Bangladesh pattern 560 x 290 x 270 mm long pan, approx. 7.1 kg by weight, made of Vitreous China and preparing the base of pan with cement concrete and with wire mesh or rods if necessary in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 224/B1 | White | each | Tk. 752.00 |
| 224/B2 | Colored | each | Tk. 897.00 |
| 224/B3 | Special colored | each | Tk. 969.00 |
| 225. | Supplying 260 x 227 mm size glazed porcelain foot rest, 1 kg by weight including fitting, fixing in position with cement mortar (1:4) if necessary in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
|  | White or colored | each | Tk. 119.00 |
| 226/A | Supplying, fitting and fixing white glazed vitreous W/H Wash Basin 580 x 445 x 235 mm size, approx. 14 kg by weight including fitting, fixing the same in position with heavy type C.I. Brackets. 30 mm dia PVC waste water pipe with brass coupling (not exceeding 750 mm in length), basin waste with chain plug including making holes in walls and floors and fitting with wooden blocks, screws and mending good the damages, finishing etc. all complete as per direction of the engineer-in-charge. |  |
| 226/A1 | White | each | Tk. 1, 330.00 |
| 226/A2 | Colored | each | Tk. 1, 583.00 |
| 226/A3 | Special colored | each | Tk. 1, 813.00 |
| 226/B | Supplying, glazed vitreous W/H Wash Basin 570 x 420 x 190 mm in size, approx. 10.4 kg by weight including fitting, fixing the same in position with heavy type C.I. Brackets. 30 mm dia PVC waste water pipe with brass coupling (not exceeding 750 mm in length). 12mm plastic lead (connection) pipe with brass coupling, basin waste with chain plug including making holes in walls and floors and fitting with wooden blocks, screws and mending good the damages, finishing etc. all complete as per direction of the engineer-in-charge. |  |
| 226/B1 | White | each | Tk. 1, 185.00 |
| 226/B2 | Colored | each | Tk. 1, 403.00 |
| 226/B3 | Special colored | each | Tk. 1, 621.00 |
| 226/C | Supplying, white glazed vitreous W/H Wash Basin, 500 x 440 x 210 mm in size, approx. 14 kg by weight, including fitting, fixing the same in position with heavy type C.I. brackets, 32 mm dia PVC waste water pipe with brass coupling (not exceeding 750 mm in length), 32 mm dia C.P. basin waste with chain plug, bracket including making holes in walls and floors and fitting with wooden blocks, screws and mending good the damages with cement mortar (1:4), etc. all complete as per direction of the engineer-in-charge. |  |
| 226/C1 | White | each | Tk. 1650.00 |
| 226/C2 | Colored | each | Tk. 1, 817.00 |
| 226/C3 | Special colored | each | Tk. 1, 893.00 |
| 227. | Supplying, fitting and fixing Pedestal, 652 x 200 x 205 mm in size, approx. 5.6 kg by weight with rowel plug and screws etc. all complete as per direction of the engineer-in-charge. |  |
| 227/A1 | White | each | Tk. 882.00 |
| 227/A2 | Colored | each | Tk. 1, 086.00 |
| 227/A3 | Special colored | each | Tk. 1, 273.00 |
| 228/A | Supplying, fitting and fixing 490 x 385 x 290 mm in size European type glazed vitreous standing bowl urinal, approx. 8.0 kg by weight including fitting, fixing the same in position after making holes in walls and floors, providing 32 mm dia plastic waste pipe with brass coupling up to grading below, 12 mm dia plastic connection pipe with brass coupling, 12 mm dia brass stop cock including mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
| 228/A1 | White | each | Tk. 1, 167.00 |
| 228/A2 | Colored | each | Tk. 1, 396.00 |
| 228/A3 | Special colored | each | Tk. 1, 601.00 |
| 228/B | Supplying, fitting and fixing glazed vitreous china flat/squatting urinal 610 x 375 x 85 mm in size, approx. 14 kg by weight with flushing inlet fitted in cement mortar (1:4) with painted cast iron body: one gallon capacity, automatic flushing cistern in each group etc. in/c 12 mm brass controlling valve, 32 mm dia PVC flush pipe with brass coupling, 12 mm dia plastic lead (connection) pipe including mending good the damages with 1:4 cement concrete etc. all complete as per direction of the engineer-in-charge. |  |
| 228/B1 | White | each | Tk. 914.00 |
| 228/B2 | Colored | each | Tk. 1, 093.00 |
| 228/B3 | Special colored | each | Tk. 1, 272.00 |
| 229/A. | Supplying, fitting and fixing 625 x 490 x 224 mm size, approx. 19.5 kg by weight porcelain sink with sink tray of 595 x 465 x 36 mm size, fitted and fixed with heavy type C.I. brackets, 12 mm dia C.P. bib cock., 40 mm dia C.P. chain plug. 40 mm dia. C.P. waste, 40 mm dia PVC waste pipe with brass coupling (750 mm length) including making holes in walls and floors and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
| 229/A1 | White | each | Tk. 2, 126.00 |
| 229/A2 | Colored | each | Tk. 2, 581.00 |
| 229/B1 | Supplying, fitting and fixing single bowl stainless steel sink with sink tray size (450 x 1050 mm.) with heavy type CI steel brackets 12mm dia C.P. bib-cock 40 mm dia C.P. chain plug. 40 mm dia C.P. waste. 40 mm dia PVC waste pipe with brass coupling (750 mm length) including making hole in walls and floors and mending good the damages, finishing with 1:4 cement mortar etc. all complete as per direction of the engineer-in-charge. (Malaysia/Singapore/Thailand made) |  |
|  |  | each | Tk. 2, 143.00 |
| 229/B2 | Supplying, fitting and fixing double bowl stainless steel sink with sink tray with heavy type CI/ steel brackets 12 mm dia C.P. chain plug. 40 mm dia C.P. waste, 40 mm dia PVC waste pipe with brass coupling (750 mm length) including making hole in walls and floors and mending good the damages, finishing etc. all complete as per direction of the engineer-in-charge. (Malaysia/Singapore/Thailand made) |  |
|  |  | each | Tk. 3, 481.00 |
| 230/A | Supplying, fitting and fixing of 450 x 350 mm size and 5 mm thick unframed super quality mirror with hard boards at the back with all necessary fitting including making holes in walls and mending good the damages with cement mortar (1:4) etc. all engineer-in-charge. (Made in Japan) |  |
|  |  | each | Tk. 312.00 |
| 230/B | Supplying, fitting and fixing of 450 x 600 mm size and 5 mm thick unframed super quality mirror with hard boards at the back with all necessary fitting including making holes in walls and mending good the damages with cement mortar (1:4) etc. all engineer-in-charge. (Made in Japan) |  |
|  |  | each | Tk. 321.00 |
| 231/A | Supplying, fitting and fixing super quality 600 x 125 mm colored glass (plate) shelf having 5 mm thickness with fancy C.P. brackets, screws and frames including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction f the engineer-in-charge. |  |
|  |  | each | Tk. 330.00 |
| 231/B | Supplying, fitting and fixing super quality 600 x 125 mm white glass (plate) shelf having 5 mm thickness with fancy C.P. brackets, screws and frames including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction f the engineer-in-charge. |  |
|  |  | each | Tk. 276.00 |
| 232/A1 | Supplying, fitting and fixing super quality C.P. Towel rail of 600 mm long and 20 mm in dia with C.P. holder including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 319.00 |
| 232/A2 | Supplying, fitting and fixing medium quality C.P. Towel rail of 600 mm long and 20 mm in dia with C.P. holder including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 231.00 |
| 233/A1 | Supplying, fitting and fixing toilet paper holder of 150 x 150 x 126 mm size including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 169.00 |
| 233/A2 | Supplying, fitting and fixing of special colored toilet paper holder Size (150 mm x 150 mm x 126 mm) including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 204.00 |
| 233/B1 | -do- Standard size stainless steel bracket and holder rod with cover | each | Tk. 203.00 |
| 233/C1 | -do- Standard size, C.P iron bracket with plastic holder rod | each | Tk. 103.00 |
| 233/D | Supplying, fitting and fixing standard size soap tray including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
| 233/D1 | C.P. soap tray | each | Tk. 60.00 |
| 233/D2 | Porcelain soap tray (white) | each | Tk. 107.00 |
| 233/D3 | Porcelain soap tray (colored) | each | Tk 143.00 |
| 233/D4 | Stainless steel soap tray | each | Tk. 202.00 |
| 234/A1 | Supplying, fitting and fixing 125 mm dia C.I. Grating in traps or in drains including making holes in walls/floors and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer- in-charge. |  |
|  |  | each | Tk. 72.00 |
| 234/A2 | Supplying, fitting and fixing stainless steel, 62 mm dia C.I. Grating in traps or in drains including making holes in walls/floors and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 53.00 |
| 234/B1 | Supplying, fitting and fixing plastic grating with hinged cover size 150 x 150 mm in traps or in drains including making holes in walls/floors and mending good the damages with cement mortar (1:4) etc. all complete as per direction of the engineer-in-charge. |  |
|  |  | each | Tk. 187.00 |
| SOIL WASTE AND VENTILATION PIPES |
| 235/A1 | Supplying 50 mm inside dia HCI soil, waste and ventilation pipe each piece having over length 1800 mm, thickness 6.5mm, spigot diameter 80 mm, weight min 12 kg fitted and fixed in position with sockets thickness min 8.5 mm, internal depth min 68 mm , bead's outside diameter min 90 mm, ears flange length min 150 mm, caulking clearance min 10 mm produced in foundry grade pig iron as per BSTI approved manufacturer standard fitting & fixing in position in/c head and shoes bends made of minimum 20 mm x 3 mm F.I. bar or equivalent, trap, tee, offset, clamps and nails etc. complete in all floors as per direction of the engineer-in-charge. Each 1800 mm long. |  |
|  |  | rm. | Tk. 308.00 |
| 235/A2 | Supplying 100 mm inside dia HCI soil, waste and ventilation pipe each piece having over length 1800 mm, thickness 6.5 mm, spigot diameter 117 mm, weight min 24.85 kg fitted and fixed in position with sockets thickness min 6.5 mm, internal depth min 75 mm, bead's outside diameter min155 mm, ears flange length min 208 mm, caulking clearance min 8 mm produced in foundry grade pig iron as per BSTI approved manufacturer standard fitting & fixing in position in/c head and shoes bends made of minimum 20 mm x 3 mm F.I. bar or equivalent, trap, tee, offset, clamps and nails etc. complete in all floors as per direction of the engineer-in-charge. (each 1800 mm long pipe) |  |
|  |  | rm. | Tk. 547.00 |
| 235/A3 | Supplying 150 mm inside dia HCI soil, waste and ventilation pipe each piece having over length 1800 mm, thickness 6.5mm, spigot diameter 117mm, weight min 41kg fitted and fixed in position with sockets thickness min 7mm, internal depth min 100 mm bead's outside diameter min 200mm, ears flange length min 258 mm, caulking clearance min 9 mm produced in foundry grade pig iron fitting & fixing in position in/c head and shoes, bends, trap, tee, off-set, clamps and nails etc. complete in all floors as per direction of the engineer-in-charge (each 1800 mm long pipe) |  |
|  |  | rm. | Tk. 979.00 |
| 235/B1 | Supplying 50 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35 - 1.45, wall thickness 2.5 - 3.0 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, of uPVC Pipe with all accessories such as Round grating /domed roof grating bands, sockets etc. as per direction of the engineer-in-charge. (length: 6000 mm each) |  |
|  |  | rm. | Tk. 219.00 |
| 235/B2 | Supplying 100 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35-1.45, wall thickness 3.4- 4.0 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. as per direction of the engineer-in-charge. (length: 6000 mm each). |  |
|  |  | rm. | Tk. 346.00 |
| 235/B3 | Supplying 150 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35 - 1.45, wall thickness 4.5 mm - 5.2 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. as per direction of the engineer-in-charge. (length: 6000 mm each). |  |
|  |  | rm. | Tk. 592.00 |
| 236/A | Supplying, fitting and fixing G.I. pipe with all special fittings, such as bends, elbows, sockets, reducing sockets, Tee, unions, jum-nuts etc. including cutting trenches where necessary and fitting the same with earth duly rammed and fixing in walls with holder bats and making hole in floors, walls and consequent mending good the damages etc. all complete in all respects as per direction of the engineer-in-charge. |  |
| 236/A1 | 12.5 mm dia G.I. pipe with wall thickness 3.25 mm, outside diameter min 21.1 mm, weight 1.45 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 91.00 |
| 236/A2 | 20 mm dia G.I. Pipe with wall thickness 3.25 mm, outside diameter min 26.6 mm, weight 1.90 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 125.00 |
| 236/A3 | 25 mm dia G.I. Pipe with wall thickness 4.05 mm, outside diameter min 33.4 mm, weight 2.97 kg/m, can withstand min 50kg/cm2 hydraulic pressure | rm. | Tk. 159.00 |
| 236/A4 | 32 mm dia G.I. Pipe with wall thickness 4.05 mm, outside diameter min 42.1 mm, weight 3.84 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 213.00 |
| 236/A5 | 40 mm dia G.I. Pipe with wall thickness 4.05 mm, outside diameter min 48.0 mm, weight 4.43 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 264.00 |
| 236/A6 | 50 mm dia G.I. Pipe with wall thickness 4.50 mm, outside diameter min 59.8 mm, weight 6.17 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 366.00 |
| 236/A7 | 62 mm dia G.I. Pipe with wall thickness 4.50 mm, outside diameter min 75.4 mm, weight 7.90 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 600.00 |
| 236/A8 | 75 mm diaG.I. Pipe with wall thickness 4.85 mm, outside diameter min 88.1 mm, weight 10.10 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 683.00 |
| 236/A9 | 100 mm dia G.I. Pipe with wall thickness 5.40 mm, outside diameter min 113.3 mm, weight 14.40 kg/m, can withstand min 50 kg/cm2 hydraulic pressure | rm. | Tk. 886.00 |
| 236/B | Supplying different inside dia best quality uPVC pressure pipe for water supply having specific gravity 1.35 - 1.45, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating, bends, sockets etc. as per direction of the engineer-in-charge. (length: 6000 mm each) |  |
| 236/B1 | 12 mm dia wall thickness 2.8 mm - 3.3 mm | rm. | Tk. 79.00 |
| 236/B2 | 19 mm dia wall thickness 2.9 mm - 3.4 mm | rm. | Tk. 95.00 |
| 236/B3 | 25 mm dia wall thickness 3.4 mm - 4.0 mm | rm. | Tk. 99.00 |
| 236/B4 | 32 mm dia wall thickness 3.6 mm - 4.2 mm | rm. | Tk. 138.00 |
| 236/B5 | 37 mm dia wall thickness 3.7 mm - 4.3 mm | rm. | Tk. 166.00 |
| 236/B6 | 60 mm dia wall thickness3.9 mm - 4.5 mm | rm. | Tk. 233.00 |
| 236/B7 | 75 mm dia wall thickness 4.8 mm - 5.5 mm | rm. | Tk. 242.00 |
| 236/B8 | 88 mm dia wall thickness 3.5 mm - 4.1 mm | rm. | Tk. 365.00 |
| 236/B9 | 114 mm dia wall thickness 4.5 mm - 5.2 mm | rm. | Tk. 584.00 |
| 237/A | Supplying, fitting and laying HCI soil pipe each piece having over length 1800 mm, thickness 5.5 mm, spigot diameter 116 mm, weight min 24.85 kg fitted and fixed in position with sockets thickness min 6.5 mm, internal depth min 75 mm, bead's outside diameter min 155 mm, ears flange length min 208 mm, caulking clearance min 7.5 mm produced in foundry by grade pig iron as per BSTI approved manufacturer standard fitting & fixing in position in/c head, shoes, bends, trap, tee, offset, clamps and nails etc. complete in all floors as per direction of the engineer-in-charge. |  |
| 237/A1 | H.C.I pipe 100 mm dia | rm. | Tk. 485.00 |
| 237/A2 | H.C.I pipe 150 mm dia | rm. | Tk. 794.00 |
| 237/B | Supplying, fitting and laying up to depth of invert 100 mm inside dia best quality uPVC pressure soil pipe having specific gravity 1.3 -1.45, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating etc. complete and as per direction of the engineer-in-charge. (length: 6000 mm each) |  |
| 237/B1 | uPVC soil 100 mm dia wall thickness 2.7 mm - 3.4 mm, | rm. | Tk. 241.00 |
| 237/B2 | uPVC soil 150 mm dia wall thickness 4.0 mm - 4.5 mm, | rm. | Tk. 423.00 |
| RCC AND uPVC PIPE FOR UNDERGROUND LAYING |
| 237/C | Supplying, fitting and fixing laying Pipes up to depth of invert dia R.C.C pipe having 1.83 meter in length made of stone chips with 40 mm cement joint in/c all fittings and specials like plain bend, Tees, reducing sockets, junctions, door bends cowls, anti-siphon, gasket and cement joints, making holes in walls and mending good the damages etc. all complete as per direction of the engineer-in-charge. (the rate will be inclusive of 100 mm thick cement concrete (1:3:6) all around the soil pipe when ever necessary) |  |
| 237/C1 | R.C.C pipe of 150 mm dia | rm. | Tk. 289.00 |
| 237/C2 | R.C.C pipe of 225 mm dia | rm. | Tk. 372.00 |
| 237/C3 | R.C.C pipe of 300 mm dia with 50 mm cement joint | rm. | Tk. 485.00 |
| 237/C4 | R.C.C pipe of 375 mm dia with 50 mm cement joint | rm. | Tk. 469.00 |
| 237/D1 | 4" or 110 mm dia uPVC 8 bar waste pipe | rm. | Tk. 314.00 |
| 237/D2 | 150 mm dia uPVC pipe for underground laying | rm. | Tk. 474.00 |
| 237/D3 | 200 mm dia uPVC for underground laying | rm. | Tk. 665.00 |
| 237/D4 | 250 mm dia uPVC for underground laying | rm. | Tk. 1, 266.00 |
| 237/D5 | uPVC waste pipe 280 mm dia wall thickness 6.9 mm - 8.6 mm for underground laying. |  |
|  |  | rm. | Tk. 1490.00 |
| 237/D6 | uPVC waste pipe 315 mm dia wall thickness 7.7 mm - 9.7 mm for underground laying |  |
|  |  | rm. | Tk. 1918.00 |
| G.I. PIPE AND WATER SUPPLY INSTALLATION ITEMS |
| 238. | Supplying, fitting and fixing G.I. Union with necessary water sealant all complete in all respects as per direction of the engineer-in-charge. |  |
| 238/A1 | 12 mm dia G.I. Union | each. | Tk. 46.00 |
| 238/A2 | 20 mm dia G.I. Union | each. | Tk. 58.00 |
| 238/A3 | 25 mm dia G.I. Union | each. | Tk. 68.00 |
| 238/A4 | 32 mm dia G.I. Union | each. | Tk. 97.00 |
| 238/A5 | 40 mm dia G.I. Union | each. | Tk. 124.00 |
| 238/A6 | 50 mm dia G.I. Union | each. | Tk. 157.00 |
| 238/A7 | 62 mm dia G.I. Union | each. | Tk. 250.00 |
| 238/A8 | 75 mm dia G.I. Union | each. | Tk. 356.00 |
| 238/A9 | 100 mm dia G.I. Union | each. | Tk. 554.00 |
| 239/A | Supplying, fitting and fixing best quality G.M. gate valve with necessary water sealant etc. in/c all necessary as per direction of the engineer-in-charge. |  |
| 239/A1 | 12 mm brass gate valve | each. | Tk. 93.00 |
| 239/A2 | 20 mm brass gate valve | each. | Tk. 108.00 |
| 239/A3 | 25 mm brass gate valve | each. | Tk. 149.00 |
| 239/A4 | 32 mm brass gate valve | each. | Tk. 203.00 |
| 239/A5 | 40 mm brass gate valve | each. | Tk. 237.00 |
| 239/A6 | 50 mm brass gate valve | each. | Tk. 359.00 |
| 239/A7 | 62 mm brass gate valve | each. | Tk. 724.00 |
| 239/A8 | 75 mm brass gate valve | each. | Tk. 842.00 |
| 239/A9 | 100 mm brass gate valve | each. | Tk. 1, 325.00 |
| 239/B | Supplying, fitting and fixing best quality G.M. Globe valve, threaded joint with necessary water sealant in/c all necessary as per direction of the engineer-in-charge. |  |
| 239/B1 | 12 mm dia brass Globe valve | each. | Tk. 81.00 |
| 239/B2 | 20 mm dia brass Globe valve | each. | Tk. 144.00 |
| 239/B3 | 25 mm dia brass Globe valve | each. | Tk. 238.00 |
| 239/B4 | 32 mm dia brass Globe valve | each. | Tk. 334.00 |
| 239/B5 | 40 mm dia brass Globe valve | each. | Tk. 409.00 |
| 239/B6 | 50 mm dia brass Globe valve | each. | Tk. 644.00 |
| 239/B7 | 62 mm dia brass Globe valve | each. | Tk. 1, 009.00 |
| 239/B8 | 75 mm dia brass Globe valve | each. | Tk. 1, 494.00 |
| 239/B9 | 100 mm dia brass Globe valve | each. | Tk. 1, 859.00 |
| 239/C | Supplying, fitting and fixing best quality G.M. Check valve, threaded joint with necessary water sealant in/c all necessary as per direction of the engineer-in-charge. |  |
| 239/C1 | 12 mm brass check valve | each. | Tk. 93.00 |
| 239/C2 | 20 mm brass check valve | each. | Tk. 108.00 |
| 239/C3 | 25 mm brass check valve | each. | Tk. 119.00 |
| 239/C4 | 32 mm brass check valve | each. | Tk. 197.00 |
| 239/C5 | 40 mm brass check valve | each. | Tk. 225.00 |
| 239/C6 | 50 mm brass check valve | each. | Tk. 347.00 |
| 239/C7 | 62 mm brass check valve | each. | Tk. 653.00 |
| 239/C8 | 75 mm brass check valve | each. | Tk. 889.00 |
| 239/C9 | 100 mm brass check valve | each. | Tk. 1, 088.00 |
| 239/D | Supplying, fitting and fixing best quality G.M. Float valve, threaded joint Pit valve etc. in/c all necessary as per direction of the engineer-in-charge. |  |
| 239/D1 | 12 mm brass Float valve | each. | Tk. 99.00 |
| 239/D2 | 20 mm brass Float valve | each. | Tk. 114.00 |
| 239/D3 | 25 mm brass Float valve | each. | Tk. 125.00 |
| 239/D4 | 32 mm brass Float valve | each. | Tk. 203.00 |
| 239/D5 | 40 mm brass Float valve | each. | Tk. 331.00 |
| 240/A | Supplying, fitting and fixing European type HCI P-Trap drainage pipe preparing the base with cement concrete in 1:2:4 and with wire mesh or rods if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing complete with all necessary fittings and connection as per direction of the engineer-in-charge. |  |
| 240/A1 | 100 mm dia HCI P Trap Cleanout | each. | Tk. 361.00 |
| 240/A2 | 100 x 100 mm or 100 x 50 mm size HCI Y or T-Y Cleanout | each. | Tk. 413.00 |
| 240/A3 | 150 x 150 mm or 150 x 100 mm size HCI T-Y or Y Cleanout | each. | Tk. 515.00 |
| 240/A4 | 50 mm dia size HCI Trap | each. | Tk. 263.00 |
| 240/B | Supplying different inside dia best quality uPVC pressure waste pipe having specific gravity 1.35 -1.45, wall thickness 2.7 mm - 3.4 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards, fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. as per direction of the engineer-in-charge |  |
| 240/B1 | 50 mm dia uPVC Y or T - Y Cleanout | each. | Tk. 270.00 |
| 240/B2 | 100 mm dia uPVC ‘P’ or ‘S’ trap | each. | Tk. 522.00 |
| 240/B3 | 100 mm dia uPVC Y or T - Y Cleanout | each. | Tk. 658.00 |
| 240/B4 | 50 mm dia uPVC Y or T - Y Cleanout | each. | Tk. 299.00 |
| 241. | Supplying, fitting and fixing best quality faucets in/c all other necessary as per direction of the engineer-in-charge. |  |
| 241/A1 | 12 mm CP bib cock | each. | Tk. 202.00 |
| 241/A2 | 12 mm Special quality CP bib cock | each. | Tk. 320.00 |
| 241/A3 | 12 mm Plastic bib cock with internal brass thread | each. | Tk. 131.00 |
| 241/B | Supplying, fitting and fixing medium best quality CP pillar cock in/c all necessary as per direction of the engineer-in-charge. |  |
| 241/B1 | 12 mm CP medium quality pillar cock | each. | Tk. 261.00 |
| 241/B2 | 12 mm CP special heavy duty pillar cock | each. | Tk. 231.00 |
| 241/C | Supplying, fitting and fixing best quality concealed fixed sink cock in/c all necessary as per direction of the engineer-in-charge. |  |
| 241/C1 | 12 mm CP Concealed fixed cock | each. | Tk. 380.00 |
| 241/C2 | 12 mm CP Concealed moving cock | each. | Tk. 445.00 |
| 241/D1 | CP Basin Mixture in/c all necessary as per direction of the engineer-in-charge. | each. | Tk. 949.00 |
| 241/D2 | CP Single Handle Basin Mixture in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 1, 008.00 |
| 241/E1 | CP Shower Mixture Including Shower Head only in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 1, 868.00 |
| 241/E2 | CP Shower Mixture Including Shower Head and faucet in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 2, 461.00 |
| 241/F1 | CP Bath tub Mixture with Shower Head only in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 2, 461.00 |
| 241/G1 | CP Self closing pillar cock in/c all necessary as per direction of the engineer-in-charge. | each. | Tk. 569.00 |
| 242. | Supplying, fitting and fixing Special/Fancy quality C.P. concealed/ surface stop cock in/c all necessary as per direction of the engineer-in-charge. |  |
| 242/A1 | 12 mm brass Stop Cock for Surface Mount (ordinary quality) | each. | Tk. 95.00 |
| 242/A2 | 12 mm CP Stop Cock for Surface Mount (Medium quality) | each. | Tk. 131.00 |
| 242/A3 | 12 mm CP Stop Cock for Surface Mount (Special type) | each. | Tk. 190.00 |
| 242/A4 | Angle Stop Cock (Medium quality) | each. | Tk. 131.00 |
| 242/A5 | Stop Cock (Special type) | each. | Tk. 190.00 |
| 242/A6 | Stop cock concealed (Heavy) | each. | Tk. 249.00 |
| 242/B | Supplying, fitting and fixing Special/Fancy quality C.P. concealed/ Surface Angle stop cock in/c all necessary as per direction of the engineer-in-charge. |  |
| 242/B1 | 12 mm CP concealed Angle Stop cock (Medium Quality) | each. | Tk. 131.00 |
| 242/B2 | 12 mm CP Surfaced Angle Stop cock (Heavy type) | each. | Tk. 190.00 |
| 242/B3 | 12 mm CP concealed Angle Stop cock (Medium Quality) | each. | Tk. 249.00 |
| 242/B4 | 2 mm CP concealed Angle Stop cock (Special Quality) | each. | Tk. 190.00 |
| 242/B5 | Medium concealed angle stop cock | each. | Tk. 249.00 |
| 242/B6 | Special concealed heavy type angle stop cock | each. | Tk. 309.00 |
| 243. | Groove cutting in brick work, R.C.C floor, including cost for concealing of G.I. pipe work (12 mm and 20 mm dia) in brick wall by cutting groove in wall, lintel, beam etc. by any means carefully without damaging the structure and filling the grooves with C.C (4:2:1) after laying of pipe including cost of scaffolding, finishing, curing etc. all complete as per direction of the engineer-in-charge. |  |
| 243/A1 | Groove Size 40 x 40 mm (For laying 12 mm to 20 mm dia pipes) | rm. | Tk. 20.00 |
| 243/A2 | Groove Size 75 x 75 mm (For 25 mm to 40 mm dia pipes) | rm. | Tk. 30.00 |
| 244/A1 | Supplying fitting and fixing cleaning Shower for ablution including holder in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 330.00 |
| 244/A2 | Supplying fitting and fixing cleaning fixed moving Shower for ablution including holder in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 503.00 |
| 245/A1 | Supplying fitting and fixing best quality 100 mm dia C.P. Shower rose (fixed type) ablution including holder in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 267.00 |
| 245/A2 | Supplying, fitting and fixing best quality 100 mm dia moving C.P. Shower rose (moving type) in/c all necessary as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 326.00 |
| WATER TANK |
| 246/A | Supplying, fitting fixing of food grade plastic overhead water reservoir tank in/c all necessary as per direction of the engineer-in-charge. |  |
| 246/A1 | 1000 liter capacity | each. | Tk. 7, 830.00 |
| 246/A2 | 1500 liter capacity | each. | Tk. 11, 417.00 |
| 246/A3 | 2000 liter capacity | each. | Tk. 15, 124.00 |
| 246/B | Supply and installation of food-grade plastic internal mini water tank for the use in kitchen, bathroom & toilet for emergency storage and supply of water manufactured from liner low density polyethylene (ILDPE) roto-grade (ultra violet) stabilized which complies FDA (Federal Department of Agriculture, USA) regulations 21 CFR 1277. 152, having food grade quality where no recycled materials is used carrying, lifting, fitting, fixing in position, as per direction of engineer-in-charge. |  |
| 246/B1 | 150 liter capacity | each. | Tk. 1, 887.00 |
| 246/B2 | 300 liter capacity | each. | Tk. 3, 162.00 |
| 246/B3 | 500 liter capacity | each. | Tk. 4, 363.00 |
| 246/C | Supply and installation of foreign made food grade stainless steel water tank |  |
| 246/C1 | 500 liter capacity | each. | Tk. 6, 586.00 |
| 246/C2 | 1000 liter capacity | each. | Tk. 11, 514.00 |
| 246/C3 | 2000 liter capacity | each | Tk. 22, 586.00 |
| 246/C4 | 4000 liter capacity | each | Tk. 44, 362.00 |
| 246/C5 | 6000 liter capacity |  | Tk. 44, 481.00 |
| 246/D | Supply and installation of 400 gallon capacity Ferro-cement water tank | each. | Tk. 6, 812.00 |
| 247/A1 | Supplying, fitting and fixing 12 mm dia, 450 mm long Plastic flexible lead (connection) pipe as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 17.00 |
| 247/A2 | Supplying, fitting and fixing 12 mm dia, 600 mm long Plastic flexible lead (connection) pipe as per direction of the engineer-in-charge. |  |
|  |  | each. | Tk. 33.00 |
| 247/B1 | 12 mm dia 450 mm long metal cover connection pipe | each. | Tk. 48.00 |
| 247/B2 | 12 mm dia 600 mm long metal cover connection pipe | each. | Tk. 71.00 |
| MASONRY INSPECTION PIT, SAFETY TANK, SOAK-WELL AND VENTILATION PIPE |
| 248/A | Construction of masonry inspection pit with 250 mm thick brick work in cement mortar (1:4) including necessary earth work, side filling and one layer brick flat soling, 75 mm thick (1:3:6) base concrete for making invert channel and 12 mm thick (1:2) cement plaster with neat finishing etc. all complete up to a depth of 700 mm as per direction of the engineer-in-charge. |  |
| 248/A1 | Clear 450 x 450 mm and depth 450 to 600 mm, average 525 mm for single 150 mm dia R.C.C. pipes and 400 mm PVC pipe. |  |
|  |  | each. | Tk. 1, 569.00 |
| 248/A2 | Clear 520 x 525 mm and depth 675 to 825 mm, average 750 mm for single 225 mm dia R.C.C. pipes and 400 mm PVC pipe. |  |
|  |  | each. | Tk. 2, 289.00 |
| 248/A3 | Clear 600 x 600 mm and depth 750 to 900 mm, average 825 mm for single 300 mm dia R.C.C. pipes and 375 mm & 400 mm PVC pipe. |  |
|  |  | each. | Tk. 3, 135.00 |
| 249/A | Construction and placing of R.C.C. inspection pit cover (slab) in (1:2:4) with 1% reinforcement excluding M.H. cover with locking/unlocking arrangement including necessary earth work, side filling shuttering, curing, cement plaster (1:4) with neat finishing on edges and top etc. all complete as per direction of the engineer-in-charge. |  |
| 249/A1 | 900 x 900 x 75 mm R.C.C. pit cover | each. | Tk. 640.00 |
| 249/A2 | 1025 x 1025 x 75 mm R.C.C. pit cover | each. | Tk. 739.00 |
| 249/A3 | 1100 x 1100 x 75 mm R.C.C. pit cover | each. | Tk. 848.00 |
| 249/B | Construction & placing of R.C.C inspection pit cover (slab) having in/c supplying and provisions for placing, fitting, fixing 450 mm dia C.I. Man-hole cover with locking/un-locking arrangement n 1:2:4 with approx. 1% re-enforcement in/c necessary earth cutting, or cleaning, side filling, curing etc. with minimum 12 mm cement plaster (1:4) and neat cement finishing on edges and top all complete as per direction of the engineer-in-charge. |  |
| 249/B1 | 950 x 950 x 75 mm R.C.C. pit cover with 450 mm dia C.I. manhole cover. | each. | Tk. 910.00 |
| 249/B2 | 1025 x 1025 x 75 mm R.C.C. pit cover with 450 mm dia C.I. manhole cover. | each. | Tk. 991.00 |
| 249/B3 | 1100 x 1100 x 75 mm R.C.C. pit cover with 450 mm dia C.I. manhole cover. | each. | Tk. 1, 100.00 |
| 249/C | Construction of masonry inspection pits with 250 mm thick brick work in cement mortar (1:4) in/c 100 mm thick R.C.C. top slab (1:2:4) with 1% reinforcement, man-hole cover with locking arrangement including necessary earth work, side filling and one brick flat soling. 75 mm thick (1:3:6) base concrete for making invert channel and 12 mm thick (1:2) cement plaster with neat finishing etc. all complete up to a depth of 700 mm as per direction of the engineer-in-charge. |  |
| 249/C1 | Clear 450 x 450 mm and depth 450 to 600 mm, average 525 mm for single 150 mm dia R.C.C. pipes and 400 mm PVC pipe with pit cover and 450 mm dia C.I. man-hole cover (item 248/A1+249/B1) |  |
|  |  | each. | Tk. 2, 479.00 |
| 249/C2 | Clear 520 x 525 mm and depth 675 to 825 mm, average 750 mm for single 225 mm dia R.C.C. pipes and 400 mm PVC pipe with pit cover and 450 mm dia C.I. man-hole cover (item 248/A2+249/B2) |  |
|  |  | each. | Tk. 3, 280.00 |
| 249/C3 | Clear 600 x 600 mm and depth 750 to 900 mm, average 825 mm for single 300 mm dia R.C.C. pipes and 375 mm & 400 mm PVC pipe with pit cover and 450 mm dia C.I. man-hole cover (item 248/A3+249/B3) |  |
|  |  | each. | Tk. 4, 235.00 |
| 250. | Construction of septic tank of different sizes with walls of brick work in cement mortar (1:6) having a lining of minimum 125 mm R.C.C cast against the walls as per approved type plan over a brick flat soling and 150 mm thick cement concrete flooring (1:2:4) with 125 mm thick walls in partition and 20 mm thick cement plaster (1:4) to insides of walls with N.C.F. and 25 mm thick patent stone (1:2:4) flooring with N.C.F. including supplying fitting and fixing of two R.C.C. Tees and providing 450 mm dia water sealed heavy type C.I. manhole cover with locking/unlocking arrangement and 100 mm thick R. C.C (1:2:4) top slab with minimum 1% reinforcement including centering, shuttering, fabricating, casting and curing etc. complete up to required depth including necessary earth work in excavation and shoring, bailing out water and side filling including the cost of all materials, operations and incidental charges etc. all complete as per type plan and direction of the engineer-in-charge. (excluding the cost of lining R.C.C). |  |
| 250/A | For 200 Users | each. | Tk. 86, 713.00 |
| 250/B | For 100 Users | each. | Tk. 60, 209.00 |
| 250/C | For 50 Users | each. | Tk. 41, 199.00 |
| 250/D | For 30 Users | each. | Tk. 26, 755.00 |
| 250/E | For 20 Users | each. | Tk. 24, 694.00 |
| 250/F | For 10 Users | each. | Tk. 12, 944.00 |
| 251/A | Construction of soak well of different sizes with 250 mm thick solid brick work and 250 mm honey comb brick work with cement mortar (1:6) as per design over R.C.C. (1:2:4) well curb with 1% reinforcement up to the depth as per drawing with 450 mm dia water sealed heavy type. C.I. manhole cover with locking arrangement, filling the well up to the required depth with graded khoa and sand including supplying and fabricating M.S. Rod, casting, curing including necessary earth work in excavation, side filling and bailing out water including cost of all materials etc. all complete as per drawing, design and direction of the engineer-in-charge. |  |
| 251/A | For 200 Users | each. | Tk. 34, 981.00 |
| 251/B | For 100 Users | each. | Tk. 31, 040.00 |
| 251/C | For 50 Users | each. | Tk. 26, 403.00 |
| 251/D, E | For 30 and 20 Users | each. | Tk. 22, 551.00 |
| 251/F | For 10 Users | each. | Tk. 15, 672.00 |
| 252. | Supplying, fitting, fixing of Reverse Osmosis water purifier of foreign made for purification of water by Reverse Osmosis System to have potable water confirming WHO standard and Bangladesh concentration parameters including installation charge, carriage, sundries etc. (excluding cost of pipe, pipe line laying & accessories) as per direction of the engineer-in-charge). |  |
| 252/A | Water purification volume: 50 Gallon Per day water reserve capacity: 11 liter, Model: TW-1250 |  |
|  |  | each. | Tk. 22, 559.00 |
| 252/B | Water purification volume: 50 Gallon Per day water reserve capacity: 10 liter, Model: TY-B99-528 |  |
|  |  | each. | Tk. 33, 507.00 |
| 252/C | Water purification volume: 50 Gallon per day water reserve capacity 11 liter, Model: THC - 1500 |  |
|  |  | each. | Tk. 34, 112.00 |
| 252/D | Water purification volume: 100 Gallon Per day (hot, cold and warm water supply): Water reserve capacity: 17 liter, Model: CW - 929 CAR |  |
|  |  | each. | Tk. 69, 815.00 |